**NALSAR UNIVERSITY OF LAW**

**Post Box No.1, Justice City, Shameerpet,**

**R.R Dist, HYDERABAD-500101. TELENGANA**

**Phone: 040-23498/104/113**

**Fax: 040-23498385/386.**

**Tender No. NALSAR/IT/06/2016** **Date: 09/12/2016**

**Sub: Supply and Installation of online UPS system’s (10KVA ): 3 No’s**

**NALSAR University of law invites sealed quotations in two envelope system from Original Equipment manufacturers or from authorized distributors of OEM’s Supply and Installation of UPS system’s (10KVA ): 3 No’s , as per Terms and Conditions mentioned in the Tender Document.**

|  |  |  |
| --- | --- | --- |
| **Last date of submission of tender** | | **22/12/2016, 03.00 p.m.** |
| **Date of opening of technical bid** | | **22/12/2016, 04:30 p.m** |
| **Tender Document price** | | **Rs.1000** |
|  |  |  |
| **S.No.** | **Particulars** | **Annexure** |
| 1 | **Technical Compliancy Report form of Ultra book** | **I** |
| **2** | **Price Bid** | **II** |



**METHOD OF SUBMISSION OF QUOTATIONS IN TWO ENVELOPE SYSTEM**

**FIRST ENVELOPE** - “Technical Bid” contents following:-



1. Subscribe on **FIRST ENVELOPE** – **Technical Compliancy Report form of Ultra book** for **“Tender No. NALSAR/IT/06/2016 Due Date** **22/12/2016” and** write your Company Name & Address at the bottom of envelope foridentification.
2. **Tender document purchase bill of Rs. 1000 in the form of Receipt/DD in favor of** Registrar, NALSAR University of Law should be enclosed with the technical bid. If you are depositing **Cash then enclose** **Original Cash Receipt** in to this envelope and retain a photocopy of the Cash Receipt withyou

1. The **Technical Compliancy Report form of Supply and Installation of UPS system’s (10KVA ): 3 No’s** (Annexure I) is enclosed with this Enquiry. The form to be filled in indicating your Company profile and signed by your authorized representative and to be attached in the First Envelope – Technical Bid.
2. Please note that, Tax related concessional forms like 2B/C/3D/D will not be provided by us.

(e) Please attach photocopy of PAN Card.

1. Please confirm that the total amount mentioned in the Commercial Details include all the taxes.
2. **Please confirm that the quote / price for all the ITEMS have been mentioned in the “Price Bid.”**
3. **Please confirm that the amount mentioned, in the Price Bid (Kept in the “Envelope Two”) is unconditional in nature. Accordingly, it shall be treated as “Unconditional Offer”.**
4. **Please confirm that the price is not to be mentioned in the Technical Bid.**
5. **The format of Declaration/Acceptance undertaking** (Annexure I) is also enclosed with thisenquiry. The same should be signed by your authorized representative and attached with Technical Bid.

**Note:** As part of/along with your Technical Bid, please submit Registration Certificates, OEMAuthorization certificates (recent) OEM partnership Agreement’s, if any as applicable. NALSAR may visit the facility of Bidders to assess suitability as part of Technical Evaluation of bids.

**SECOND ENVELOPE–** “**Price Bid”** will have following:-

1. On the SECOND ENVELOPE – write “**Tender No. NALSAR/IT/06/2016 Due date 22-12-2016” and** also mention your Company’s Name & Address at the bottom of the envelope.
2. Please fill up enclosed Price Bid Form (Annexure II) and keep in the Second Envelope– Price Bid. The Price Bid must be signed by your authorized representative bearing Company Stamp.
3. **EMD (earnest Money Deposit) by Demand Draft/Pay Order or by Cash equivalent of 5 % of the total amount of the bidded amount must be enclosed with price bid. EMD paid by way of Cheque not acceptable.** Please enclose the **Receipt/DD** inoriginal favoring Registrar, NALSAR University of Law
4. **Alternatively** you can use your Company letter head for Price Bid but it has to be typed in themanner/format shown in our Price Bid Form.

**CORRECTIONS / OVERWRITINGS IN BIDS:**

THE TWO SEPARATE SEALED ENVELOPES (i.e. ONE ENVELOPE FOR THE TECHNICAL DETAILS, AND SECOND ENVELOPE FOR THE PRICE DETAILS) MAY BE INSERTED IN A MASTER ENVELOPE SUPERSCRIBED WITH **“BID FOR TENDER ENQ. NO Tender No NALSAR/IT/06/2016” for the Supply and Installation of UPS system’s (10KVA ): 3 No’s OPENING ON 22-12-2016** and should be submitted at the following address up to 3.00 p.m. onor before 22-12-2016**.**

**The Registrar,**

**NALSAR University of Law, Justice city, Shameerpet, Hyderabad-500101.**

**The final authority to accept/reject/suspend the bid’s or bidding procedure is , The Registrar, NALSAR University of Law, Justice city, Shameerpet, Hyderabad-500101**

**Annexure One: Technical Compliancy Report form of Uninterrupted Power System.**

**Tender No. NALSAR/IT/06/2016**

**Sub: Supply and Installation of UPS system’s (10KVA ): 3 No’s**

|  |  |
| --- | --- |
| **Out put Power Capacity** | **9000Watts/10KVA** |
| **Nominal out put** | **230V** |
| **Output voltage note** | **Configurable for 220:230 or 240 nominal output voltage** |
| **Efficiency at full load** | **94%** |
| **Out put voltage distortion** | **Less than 3%** |
| **Out put frequency** | **50 Hz +/- 1 Hz** |
| **Crest factor** | **3:01** |
| **Topology** | **Double conversion** |
| **Wave form** | **Sine wave** |
| **Bypass** | **Built in** |
| **Nominal in put voltage** | **415 V** |
| **Input frequency** | **40-70 Hz** |
| **Input connections** | **Hard wire 3 - wire** |
| **Input voltage** | **400-415 for 3 phase** |
| **Maximum Input current** | **60A** |
| **Input Breaker Capacity** | **63A** |
| **Communication & management** | **DB-9 RS -232 Smart slot** |
| **Control Panel** | **LED+LCD status indicators and display** |
| **Audible Alarm** | **Alarm when on battery: distinctive low battery alarm :over load continuous tone alarm.** |
| **Batteries** | **Hot-swappable batteries** |
| **Battery charger** | **More than 13 ams** |
| **Battery option** | **Tubular/SMF maximum 12000 VAH & above** |
| **Battery VAH( included)** | **12480 VAH** |
| **Network management** | **SNMP optional** |
| **Positioning** | **Rack Mountable** |
| **Generator compatible** | **Generator compatible** |
| **audible Alarm** | **provides temporary battery power when the utility power is out** |
| **Redundancy** | **Parallel option** |
| **Compliant** | **RoHS** |
| **Bypass** | **Automatic Internal Bypass** |
| **Cold Start** | **Capable** |
| **Rack size** | **3U** |
| **Certificate** | **BIS must ( Bureau of indian standards)** |
| **warranty** | **2 years. If standard warranty is one year 2nd year warranty should be issued directly from manufacturer** |

**Note:** BIS ( Bureau of Indian standard certificate) is must.

Scope of work.

1. **Supply and installation of 10 KVA Ups system(3 No’s) in hostel buildings location.**
2. **We have five buildings called as boys hostels and five more as girls hostels, and 4 more buildings in the surrounding areas. Each building has two network racks so power wiring should be done for all the buildings in order to provide power backup for all the network racks and Wi-Fi accesses points.**
3. **Supply of the materials needed for point 2 execution is also in the scope of work.**
4. **Site visit is recommended strongly before bidding.**

**Company Seal with Signature**

**Annexure Two: Price Bid Form**

**Tender No. NALSAR/IT/06/2016**

**Sub: Supply and Installation of UPS system’s (10KVA ): 3 No’s**

|  |  |  |
| --- | --- | --- |
| **Sno** | **Work Description** | **Total Pricing(All Inclusive)** |
| **1** | **Supply, installation and commissioning of UPS system’s (10KVA ): 3 No’s as per the scope of work stated in technical bid** |  |

1. **Number online UPS system’s (10KVA ): 3 No’s.**
2. **Payment terms shall be 50% of the total pricing on the day of successful completion of installation of UPS systems and 50% after 15 days of first installment release.**
3. **The Registrar, NALSAR University reserves the right to himself, to accept or reject any one or all quotations either in part or full without stating any reason thereof.**

**Company Seal with Signature**