NALSAR UNIVERSITY OF LAW,  Shameerpet, Hyderabad

TENDER BID DOCUMENT

Name of the Work: Renovation of PC Toilets at NALSAR University of Law, Shameerpet, Hyderabad

I  N  D  E  X

| No | Details | Page No |
| --- | --- | --- |
| 1. | Notice inviting the tender (NIT) |  |
| 2. | Instructions to Tenderers. |  |
|  | General. |  |
|  | Tender document |  |
|  | Preparation of tenders |  |
|  | Submission of tenders |  |
|  | Tender opening and evaluation. |  |
|  | Award of contract. |  |
| 3. | Forms of Tender Qualification Information |  |
|  | ( Checklist to accompany the tender |  |
|  | ( Statements (I to VII) |  |
| 4. | Conditions of Contract. |  |
|  | Tender |  |
|  | A) General |  |
|  | B) Time for completion. |  |
|  | C) Quality control |  |
|  | D) Cost control |  |
|  | E) Finishing the contract |  |
|  | F) Special conditions. |  |
| 5. | TECHNICAL SPECIFICATIONS |  |
| 6. | DRAWINGS |  |
| 7. | BILL OF QUANTITIES & PRICE BID |  |
| 8. | FORMATS OF SECURITIES |  |

NOTICE INVITING TENDER

(NIT)

NALSAR UNIVERSITY OF LAW , Shameerpet, Hyderabad

* * *

NIT No. /                           /NALSAR/2016 dt: …/…/2016

| NAME OF WORK | : | at NALSAR University of Law, Shameerpet, Hyderabad |
| --- | --- | --- |
| NAME AND ADDRESS OF THE CONTRACTOR WHO DOWNLOADED THE BID DOCUMENTS. | : | _________________________________ _________________________________ _________________________________ _________________________________ _________________________________ |

NALSAR UNIVERSITY OF LAW, HYDERABAD – 500 007

* * *

NOTICE INVITING TENDERS (NIT)

NIT No. /                       /NALSAR/2016 dt: …/…/2016

Tenders for the work mentioned below are invited from the Contractors / Contracting firms registered with Government of Andhra Pradesh.

1)

| 1) | Name of the work | : | at NALSAR University of Law, Shameerpet, Hyderabad |
| --- | --- | --- | --- |
| 2) | Estimate Contract value of work put to tender | : | Rs. 13,88,376/- (Rupees Thirteen Lakh Eighty Eight Thousand Three Hundred and Seventy Six only) |
| 3) | Period of completion of work | : | ( 3 ) Four Months |
| 4) | Form of contract / class of contractor eligible | : | Class V as per g.o.No. 94 |
| 5) | E.M.D to be paid in the shape of Demand Draft obtained from any Nationalized Banks, at 1% of the estimated contract value of work along with bid documents. | : | Rs.13,884/- |
| 6) | Non refundable Processing fee to be paid by way of crossed demand draft drawn in favour of Registrar, NALSAR Hyderabad. From any Nationalized banks | : | Rs.500/- |
| 6) | Date and time for issue of tenders | : |  |
| 7) | Date and time for end of Bid Document | : |  |
| 8) | Date and time of opening of technical and commercial bid | : |  |
| 9) | Date and time of opening of Financial bid |  |  |

- a) The bidders need to contact the Registrar, NALSAR University of Law Hyderabad for information on e-procurement.

b) The bidders need to register on the electronic procurement market place of Government of Telangana that is www.eprocurement.gov.in. On registration on the e-procurement market place they will be provided with a user ID and password by the system using which they can submit their bids on line.

c) While registering on the e-procurement market place, bidders need to scan and upload the required documents as per the tender requirements on to their profile.

d) Such uploaded documents need to be attached to the tender while submitting the bids

The e-procurement market place provides an online self-service registration facility to such of the contractors who are already registered with respective participating departments for supply of specified goods and services. As an incentive for early registration, basic registration by suppliers, that allows them to participate in the e-procurement process, shall be enabled on the e-procurement market place with out levy of any registration or subscription fee up to 31st March 2003 or such later date as may be decided by the steering committee. However the e-procurement market place may levy charges for such value added services as may be decided by the steering on the e-procurement as laid down in the G.O.Ms.No.2, Information Technology and Communication department dated 15-01-03.

- The Technical bid evaluation of the Tenderers will be done on the certificates / documents  uploaded through online only towards qualification criteria furnished by them

- The tenderers shall be required to furnish a declaration in online stating that the soft copies uploaded by them are genuine.  Any incorrectness / deviations noticed will be viewed seriously and apart from canceling the work duly forfeiting the EMD, Criminal action will be initiated including suspension of business.

- The successful (L1) tenderer shall furnish the original hard copies of all the documents / certificates / statements uploaded by them before concluding the Agreement.

- Eligibility criteria for opening the Price Bid:

- Class of Contractors eligible is as given below:

Eligible class of contractor as per GO.Ms.No:

- To pay EMD in the shape of Demand Draft only for Rs. 13,884/-issued by any Nationalised Banks in favour of Registrar, NALSAR University of Law  , Hyderabad.  to be valid for 6 months from the date of NIT along with bid and the balance EMD at 1.50% Contract Value to be paid at the time of concluding agreement. The tenderer shall invariably furnish the original DD to the tender inviting authority before opening the price bids either personally or through courier or by post and the receipt of the same within the stipulated time shall be the responsibility of the bidder.  Department will not take any responsibility for any delay or non receipt.

- The participating bidders shall pay transaction fee of Rs. /- (i.e., 0.03% of E.C.V plus 12.36% service tax) in the shape of Demand Draft only drawn in favour of M/s APTS. Payable at Hyderabad, scanned D.D drawn in favour APTS. may be uploaded with the bids and original must be submitted to the Registrar, NALSAR University of Law.

The tenderer shall invariably furnish the original DD to the tender inviting authority before opening the price bids either personally or through courier of by post and the receipt of the same within the stipulated time shall be the responsibility of the bidder.  Department will not take any responsibility for any delay or non receipt.

- To furnish copy of PAN card and copy of latest income tax returns submitted along with proof of receipt.

- Non refundable Processing fee of Rs. 500/- to be paid by way of crossed demand draft drawn in favour of Registrar, NALSAR University of Law , Shameerpet  Hyderabad

- The bidder should produce the copy of Value Added Tax (VAT) registration with commercial tax department along with the bid.

- The contractor or his identified sub-contractor should possess required valid electrical license and registration of appropriate class for executing electrical works and should produce consent letter from sub-contractor, if employed.

- The contractor or his identified sub-contractor should posses required valid registration certificate of appropriate class for executing water supply and sanitary engineering works and should produce consent letter from sub-contractor, if employed.

- Availability of key personnel in statement VI.

- Information regarding any litigation, with Government during the last five years, in which the Tenderer is involved in (Statement - VII)

- The tenderers shall be required to furnish a declaration in online stating that the soft copies uploaded by them are genuine.  Any incorrectness / deviations noticed will be viewed seriously and apart from canceling the work duly forfeiting the EMD, Criminal action will be initiated including suspension of business.

- The tenders will be opened by the Registrar, NALSAR University of Law  ,  Hyderabad or his nominee at his office in the presence of tenderers / or their authorised representatives, on the date mentioned above.

- The price-bids of such tenderers, who are determined to have complied with the eligibility criteria, will only be opened.

- If the office happens to be closed on the dates specified above, the respective activity will be performed at the designated time on the next working day without any notification.

- Any other details can be had from the Office of the Registrar, NALSAR University of Law  , Hyderabad.

# INSTRUCTIONS TO TENDERERS

A – GENERAL

Name of work:	                   at NALSAR University of Law, Shameerpet, Hyderabad

- Scope of work:

1:

- List out Principal Components of the work:

| Demolishing and disposal Demolition Dismantling doors, windows Excavation for foundations PCC (1:4:8) Random Rubble Stone masonry PCC (1:2:4) RCC M-20 for Plinth Beams Brick Masonry for panel walls Reinforced Brick Masonry for partition walls RCC M-20 for Lintels Plastering 12mm thick Teak wood framed Flush Doors single shutter Re-fixing for Flush Door Shutter Pre-painted steel windows for Ventilator Dadooing to walls Flooring with non-skid ceramic tiles Supplying, fitting and placing HYSD (Fe 415) Painting to new walls- OBD Painting to new wood works – synthetic enamel Floor mounted EWC Health Faucet Flat Back wash Hand Basin Angular Stop cocks Waste coupling Bottle Trap Wall Mixer Overhead shower Grab Bar 20 mm Bore GI pipe Cast Iron Pipes & fittings- 3” dia Cast Iron Pipes & fittings- 4” dia CI Nahany Trap – 3” dia Removing & Re-fixing of Wash basins Rigid PVC pipes – 32mm dia Rigid PVC pipes – 40mm dia. Skirting / Raiser Flooring – Shahabad Stone |  |
| --- | --- |

ECV put to tender	    : Rs. 13,88,376/-

- Give breakup of cost of major items covered in the ECV

| Demolishing and disposal Demolition Dismantling doors, windows Excavation for foundations PCC (1:4:8) Random Rubble Stone masonry PCC (1:2:4) RCC M-20 for Plinth Beams Brick Masonry for panel walls Reinforced Brick Masonry for partition walls RCC M-20 for Lintels Plastering 12mm thick Teak wood framed Flush Doors single shutter Re-fixing for Flush Door Shutter Pre-painted steel windows for Ventilator Dadooing to walls Flooring with non-skid ceramic tiles Supplying, fitting and placing HYSD (Fe 415) Painting to new walls- OBD Painting to new wood works – synthetic enamel Floor mounted EWC Health Faucet Flat Back wash Hand Basin Angular Stop cocks Waste coupling Bottle Trap Wall Mixer Overhead shower Grab Bar 20 mm Bore GI pipe Cast Iron Pipes & fittings- 3” dia Cast Iron Pipes & fittings- 4” dia CI Nahany Trap – 3” dia Removing & Re-fixing of Wash basins Rigid PVC pipes – 32mm dia Rigid PVC pipes – 40mm dia. Skirting / Raiser Flooring – Shahabad Stone |  |
| --- | --- |

- Period of completion  :   (  3 ) MONTHS

- SSR adopted: Common SSR for the year 2014–2015

- Rates adopted for

(i)Cement	: Rs. 4300/-

(ii)Steel           :  Rs. 34000/-

  - TOR	: Rs. 		/- per mt (FE-500)

  - Mild	: Rs. 		/- per mt  (FE-250)

(vi)Other allowances (Agency, Municipal, Industrial etc.,) :

Registrar, NALSAR University of Law, Hyderabad invites tenders for the above work vide  NIT No. 07/ Renovation of PC Toilets/NALSAR/2016 dt: …/…/2016

To pay EMD in the shape of Demand Draft only for Rs.13,884/- issued by any Nationalised Bank in favour of Registrar, NALSAR University of Law   to be valid for 6 months from the date of NIT along with bid and the balance EMD at 1% Contract Value to be paid at the time of concluding agreement

The participating bidders shall pay transaction fee of Rs.   (i.e., 0.03% of E.C.V plus 12.36% service tax) in the shape of Demand Draft only drawn in favour of M/s APTS. Payable at Hyderabad, scanned D.D drawn in favour of M/s APTS may be uploaded with the bids and original must be submitted to the Registrar, NALSAR University of Law

The tenderer shall invariably furnish the original DDs as above to the tender inviting authority before opening the price bids either personally or through courier or by post and the receipt of the same within the stipulated time shall be the responsibility of the bidder.  Department will not take any responsibility for any delay or non receipt.

The tenders will be opened by the Registrar, NALSAR University of Law  . or his nominee at his office in the presence of tenderers or their authorised representatives, on the dates mentioned in NIT.  If the Office happens to be closed on the dates, the opening of tenders gets automatically postponed to the next working date, the time being unaltered, unless extended by a notification published in News papers or sent through Fax / telegrams to all those who purchased the tender documents.

  - The successful tenderer is expected to complete the work within the time period specified in the NIT.

  - The successful (L1) tenderer shall furnish the original hard copies of all the documents / certificates / statements uploaded by them before concluding the Agreement.

- Firms Eligible to Tender:

  - The Firms who

- Possess the valid registration in the class and category mentioned in the NIT and satisfy all the conditions therein.

- Are not blacklisted or debarred or suspended by the Government for what ever the reason, prohibiting them not to continue in the contracting business.

iii)	Have complied with the eligibility criteria specified in the NIT are the eligible tenderers.

  - Firms Ineligible to Tender:

- A retired officer of the Govt. of Telangana  or Govt. of India executing works is disqualified from tendering for a period of two years from the date of retirement without the prior permission of the University.

- The Tenderer who has employed any retired officer as mentioned above shall be considered as an ineligible tenderer.

- The contractor himself or any of his employees is found to be Gazetted Officer who retired from Government Service and had not obtained permission from the Government for accepting the contractor’s employment within a period of 2 years from the date of his retirement.

- The Contractor or any of his employees is found at any time after award of contract, to be such a person who had not obtained the permission of the Government as aforesaid before submission of the tender or engagement in the Contractor’s service.

v)	Contractor shall  not  be eligible  to tender  for works in  the   division  /  circle where any of his near relatives are employed in the rank of Assistant Engineer or Assistant Executive  Engineers and above on the Engineering side and Divisional Accounts Officer and above on the administrative side.  The Contractor shall intimate the names of persons who are working with him in any capacity or are subsequently employed.  He shall also furnish a list of Gazetted /Non-Gazetted, State Government Employees related to him.  Failure to furnish such information tenderer is liable to be removed from the list of approved contractors and his contract is liable for cancellation.

Note:  Near relatives include

- Sons, step sons, daughters, and step daughters.

- Son-in-law, and daughter-in-law.

- Brother-in-law, and sister-in-law.

- Brothers and Sisters.

- Father and Mother.

- .Wife / Husband.

- Father-in-law and Mother-in-law

- Nephews, nieces, uncle and aunts

- Cousins and

- Any person residing with or dependent on the contractor.

- Qualification data of the Tenderers

  - The tenderer shall furnish the following particulars in the formats enclosed, supported by documentary evidence as specified in the formats.

- Check slip to accompany the tender (in Annexure-I).

- Attested copies of documents relating to the Registration of the firm, Registration as Civil Contractor, Partnership deed, Articles of Association, Value Added Tax(VAT) / Registration, PAN card along with proof of having a copy of latest Income Tax returns submitted along with proof of receipt etc.,

Note:	The Partnership firms, which are registered as Contractors shall intimate the change in partnership deed, if any, as per GO Ms No.58, I & CAD, dt.23.4.2002 within one month of such change. Failure to notify the change to the registration authority in time will entail the firms to forfeit their registration and their tender will be rejected.  The intimation of change of partners if any and the acceptance by the Registration authority may be enclosed.

C to G --- Deleted

h)      Availability of key personnel for administration / site management and execution viz.,   technical personnel required for the work (Statement VI);

  - Information regarding any litigation, with Government during the last five years, in which the Tenderer is involved in (Statement - VII)

- -----Deleted -----

- The proposed methodology and program of construction, backed with equipment planning and deployment, duly supported with broad calculations, justifying their capability of execution and completion of the work as per technical specifications within the stipulated period of completion as per milestones.

- The particulars of quality control testing Lab owned, OR tie up with established quality control testing laboratories.

  - Tenders from Joint Ventures are not acceptable unless specifically stated otherwise.

  - QUALIFICATION CRITERIA FOR OPENING OF THE PRICE BID

(a) Class of Contractors eligible is as given below:

Eligible class of contractor as per GO.Ms.No:

- To pay EMD in the shape of Demand Draft only for Rs.13,884/- issued by any Nationalized Bank in favour of  Registrar, NALSAR University of Law, Hyderabad  to be valid for 6 months from the date of NIT along with bid and the balance EMD at 1% Contact Value to be paid at the time of concluding agreement The tenderer shall invariably furnish the original DD to the tender inviting authority before opening the price bids either personally or through courier or by post and the receipt of the same within the stipulated time shall be the responsibility of the bidder.  Department will not take any responsibility for any delay or non receipt.

- The participating bidders shall pay transaction fee of Rs. 222/- (i.e., 0.03% of E.C.V plus 12.36% service tax) in the shape of Demand Draft only drawn in M/s APTS Payable at Hyderabad, scanned D.D drawn in favour of M/s APTS may be uploaded with the bids and original must be submitted to the, Registrar, NALSAR University of Law, Hyderabad.

The tenderer shall invariably furnish the original DDs to the tender inviting authority before opening the price bids either personally or through courier or by post and the receipt of the same within the stipulated time shall be the responsibility of the bidder.  Department will not take any responsibility for any delay or non receipt

- To furnish copy of PAN card and copy of latest income tax returns submitted along with proof of receipt.

- The bidder should produce copy of the Value Added Tax (VAT) Registration with commercial tax department along with the bid.

- The contractor or his identified sub-contractor should possess required valid electrical license and registration of appropriate class for executing electrical works and should produce consent letter from sub-contractor, if employed.

- The contractor or his identified sub-contractor should posses required valid registration certificate of appropriate class for executing water supply and sanitary engineering works and should produce consent letter from sub-contractor, if employed.

- Availability of key personnel in statement VI.

- Information regarding any litigation, with Government during the last five years, in which the Tenderer is involved in (Statement - VII)

- The tenderers shall be required to furnish a declaration in online stating that the soft copies uploaded by them are genuine.  Any incorrectness / deviations noticed will be viewed seriously and apart from canceling the work duly forfeiting the EMD, Criminal action will be initiated including suspension of business.

No relaxation will be given to any of the qualification criteria.

  - Even though the tenderers meet the above qualifying criteria, they are liable to be disqualified / debarred / suspended / blacklisted if they have

- Furnished false / fabricated particulars in the forms, statements and /annexures submitted in proof of the qualification requirements and/or

- Not turned up for entering into agreement, when called upon.

- Record of poor progress such as abandoning the work, not properly completing the contract, inordinate delays in completion, litigation history or financial failures etc. and/or

- Participated in the previous bidding for the same work and had quoted unreasonably high tender percentage    and

- Even while execution of the work, if found that the work was awarded to the Contractor based on false / fake certificates of experience, the Contractor will be blacklisted and work will be taken over invoking clause 61 of PS to APSS.

  - Tenders with an excess of above 5 % of the estimated contract value shall summarily be rejected.

  - For tenders up to 15% less than the estimated contract value of work, no additional security deposit is required.  But for tenders which are less by more than 15% of the estimated Contract Value of work, the difference between the tendered amount and 85% of the estimated contract value, shall be paid by the successful tenderer at the time of concluding agreement as an additional security to fulfill the contract through a Demand Draft in a Nationalised Bank in the prescribed format valid till completion of the work in all respects

  - a)	If the percentage quoted by a tenderer is found to be either abnormally high or with in the permissible ceiling limits prescribed but under collusion or due to unethical practices adopted at the time of tendering process, such tenders shall be rejected.

b)	A tenderer submitting a Tender which the tender accepting authority considers excessive and or indicative of insufficient knowledge of current prices or definite attempt of profiteering will render himself liable to be debarred permanently from tendering or for such period as the tender accepting authority may decide.  The tenderer overall percentage should be based on the controlled prices for the materials, if any, fixed by the Government or the reasonable prices permissible for the tenderer to charge a private purchaser under the provisions of clause-6 of the hoarding and profiteering prevention ordinance of 1943 as amended from time to time and on similar principle in regard to labour supervision on the construction.

- One Tender per Tenderer:

  - Each Tenderer shall submit only one Tender for the work.  A Tenderer who submits more than one Tender will cause dis-qualification of all the Tenders submitted by the Tenderer.

- Cost of Tendering

  - The Tenderer shall bear all costs associated with the preparation and submission of his Tender and the tender inviting authority will in no case be responsible and liable for those costs.

- Site Visit.

  - The Tenderer, at the Tenderer’s own responsibility and risk is advised to visit and examine the Site of Work and its surroundings and obtain all information that may be necessary for preparing the Tender for entering into a contract, for construction of the work.  The costs of visiting the site shall be at the Tenderer’s own expense.

- Tender Document

- Contents of Tender document.

  - One set of Tender document, comprises of the following:

Technical bid

1)	Notice Inviting Tenders (NIT)

2)	Instruction to Tenderers

- Forms of Tender and qualification information

4) 	Conditions of Contract.

5)	Specifications.

6)	Drawings.

- Forms of Securities. i.e., EMD, Additional Security etc.

Price bid                        Bill of Quantities and Price bid.

- Clarification on Tender Documents

  - A prospective Tenderer requiring any clarification on Tender documents may contact the Tender Inviting Officer at the address indicated in the NIT. The Tender Inviting Officer will also respond to any request for clarification, received through post.

- Amendment to Tender Documents

  - Before the last date for submission of Tenders, the Tender Inviting Officer may modify any of the Contents of the Tender Notice, Tender documents by issuing amendment / Addendum.

  - Any addendum/amendments issued by the Tender Inviting Officer shall be part of the Tender Document and it shall either be communicated in writing to all the purchasers of the Tender documents or notified in the News Papers in which NIT was published.

  - To give prospective Tenderers reasonable time to take an addendum into account in preparing their bids, the Tender Inviting Officer may extend if necessary, the last date for submission of tenders.

- PREPARATION OF TENDERS

- Language of the Tender.

  - All documents relating to the tender shall be in the English Language only.

- Documents comprising of the Tender.

  - The bidders who are desirous of participating in e-procurement shall submit their technical bids, price bids etc., in the standard proscribed in the tender documents, displayed at e market place. The bidders should upload the scanned copies of all the relevant certificates, documents etc., in the e market place in support of their technical bids. The bidders shall sign on  all the statements, documents, certificates, uploaded by him, owning responsibility for their correctness/authenticity.

The technical bid evaluation of the tenderers will be done on the certificates / documents uploaded through online only towards qualification criteria furnished by them.

The technical bids will be opened on line by the Registrar NALSAR University of Law at the time and date as specified in the tender documents. All the statements, documents, certificates, DD uploaded by the tenderers will be down loaded for technical evaluation. The clarifications, particulars if any required from the bidders will be obtained or in the conventional method by addressing the bidders. The technical bids will be evaluated against the specified parameters/ criteria, same as in the case of conventional tenders and the technically qualified bidders will be identified. The result of technical bid evaluation will be displayed on the e market place, which can be seen by all the bidders who participated in the tenders.

- Bid Offer:

  - Bill of Quantities called Schedule “A” and the bid offer accompanies the tender document as Volume - II.  It shall be explicitly understood that the tender inviting officer does not accept any responsibility for the correctness or completeness of this schedule ‘A’ and this schedule ‘A’ is liable to alterations by omissions, deductions or additions at the discretion of the Registrar or as set forth in the conditions of the contract. The Schedule “A” shall contain the items of work indicated as part - I and LS provisions as part–II. The percentage quoted by the contractor shall be applicable only to part –I. However, the provisions contained in the part –II will be operable basing on the conditions provided in the tender document. The tenderers will have to state clearly their willingness to execute the work at certain specific percentage of excess or less or at par of the ECV indicated in Part - I at the space provided therein in Schedule ‘A’. The L.S amounts indicated in part - II are maximum reimbursable amounts. The tenderer should however quote his lump sum tender based on this schedule of quantities.  He should quote his offer as an overall tender percentage. The over all tender percentage should be written both in words and figures. The bid offers i.e., percentage shall be written both in figures and words legibly and free from erasures, over writings or corrections of figures. Corrections where unavoidable should be made by crossing out, and rewriting duly initiating with date.

  - The Schedule - A (or price bid) contains not only the quantities but also the rates worked out by the department and the amount for each item and total value of the estimated contract.  The tenderer should workout his own rates keeping in view the work, site conditions and quote his overall tender percentage with which he intends to execute the work.

  - The bid offer shall be for the whole work and not for individual items / part of the work.

  - All duties, taxes, and other levies payable by the contractor as per State / Central Government rules, shall be included in the tender percentage quoted by the tenderer, however keeping in view the maximum reimbursable amounts specified in Part - II of price bid.

  - The tendered contract amount as computed based on overall tender percentage is subject to variation during the performance of the Contract in accordance with variation in quantities etc.

  - Charges payable to M/s APTS,

Participating bidders shall pay fee Rs. 0.03% of E.C.V. plus 12.36% service tax, towards transaction fee on e-procurement at the time of bid submission in favour of M/s APTS in the form of Demand Draft only drawn in any Nationalised Bank  and the scanned D.D. shall be uploaded along with the bid.

The tenderer shall invariably furnish the original DD to the tender inviting authority before opening the price bids either personally or through courier or by post and the receipt of the same within the stipulated time shall be the responsibility of the bidder.  Department will not take any responsibility for any delay or non receipt

Note: The successful bidder shall pay Rs. /- (i.e., @ 0.04% of Estimated Contract value) in the shape of Demand Draft in favour of M.D., A.P.T.S. Hyderabad. towards e-procurement corpus fund to be administered by APTS, at the time of concluding agreement. Corpus Fund: As per GO MS No.4 User departments shall collect 0.04% of ECV (estimated contract value) with a cap of Rs.10,000 (Rupees ten thousand only) for all works with ECV up to Rs.50 crores, and Rs.25,000/- (Rupees twenty five thousand only) for works with ECV above Rs.50 crores, from successful bidders on eProcurement platform before entering in to agreement / issue of purchase orders, towards eProcurement fund in favour of Managing Director, APTS. There shall not be any charge towards eProcurement fund in case of works, goods and services with ECV less than and up to Rs. 10 lakhs

- Validity of Tenders:

  - Tenders shall remain valid for a period of not less than three months from the last date for receipt of Tender specified in NIT.

  - During the above mentioned period no plea by the tenderer for any sort of modification of the tender based upon or arising out of any alleged misunderstanding or misconceptions or mistake or for any reason will be entertained.

  - In exceptional circumstances, prior to expiry of the original time limit, the Tender Inviting Officer may request the bidders to extend the period of validity for a specified additional period.  Such request to the Tenderers shall be made in writing.  A Tenderer may refuse the request without forfeiting his E.M.D. A tenderer agreeing to the request will not be permitted to modify his Tender, but will be required to extend the validity of his E.M.D for a period of the extension.

- Earnest Money Deposit

  - The Tenderer shall furnish, Earnest Money Deposit equivalent to 1% of ECV (Para 7.0 of GO Ms No: 36). The DD shall be from a Nationalised valid for a period of 6 months. Xerox copy of the DD is to be scanned and uploaded along with the Bid and the original DD shall be sent to Registrar so as to reach before the date of opening of the price Bid. Failure to furnish the original DD before Price bid opening date will entail rejection of bid and blacklisting.

The balance EMD @ 1 % of ECV / TCV which ever is higher shall be paid at the time of concluding agreement by the successful tenderer. This EMD can be in the form of:

- A bank demand draft on any Nationalised bank.

- Deleted

  - Demand Drafts furnished towards EMD for issue of tender schedules shall be valid for a period of six months from the date of tender notice.

  - The EMD of tenderers will be returned no sooner the tenders are finalised or end date of the tender validity period which ever is earlier.

  - –Deleted--

  - The earnest money deposited by the successful tenderer will not carry any interest and it will be dealt with as provided in the conditions stipulated in the tender. The bank guarantee on nationalised / scheduled commercial bank furnished by the tenderer towards additional security amount shall be valid till the work is completed in all respects.

  - The E.M.D. shall be forfeited.

- if the tenderer withdraws the tender during the validity period of tender.

- in the case of a successful tenderer, if he fails to sign the agreement for whatever the reason.

  - In consideration of the Registrar, NALSAR University of Law Commissionerate of tenders undertaking to investigate and to take into account each tender and in consideration of the work thereby involved, all earnest monies deposited by the tenderer will be forfeited to the University in the event of such tenderer either modifying or withdrawing his tender at his instance within the said validity period of three months.

- Signing of Tenders

  - If the tender is made by an individual, it shall be signed with his full name and his address shall be given. If it is made by a firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, and the name and address of each member of the firm shall be given, if the tender is made by a corporation it shall be signed by a duly authorised officer who shall produce with his tender satisfactory evidence of his authorisation.  Such tendering corporation may be required before the contract is executed, to furnish evidence of its corporate existence. Tenders signed on behalf of G.P.A holder will be rejected.

  - The tender shall contain no alterations or additions, except those to comply with instructions issued by the tender inviting officer, or as necessary to correct errors made by the tenderer, in which case all such corrections shall be initialed by the person signing the tender.

  - No alteration which is made by the tenderer in the contract form, the conditions of the contract, the drawings, specifications or statements / formats or quantities accompanying the same will be recognised, and, if any such alterations are made the tender will be void.

D.	SUBMISSION OF TENDERS.

- Submission of Tenders:

  - The tenderer shall invariably ensure that the following are uploaded online.

Check slip

Copy of Contractors valid Registration under appropriate Class with Government of Andhra Pradesh.

Copy of PAN card along with proof of having a copy of latest income tax returns submitted along with proof of receipt.

Copies of Value Added Tax (VAT) Registration.

Availability of key personnel in statement VI.

Litigation history in statement –VII

Copy of sub-contractor’s license and registration certificate of appropriate class for electrical sub-work

Copy of sub-contractor’s registration certificate of appropriate class for water supply sub-work

DDs towards EMD and for M/s C1 India.

The tenderers shall be required to furnish a declaration in online stating that the soft copies uploaded by them are genuine. Any incorrectness / deviations noticed will be viewed seriously and apart from canceling the work duly forfeiting the EMD, Criminal action will be initiated including suspension of business.

The Technical bid evaluation of the Tenderers will be done on the certificates / documents uploaded through online only towards qualification criteria finished by them.

16.2	The tenderer shall invariably furnish the original DDs (towards EMD and to the C1 India)  to the tender inviting authority before opening the price bids either personally or through courier of by post and the receipt of the same within the stipulated time shall be the responsibility of the bidder.  Department will not take any responsibility for any delay or non receipt

16.3	The successful (L1) tenderer shall furnish the original hard copies of all the documents / certificates / statements uploaded by them before concluding the Agreement

- Deleted

- Last date / time for submission of the tenders.

  - Tenders must be submitted not later than the date and time specified in NIT. In the event of the specified date / time for the submission of bids declared as holiday, the bids will be received on the next working day.

  - The Registrar, NALSAR University of Law may extend the dates for issue and receipt of Tenders by issuing an amendment in which case all rights and obligations of the Registrar and the Tenderers will remain same as previously.

- Late tenders

  - Any tender received after the last date / time prescribed in NIT will be summarily rejected.

- Modification to the tender

  - No tender shall be modified after the last date / time of submission of tenders.

# E.	TENDER OPENING AND EVALUATION

- Tender opening

  - The tenderers or their authorised representatives can be present at the time of opening of the tenders.  Either the tenderer himself or one of his representative with proper authorisation only will be allowed at the time of tender opening.  If any of the tenderer is not present at the time of opening of tenders, the tender opening authority will, on opening the tender of the absentee tenderer, reads out and record the deficiencies if any, which shall be binding on the tenderer.

  - The technical bid containing qualification requirements as per Annexures: I & II and statement I to VII will be evaluated by the tender opening authority and the minutes are recorded which will be signed by the tender opening authority as well as tenderers or their authorised representatives present.

- Clarification on the technical bid

  - The tender opening authority may call upon any tenderer for clarification on the statements, documentary proof relating to the technical bid.  The request for clarification and response thereto shall be in writing and it shall be only on the qualification information furnished by the tenderer.  The clarification called for from the tenderers shall be furnished within the stipulated time, which shall not be more than a week

.

  - The tenderer if so desirous, shall agree in writing to furnish the clarification called for within the stipulated time and, for disqualification and rejection of his tender in the event of failure to do so.

- Examination of technical bids and determination of responsiveness

  - The Registrar will evaluate whether each tenderer is satisfying the eligibility criteria prescribed in the tender document and declares them as a qualified tenderer.

  - If the technical bid of a tenderer is not satisfying any of the eligibility criteria it will be rejected by the Registrar.  However, the tender accepting authority detects any error in the evaluation of tenders by Registrar, the tender accepting authority while returning the tenders may direct the Registrar to re-evaluate the tenders.

  - If any alteration is made by the tenderer in the tender documents, the conditions of the contract, the drawings, specifications or statements / formats or quantities the tender will be rejected.

- Price bid opening

  - Only the price bids of qualified tenderers whose technical Bids are found satisfying the eligibility criteria shall be opened in the presence of the qualified tenderers or their authorised representatives present on the date and time fixed.  The bid offers are read out and minutes recorded and the signatures of the tenderers present are taken in the minutes.

  - The price bid of the unqualified tenderers will not be opened and kept in safe custody till the tenders are finalised and thereafter E.M.D will be returned to the tenderers.

  - Tenders shall be scrutinised in accordance with the conditions stipulated in the Tender document. In case of any discrepancy of non-adherence conditions the tender accepting authority shall communicate the same which will be binding both on the tender opening authority and the tenderer.  In case of any ambiguity, the decision taken by the tender accepting authority on tenders shall be final.

- Evaluation and comparison of price bids

  - The Registrar will evaluate and compare the price bids of all the qualified tenderers.

  - Negotiations at any level are strictly prohibited. However, good gesture rebate, if offered by the lowest tenderer prior to finalisation of tenders may be accepted by the tender accepting authority.

  - Selection of tenderer among the lowest and equally quoted tenderers will be in the following orders:

- The tenderer whose bid capacity is higher will be selected.

- In case the bid capacity is also same the tenderer whose annual turnover is more will be preferred.

- Even if the criteria incidentally become the same, the turnover on similar works and thereafter machinery available for the work and then the clean track record will be considered for selection.

- Discrepancy in tender percentage quoted.

  - In case of any discrepancy between the overall tender percentage quoted in words and figures, the percentage quoted in words shall prevail.  In case the tenderer has quoted overall tender percentage only in words and not in figures or vice versa, such tender shall be treated as incomplete and rejected.

- Process to be confidential

  - Information relating to the examination, clarification, evaluation and comparison of tenders and recommendations for the award of a contract shall not be disclosed to tenderers or any other persons not officially concerned with such process until the award to the successful tenderer has been announced by the tender accepting authority.  Any effort by a tenderer to influence the processing of tenders or award decisions may result in the rejection of his tender.

  - No Tenderer shall contact the Registrar or any authority concerned with finalisation of tenders on any matter relating to its Tender from the time of the Tender opening to the time the Contract is awarded. If the Tenderer wishes to bring additional information to the notice of the Registrar, it should do so in writing.

  - Before recommending / accepting the tender, the tender recommending / accepting authority shall verify the correctness of certificates submitted to meet the eligibility criteria and specifically experience.  The authenticated agreements of previous works executed by the lowest tenderer shall be called for.

27.4	Tenders will be finalized by the Vice Chancellor up Rs.30 lakhs / the work costing above Rs.30 lakhs will be finalized by the building committee of NALSAR University of Law.  In case of any ambiguity the decision taken by the Building committee on tenders shall be final

# F.	AWARD OF CONTRACT

- Award Criteria

  - The Vice Chancellor / Building committee. Will approve and recommend to the competent tender accepting authority for award of the contract to the Tenderer who is found technically qualified as per the Tender conditions and whose price bid is lowest.

  - The tender accepting authority reserves the right to accept or reject any tender or all tenders and to cancel the tendering process, at any time prior to the award of contract, without thereby incurring any liability to the affected tenderer or tenderers or any obligation to inform the affected tenderer or tenderers of the reasons for such action.

- Notification of award and signing of agreement

  - The Tenderer whose Tender has been accepted will be notified of the award of the work by the Registrar, prior to expiration of the Tender validity period by registered letter. This letter (hereinafter and in the Conditions of Contract called “Letter of Acceptance”) will indicate the sum that the University will pay the Contractor in consideration of the execution, completion, and maintenance of the Works by the Contractor as prescribed by the Contract (hereinafter and in the Contract called the “Contract Amount”).

  - When a tender is to be accepted the concerned tenderer shall attend the office of the Registrar concerned on the date fixed in the Letter of acceptance. Upon intimation being given by the Registrar, of acceptance of his tender, the tenderers shall make payment of the balance E.M.D., and additional security deposit wherever needed by way of Demand Draft or unconditional and irrevocable Bank Guarantee obtained from a Nationalised Bank with a validity period of months, and sign an agreement in the form prescribed by the department for the due fulfillment of the contract. Failure to attend the Registrar’s office on the date fixed, in the written intimation, to enter into the required agreement shall entail forfeiture of the Earnest Money deposited.  The written agreement to be entered into between the contractor and the University shall be the foundation of the rights and obligations of both the parties and the contract shall not be deemed to be complete until the agreement has first been signed by the contractor and then by the proper officer authorised to enter into contract on behalf of the University.

  - The successful tenderer has to sign an agreement within a period of 15 days from the date of receipt of communication of acceptance of his tender.  On failure to do so his tender will be cancelled duly forfeiting the E.M.D., paid by him without issuing any further notice and action will be initiated for black listing the tenderer.

- Corrupt or fraudulent practices

  - The Government require that the bidders / suppliers / contractors under Government financed contracts, observe the highest standard of ethics during the procurement and execution of such contracts.  In pursuance of this policy, the Government

- define for the purposes of the provision, the terms set forth below as follows:

- “corrupt practices” means the offering, giving, receiving or soliciting of any thing of value to influence the action of a Government official in procurement process or in contract execution: and

- “fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Government and includes collusive practice among Tenderers (prior to or after Tender submission) designed to establish in Tender prices at artificial non-competitive levels and to deprive the Government of the benefits of free and open competition.

- Will reject a proposal for award if it determines that the tenderer recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question.

- Will blacklist / or debar a firm, either indefinitely or for a stated period of time, if at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing a Government contract.

- Further more, tenderers shall be aware of the provisions stated in the general conditions of contract.

QUALIFICATION INFORMATION

Annexure –I

###### CHECKLIST TO ACOMPANY THE TENDER

| S.No | Description | Submitted Yes/No | Page No. (see Note below) |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| 1 | Copy of Contractors valid Registration under appropriate Class with Government of Andhra Pradesh. | Yes / No |  |
| 2 | Copy of PAN card along with proof of having a copy of latest income tax returns submitted along with proof of receipt. | Yes / No |  |
| 3 | Copies of Value Added Tax (VAT), Registration | Yes / No |  |
| 4 | Availability of key personnel in statement VI. | Yes / No |  |
| 5 | Litigation history in statement –VII | Yes / No |  |
| 6 | Copy of sub-contractor’s license and registration certificate of appropriate class for electrical sub-work | Yes / No |  |
| 7 | Copy of sub-contractor’s registration certificate of appropriate class for water supply sub-work | Yes / No |  |
| 8 | DDs towards EMD and for M/s C1 India. | Yes / No |  |
| 9 | Declaration towards the genuineness of the certificates | Yes / No |  |
| 10 | List of Certificates enclosed | Yes / No |  |

Notes:-

- All the statements copies of the certificates, documents etc., enclosed to the Technical bid shall be given page numbers on the right corner of each certificate, which will be indicated in column (4) against each item.  The statements furnished shall be in the formats appended to the tender document.

- The information shall be filled-in by the Tenderer in the checklist and statements VI & VII, and shall be enclosed to the Technical bid for the purposes of verification as well as evaluation of the tenderer’s Compliance to the qualification criteria as provided in the Tender document. All the Certificates, documents, statements as per check-list shall be submitted by the tenderer.

- The bidder shall sign all the statements/documents/certificates uploaded by him owing responsibility for their correctness/authenticity.

- The tenderer shall invariably furnish the original DDs (towards EMD and to the C1 India)  to the tender inviting authority before opening the price bids either personally or through courier of by post and the receipt of the same within the stipulated time shall be the responsibility of the bidder.  Department will not take any responsibility for any delay or non receipt

- The successful (L1) tenderer shall furnish the original hard copies of all the documents / certificates / statements uploaded by them before concluding the Agreement

### DECLARATION

I / WE ……………………………………………………………….  have gone through carefully all the Tender conditions and solemnly declare that  I / we will abide by any penal action such as disqualification or black listing or determination of contract or any other action deemed fit, taken by, the Department against us, if it is found that the statements, documents, certificates produced by us are  false / fabricated.

I / WE hereby declare that, I / WE have not been blacklisted / debarred / Suspended / demoted in any department in Telangana or in any State due to any reasons.

Signature of the Tenderer

STATEMENT – I

DELETED

STATEMENT – II

DELETED

STATEMENT – III

DELETED

STATEMENT – IV

DELETED

STATEMENT – V

DELETED

STATEMENT – VI.

Availability of Key Personnel

Qualification and experience of Key Personnel proposed to be deployed for execution of the Contract.

| Sl. No | Name | Designation | Qualification | Total Experience | Working with the Tenderer since. |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |

Signature of the Tenderer

STATEMENT - VII

Information on litigation history in which Tenderer is the Petitioner.

| S. No | Case No. / Year | Court where filed. | Subject Matter / Prayer in the case. | Respondents i.e., SE / CE | Present Stage. |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |

Signature of the Tenderer

CONDITIONS OF CONTRACT

TENDER

Date: ……………

To

The Registrar,

NALSAR University of Law,

Shameerpet, Hyderabad.

Sir,

I / We do hereby tender and if this tender be accepted, under take to execute the following Renovation of PC Toilets at NALSAR University of Law, Shameerpet, Hyderabad as shown in the drawings and described in the specifications deposited in the office of the University  Engineer, Hyderabad  with such  variations by way of alterations or additions to, and omissions from the said works and method of payment as provided for in the “conditions of the contract” for the sum of 
Rs. 13,88,376/-  (Rupees Six Lakh Fifty Eight Thousand Four Hundred only) or such other sum as may be arrived under the clause of the standard preliminary specifications relating to “Payment on lump-sum basis or by final measurement at unit rates”

I/We have also quoted percentage excess or less on E.C.V., in Schedule ‘A’ Part-I, annexed (in words and figures) for which I/We agree to execute the work when the lumpsum payment under the terms of the agreement is varied by payment on measurement quantities.

I/We have quoted Percentage excess or less on E.C.V., in Schedule ‘A’ Part – I both in words & figures. In case of any discrepancy between the Percentage excess or less on E.C.V., in words and figures, the rates quoted words only shall prevail.

I/We agreed to keep the offer in this tender valid a period of Three month(s) mentioned in the tender notice and not to modify the whole or any part of it for any reason within above period.  If the tender is withdrawn by me/us for any reasons whatsoever, the earnest money paid by me/us will be forfeited to University

I/We hereby distinctly and expressly, declare and acknowledge that, before the submission of my/our tender I/We have carefully followed the instructions in the tender notice and have read the A.P.S.S. and the preliminary specifications therein and the A.P.S.S. addenda volume and that I/We have made such examination of the contract documents and the plans, specifications and quantities and of the location where the said work is to be done, and such investigation of the work required to be done, and in regard to the material required to be furnished as to enable me/us to thoroughly understand the intention of same and the requirements, covenants, agreements, stipulations and restrictions contained in the contract, and in the said plans and specifications and distinctly agree that I/We will not hereafter make any claim or demand upon the University based upon or arising out of any alleged misunderstanding or misconception /or mistake on my/or our part of the said requirement, covenants, agreements, stipulations, restrictions and conditions.

I / We enclosed to my/our application for tender schedule a crossed demand draft (No…………………………………………………………………………..dated:…………………..) for Rs: ……………………………………………..as earnest money not to bear interest.

I / We shall not assign the contractor or sublet any portion of the same.  In case if it becomes necessary such subletting with the permission of the Registrar shall be limited to (1) Labour contract, (2) Material contract, (3) Transport contract and (4) Engaging specialists for special item of work enjoined in A.P.S.S.

If my / our tender is not accepted the sum shall be returned to me/us on application when intimation is sent to me/us of rejection or at the expiration of three months from last date of receipt of this tender, whichever is earlier. If my/our tender is accepted the earnest money shall be retained by the University as security for the due fulfillment of this contract. If upon written intimation to me/us by the Registrar Office, I/We fail to attend the said office on the date herein fixed or if upon intimation being given to me/us by the Registrar or acceptance of my/our tender, and if I/We fail to make the additional security deposit or to enter into the required agreement as defined in condition-3 of the tender notice, then I/We agree the forfeiture of the earnest money.  Any notice required to be served on me/us here under shall be sufficiently served on me/us if delivered to me/us hereunder shall be sufficiently served on me/us if delivered to me/us personally or forwarded to me/us by post to (registered or ordinary) or left at my/our address given herein.  Such notice shall if sent by post be deemed to have been served on me/us at the time when in due course of post it would be delivered at the address to which it is sent.

I/We fully understand that the written agreement to be entered into between me/us and University shall be the foundation of the rights of the both the parties and the contract shall not be deemed to be complete until the agreement has first been signed by me/us and then by the proper officer authorised to enter into contract on behalf of University.

I am/we are professionally qualified an my/our qualifications are given below:

| Name | Qualified |
| --- | --- |

I/We will employ the following technical staff for supervising the work and will see that one of them is always at site during working hours, personally checking all items of works and paint extra attention to such works as required special attention (eg) Reinforced concrete work.

| Name of members of technical staff proposed to be employed | Qualification. |
| --- | --- |

I / We declare that I / We agree to recover the salaries of the technical staff actually engaged on the work by the department, from the work bills, if I / We fail to employ technical staff as per the tender condition.

TENDERERS / CONTRACTOR’S CERTIFICATE.

- I/We hereby declare that I/We have perused in detail and examined closely the Andhra Pradesh Standard Specifications, all clauses of the preliminary specifications with all amendments and have either examined all the standards specifications or will examine all the standard specifications for items for which I/We tender, before I/We submit such tender and agree to be bound and comply with all such specifications for this agreement.

- I/We certify that I/We have inspected the site of the work before quoting my Percentage excess or less on ECV, I /We have satisfied about the quality, availability and transport facilities for stones sand and other materials.

- I / We am/are prepared to furnish detailed data in support of all my quoted rates, if and when called upon to do so without any reservations.

- I / We hereby declare that I / We will pay an additional security deposit in terms of conditions 3.6 of instructions to tenderers.

- I / We hereby declare that I am / we are accepting to reject my tender in terms of condition 3.7 of instructions to tenderers.

- I / We hereby declare that I / We will not claim any price escalation.

- I / We hereby declare that I am / We are accepting for the defect liability period as 24 months instead of 6 ;months under clause 28 of APSS.

- a)	I / We declare that I/WE will procure the required construction materials  including earth and use for the work after approval of the Engineer-in-Charge.  The responsibility for arranging and obtaining the land for borrowing or exploitation in any other way shall rest with me/us for the materials for construction, I/We shall ensure smooth and un-interrupted supply of materials.

- I / We declare that the responsibility for arranging and obtaining the land for disposal of spoil/soil not useful for construction purposes shall rest with me/us.

- I / We declare that I / We shall not claim any compensation or any payment for the land so arranged for disposal of soil and the land for borrow area.  My/our quoted percentage excess or less ECV., are inclusive of the land so arranged and I/We will hand over the land so arranged for disposal of soil to; the department after completion of work.

- I / We declare that I / WE will not claim any extra amount towards any material used for the work other than the quoted works for respective schedule ‘A’ items.

- I / We declare that I / WE will execute the work as per the mile stone programme, and if I / WE fail to complete the work as per the mile stone programme I abide by the condition to recover liquidated damages as per the tender conditions.

- I / We declare that I / WE will abide for settlement of disputes as per the tender conditions.

DECLARATION OF THE TENDERER.

- I/We have not been black listed in any department in Andhra Pradesh due to any reasons.

- I/We have not been demoted to the next lower category for not filing the tenders after buying  the tender schedules in a whole year and my/our registration has not been cancelled for a similar default in two consecutive years.

- I/We agree to disqualify me/us for any wrong declaration in respect of the above and to summarily reject my/our tender.

Address of the Tenderer :

Phone No.:			Fax No.:

CONTRACTOR.

Conditions of Contract

- General

- Interpretation:

  - In interpreting these Conditions of Contract, singular also means plural, male also means female, and vice-versa.  Headings have no significance. Works have their normal meaning under the language of the contract unless specifically defined. The Engineers-in-charge will provide instructions clarifying queries about the conditions of Contract.

  - The documents forming the Contract shall be interpreted in the following order of priority:

- Agreement

- Letter of Acceptance, notice to proceed with the works

- Contractor’s Tender (Technical bid)

- Conditions of contract

- Specifications

- Drawings

- Bill of quantities (Price-bid)

- Any other document listed as forming part of the Contract.

- Engineer-in-Charge’s Decisions:

  - Except where otherwise specifically stated, the Engineer-in-charge will decide the contractual matters between the Department and the Contractor in the role representing the Department.

- Delegation:

  - The Engineer-in-charge may delegate any of his duties and responsibilities to other officers and may Cancel any delegation by an official order issued.

- Communications:

4.1	Communications between parties, which are referred to in the conditions, are effective only when in writing. A notice shall be effective only when it is delivered (in terms of Indian Contract Act)

- Sub-contracting:

  - If the prime contractor desires to sub-let a part of the work, he should submit the same at the time of filing tenders itself or during execution, giving the name of the proposed Sub-contractor, along with details of his qualification and experience.   The Tender Accepting Authority should verify the experience of the Sub-contractor and if the Sub-contractor satisfies the qualification criteria in proportion to the value of work proposed to be sub-let, he may permit the same.  The total value of works to be awarded on sub-letting shall not exceed 50% of contract value.  The extent of subletting shall be added to the experience of the sub-contractor and to that extent deducted from that of the main contractor.

- Other Contractors:

6.1	The Contractor shall cooperate and share the Site with other contractors, Public authorities, utilities, and the Department. The Contractor shall also provide facilities and services for them as directed by the Engineer-in-charge.

- Personnel:

  - The Contractor shall employ the required Key Personnel named in the Schedule of Key Personnel to carry out the functions stated in the Schedule or other personnel approved by the Engineer-in-charge.  The Engineer-in-charge will approve any proposed replacement of Key Personnel only if their qualifications, abilities, and relevant experience are substantially equal to or better than those of the personnel listed in the Schedule.

  - Failure to employ the required technical personnel by the contractor the following amounts will be recovered from the contractor over and above the provision made in part two of schedule-A from the contractors bills.

  - The technical personnel should be on full time and available at site whenever required by Engineer in Charge to take instructions.

  - The names of the technical personnel to be employed by the contractor should be furnished in the statement enclosed separately.

  - In case the contractor is already having more than one work on hand and has undertaken more than one work at the same time, he should employ separate technical personnel on each work.

  - If the contractor fails to employ technical personnel the work will be suspended or department will engage a technical personnel and recover the cost thereof from the contractor.

  - If the Engineer-in-charge asks the Contractor to remove a person who is a member of Contractor’s staff or his work force stating the reasons the Contractor shall ensure that the person leaves the site forthwith and has no further connection with the work in the contract.

- Contractor’s Risks:

  - All risks of loss of or damage to physical property and of personnel injury and death, which arise during and in consequence of the performance of the Contract are the responsibility of the Contractor.

- Insurance:

  - The Contractor shall provide, in the joint names of the Department and the contractor, insurance cover from the Start Date to the end of the Defects Liability Period i.e., 24 months after completion for the following events which are due to the Contractor’s risks.

- loss of or damage to the Works, Plant and Materials;

- loss of or damage to the Equipment;

- loss of or damage of property  in connection with the Contract; and

- Personal injury or death of persons employed for construction.

  - Policies and certificates of insurance shall be delivered by the Contractor to the Engineer-in-charge at the time of concluding Agreement.  All such insurance shall provide for compensation to be payable to rectify the loss or damage incurred.

- The contractor shall furnish insurance policy in force in accordance with proposal furnished in the Tender and approved by the Department for concluding the agreement.

- The contractor shall also pay regularly the subsequent insurance premia and produce necessary receipt to the Engineer-in-Charge, well in advance.

- In case of failure to act in the above said manner the department will pay the premium and the same will be recovered from the Contractors payments.

  - Alterations to the terms of insurance shall not be made without the approval of the Engineer-in-Charge.

- Site Inspections:

  - The contractor should inspect the site and also proposed quarries of choice for materials source of water and quote his percentage including quarrying, conveyance and all other charges etc.

  - The responsibility for arranging the land for borrow area rests with the Contractor and no separate payment will be made for procurement or otherwise.  The contractor’s quoted percentage will be inclusive of land cost.

- Contractor to Construct the Works:

  - The Contractor shall construct and Commission the Work in accordance with the specifications and Drawings.

- Diversion of streams / Vagus / Drains.

  - The contractor shall at all times carry out construction of cross drainage works in a manner creating least interference to the natural flow of water while consistent with the satisfactory execution of work.  A temporary diversion shall be formed by the contractor at his cost where necessary.  No extra payment shall be made for this work.

  - No separate payment for bailing out sub-soils, water drainage or locked up rain water for diversion, shoring, foundations, bailing of pumping water either from excavation of soils from foundations or such other incidental will be paid. The percentage to be quoted by the contractor are for the finished item of work in situ and including all the incidental charges. The borrow pits are also to be de-watered by the contractor himself at his expense, if that should be found necessary.

  - The work of diversion arrangements should be carefully planned and prepared by the contractor and forwarded to the Registrar technically substantiating the proposals and approval of the Registrar NALSAR University of Law obtained for execution.

  - The contractor has to arrange for bailing out water, protection to the work in progress and the portion of works already completed and safety measures for men and materials and all necessary arrangements to complete the work.

  - All the arrangements so required should be carried out and maintained at the cost of the contractor and no separate or additional payments is admissible.

  - Coffer Dams.

Necessary coffer dams and ring bunds have to be constructed at the cost of contractor and same are to be removed after the completion of the work.  The contractor has to quote his percentage keeping the above in view.

- Power Supply.

  - The contractor shall make his own arrangements for obtaining power from the Electricity dept., at his own cost.  The contractor will pay the bills of Electricity Department for the cost of power consumed by him.

  - The contractor shall satisfy all the conditions and rules required as per Indian Electricity Act 1910 and under Rule-45(I) of the Indian Electricity Rules, 1956 as amended from time to time and other pertinent rules.

  - The power shall be used for bonafide Departmental work only.

- Ramps:

Ramps required during execution may be formed wherever necessary and same are to be removed after completion of the work.  No separate payment will be made for this purpose.

- Monsoon Damages:

Damages due to rain or flood either in cutting or in banks shall have to be made good by the contractor till the work is handed over to the Department.  The responsibility of de-silting and making good the damages due to rain or flood rests with the contractor. No extra payment is payable for such operations and the contractor shall therefore, have to take all necessary precautions to protect the work done during the construction period.

- The works to be Completed by the Intended Completion Date:

  - The Contractor may commence execution of the Works on the Start Date and shall carry out the Works in accordance with the programme submitted by the Contractor, as updated with the approval of the Registrar, NALSAR University of Law and complete the work by the Intended Completion Date.

- Safety:

  - The Contractor shall be responsible for the safety of all activities on the Site.

- Discoveries:

  - Anything of historical or other interest or of significant value unexpectedly discovered on the Site is the property of the University.  The Contractor is to notify the Engineer-in-charge of such discoveries and carry out the Registrar instructions for dealing with them.

- Possession of the Site.

  - The Department shall give possession of the site to the Contractor.  If possession of a part site is given, the Department will ensure that the part site so handed over is amenable to carryout the work at site by the Contractor.

- Access to the Site:

  - The Contractor shall provide the Vice Chancellor and any person authorised by the Vice Chancellor, access to the site and to any place where work in connection with the Contract is being carried out or is intended to be carried out.

- Instructions:

  - The Contractor shall carry out all instructions of the Vice Chancellor and comply with all the applicable local laws where the Site is located.

- Settlement of disputes:

  - If any dispute of difference of any kind whatsoever arises between the department and the Contractor in connection with, or arising out of the Contract, whether during the progress of the works or after their completion and whether before or after the termination, abandonment or breach of the Contract, it shall in the first place, be referred to and settled by the Registrar, NALSAR University of Law who shall, within a period of thirty days after being requested by the Contractor to do so, give written notice of his decision to the Contractor. Upon receipt of the written notice of the decision of the Registrar, NALSAR University of Law the Contractor shall promptly proceed without delay to comply with such notice of decision.

  - If the Registrar, NALSAR University of Law fails to give notice of his decision in writing within a period of thirty days after being requested or if the Contractor is dissatisfied with the notice of the decision of the Registrar, NALSAR University of Law the Contractor may within thirty days after receiving the notice of decision appeal to the Department who shall offer an opportunity to the contractor to be heard and to offer evidence in support of his appeal, the Department shall give notice of his decision within a period of thirty days after the Contractor has given the said evidence in support of his appeal, subject to arbitration, as hereinafter provided.  Such decision of the Department in respect of every matter so referred shall be final and binding upon the Contractor and shall forthwith be given effect to by the Contractor, who shall proceed with the execution of the works with all due diligence whether he requires arbitration as hereinafter provided, or not.  If the Department has given written notice of his decision to the Contractor and no claim to arbitration, has been communicated to him by the Contractor within a period of thirty days from receipt of such notice the said decision shall remain final and binding upon the Contractor.  If the Department fail to give notice of his decision, as aforesaid within a period of thirty days after being requested as aforesaid, or if the Contractor be dissatisfied with any such decision, then and in any such case the contractor within thirty days after the expiration of the first named period of thirty days as the case may be, require that the matter or matters in dispute be referred to arbitration as detailed below:-

Settlement of Claims:

Settlement of claims for Rs. 50, 000/- and below by Arbitration.

All disputes or difference arising of or relating to the Contract shall be referred to the adjudication as follows:

- Claims to a value of Rupees 0.00 to 50,000/-

REGISTRAR, NALSAR University of Law, Hyd.

The arbitration shall be conducted in accordance with the provisions of Indian Arbitration and Conciliation Act 1996 or any statutory modification thereof.

The arbitrator shall state his reasons in passing the award.

Claims above Rs.50, 000/-.

All claims of above Rs.50, 000/- are to be settled by a Civil Court of competent jurisdiction by way of civil suit and not by arbitration.

A reference for adjudication under this clauses shall be made by the contractor within six months from the date of intimating the contractor of the preparation of final bill or his having accepted payment which ever is earlier.

- Time FOR COMPLETION

- Program:

  - The total period of completion is (4) MONTHS from the date of entering with agreement to proceed including rainy season.

  - The attention of the tenderer is directed to the contract requirement at the time of beginning of the work, The rate of progress and proportionate value of work done from time to time as will be indicated by the Assistant Engineer Certificate for the value of work done will be required. Date of commencement of their programme will be the date for concluding agreement but not the date of handing over site.

  - After signing the agreement, the contractor shall forthwith begin the work, shall regularly and continuously proceed with them.

  - Rate of progress/percentage of work :

- (4) MONTHS 100% of contract value

  - The contractor shall commence the works on site within the period specified under condition 24.1 to 24.3 above after the receipt by him of a written order to this effect from the Assistant Engineer and shall proceed with the same with due expedition and without delay, except as may be expressly sanctioned or ordered by the Registrar.

  - Save in so far as the contractor may prescribe, the extent of portions of the site of which the contractor is to be given possession from time to time and the order in which such portions shall be made available to him and, Subject to any requirement in the contract as to the order in which the works shall be executed, with the Registrar’s written order to commence the works, give to the contractor possession of so much of the site as may be required to enable the contractor to commence proceed with the execution of the works in accordance with the programme if any, and otherwise in accordance with such reasonable proposals of the contractor as he shall by written notice to the Registrar make and will from time to time as the works proceed, give to the contractor possession of such further portions of the site as may be required to enable the contractor to proceed with the execution of the works with due dispatch in accordance with the said programme or proposals as the case maybe ; if the contractor suffers delay or incurs cost from failure on the part of the Registrar to give possession in accordance with the terms of this clause, the Registrar shall grant an extension of time for the completion of works.

  - The contractor shall bear all costs and charges for special or temporary way leases required by him in connection with access to the site. The contractor shall also provide at his own cost any additional accommodation outside the site required by him for the purposes of the work.

  - Subject to any requirement in the contract as to completion of any section of the works before completion of the whole of the works shall be completed in accordance with provisions of clauses in the Schedule within the time stated in the contract calculated from the last day of the period named in the statement to the tender as that within which the works are to be commenced or such extended time as may be allowed.

  - Delays and extension of time:

No claim for compensation on account of delays or hindrances to the work from any cause whatever shall lie, except as hereafter defined.  Reasonable extension of time will be allowed by the Registrar or by the office competent to sanction the extension, for unavoidable delays, such as may result from causes, which in the opinion of the Registrar, are undoubtedly beyond the control of the contractor.  The Registrar shall assess the period of delay or hindrance caused by any written instructions issued by him, at twenty five per cent in excess or the actual working period so lost.

In the event of the Registrar failing to issue necessary instructions and thereby causing delay and hindrance to the contractor, the latter shall have the right to claim an assessment of such delay by the Registrar of the Circle whose decision will be final and binding.  The contractor shall lodge in writing with the Registrar a statement of claim for any delay or hindrance referred to above, within fourteen days from its commencement, otherwise no extension of time will be allowed.

Whenever authorised alterations or additions made during the progress of the work are of such a nature in the opinion of the Registrar as to justify an extension of time in consequence thereof, such extension will be granted in writing by the Registrar or other competent authority when ordering such alterations or additions.

- Construction Programme:

  - The Contractor shall furnish within one month of the order of the work a programme showing the sequence in which he proposed to carry out the work, monthly progress expected to be achieved, also indicating date of procurement of materials plant and machinery. The schedule should be such that it is practicable to achieve completion of the whole work within the time limit fixed and shall obtain the approval of the Engineer-in-charge.  Further rate of the progress as in the program shall be kept up to date.  In case it is subsequently found necessary to alter this program, the contractor shall submit sufficiently in advance the revised program incorporating necessary modifications and get the same approved by the Engineer-in-charge.  No revised program shall be operative with out approval of Engineer-in-charge.

  - The Registrar shall have all times the right, without any way violating this contract, or forming grounds for any claim, to alter the order of progress of the works or any part thereof and the contractor shall after receiving such directions proceed in the order directed.  The contractor shall also report the progress to the Registrar within 7 days of the direction to alter the order of progress of works.

  - The Contractor shall give written notice to the Engineer-in-Charge whenever planning or progress of the works is likely to be delayed or disrupted unless any further drawings or order including a direction, instruction or approval is issued by the Engineer-in-Charge within a reasonable time.  The notice shall include details of the drawing or order required and of why and by when it is required and of any delay or disruption likely to be suffered if it is late.

- Speed of Work

  - The Contractor shall at all times maintain the progress of work to conform to the latest operative progress schedule approved by the Engineer-in-Charge. The contractor should furnish progress report indicating the programme and progress once in a month.  The Engineer-in-Charge may at any time in writing direct the contractor to slow down any part or whole of the work for any reason (which shall not be questioned) whatsoever, and the contractor shall comply with such orders of the Engineer-in-Charge. The compliance of such orders shall not entitle the contractor to any claim of compensation.  Such orders of the Engineer-in-Charge for slowing down the work will however be duly taken into account while granting extension of time if asked by the contractor for which no extra payment will be entertained.

  - Delays in Commencement or progress or neglect of work and forfeiture of earnest money, Security deposit and withheld amounts:

If, at any time, the Engineer-in-Charge shall be of the opinion that the Contractor is delaying Commencement of the work or violating any of the provisions of the Contractor is neglecting or delaying the progress of the work as defined by the tabular statement. “Rate of progress” in the Articles of Agreement”, he shall so advise the Contractors in writing and at the same time demand compliance in accordance with conditions of Tender notice.  If the Contractor neglects to comply with such demand within seven days after receipt of such notice, it shall then or at any time there after, be lawful for the Engineer-in-Charge to take suitable action in accordance with Clause.60 of APSS.

- Suspension of works by the Contractor:

  - If the Contractor shall suspend the works, or sublet the work without sanction of the Engineer-in-Charge, or in the opinion of the Engineer-in-Charge shall neglect or fail to proceed with due diligence in the performance of his part of the Contract as laid down in the Schedule rate of progress, or if he shall continue to default or repeat such default in the respects mentioned in clause.27 of the APSS, Engineer-in-Charge shall take action in accordance with Clause 61 of APSS.

  - If the Contractor stops work for 28 days and the Stoppage has not been authorised by the Engineer-in-Charge the Contract will be terminated under Clause 61 of APSS.

  - If the Contractor has delayed the completion of works the Contract will be terminated under Clause.61 of APSS.

- Extension of the Intended Completion Date:

  - The Engineer-in-Charge shall extend or recommend for extension, in accordance with the Government orders in force, the Intended Completion Date if a Variation is issued which makes it impossible for Completion to be achieved by the Intended Completion Date.

  - The Engineer-in-Charge shall decide whether and by how much to extend the Intended Completion Date within 21 days of the Contractor asking the Engineer for a decision upon the effect of a Variation and submitting full supporting information.  If the Contractor has failed to give early warning of a delay or has failed to cooperate in dealing with a delay, the delay by this failure shall not be considered in assessing the new Intended Completion Date.

- Delays Ordered by the Engineer-in-Charge

  - The Engineer-in-Charge may instruct the Contractor to delay the start or progress of any activity within the Work.

- Early Warning:

  - The contractor is to warn the Engineer-in-Charge at the earliest opportunity of specific likely future events or circumstances that may adversely affect the Execution of Works.

  - The Contractor shall cooperate with the Engineer-in-Charge in making and considering proposals for how the effect of such an event or circumstance can be avoided or reduced by anyone involved in the work and in carrying out any resulting instruction of the Engineer-in-Charge.

- Management Meetings:

  - The Engineer-in-Charge may require the Contractor to attend a management meeting.  The business of a management meeting shall be to review the programme for remaining work and to deal with matters raised in accordance with the early warning procedure.

- Quality Control

- Identifying Defects:

  - The Engineer-in-Charge shall check the Contractor’s work and notify the Contractor of any Defects that are found.  Such checking shall not affect the Contractor’s responsibilities.  The Engineer-in-Charge may instruct the Contractor to verify the Defect and to uncover and test any work that the Engineer considers may be a Defect.

- Tests:

  - If the Engineer-in-Charge instructs the Contractor to carry out a test not specified in the Specification to check whether any work has a Defect and the Contractor shall pay for the test and any samples.

- Correction of Defects:

  - The Engineer-in-Charge shall give notice to the Contractor of any Defects before the end of the Defects Liability Period, which begins on Completion.  The defects liability period shall be extended for as long as defects remain to be corrected by the Contractor.

  - Every time notice of a Defect is given, the Contractor shall correct the notified defect within the length of time specified by the Engineer-in-Charge’s notice.

- Uncorrected defects

  - If the contractor has not corrected the defect within the time specified in the Engineer-in-Charge’s notice, the Engineer-in-Charge will assess the cost of having the defect corrected and the contractor will pay this amount.

  - The Engineer-in-Charge shall introduce O.K. cards and prescribed the formats there of.   O.K. cards shall relate to all major components of the work.  The contractor / his authorised representative shall be required to initiate and fill in and present the O.K. card to the construction staff who would check the respective items and send to the quality control staff for final check and clearance / O.K.  Any defects pointed out by the construction supervision staff or by the Quality Control staff shall promptly be attended to by the contractors and the fact of doing so be duly recorded on the back of O.K. card.

  - The Engineer-in-Charge may also introduce check lists which shall be kept in Bound registers by the construction supervision staff.  The contractor may be required to fill up these lists in the first instance and shall be subsequently checked by the Construction / Quality Control engineers.

- Quality Control:

In addition to the normal inspection by the regular staff in charge of the Construction of work, the work will also be inspected by the Registrar by the State or District level Vigilance Cell Unit and any other authorised external Agency if any sub-standard work or excess payments are noticed with reference to measurement books etc., during inspection, action will be taken based on their observations and these will be effected by the Engineer-in-Charge of the execution of the work.

For all works costing more than Rs.2.00 Crores the Contractor shall submit quality plan and also show proof of owning quality lab or tie-up with an established quality lab.

# COST CONTROL

- Bill of Quantities:

  - The Bill Quantities shall contain items for the construction work to be done by the Contractor.

  - The Contractor is paid for the quantity of the work done at the estimate rate in the Bill of Quantities for each item plus or minus Tender percentage.

- Changes in the Quantities:

  - The contractor is bound to execute all supplemental works that are found essential, incidental and inevitable during execution of main work.

  - The payment of rates for such supplemental items of work will be regulated as under;

Supplemental items directly deducible from similar items in the original agreement.

    - The rates shall be derived by adding to or subtracting from the agreement rate of such similar item the cost of the difference in the quantity of materials labour between the new items and similar items in the agreement worked out with reference to the Standard Schedule of Rates adopted in the sanctioned estimate with which the tenders are accepted plus or minus over all tender percentage.

    - (a) Similar items but the rates of which cannot be directly deduced from the original agreement.

(b) Purely new items which do not correspond to any item in the agreement.

    - The rates of all such items shall be Estimated Rates plus or minus overall Tender premium.

- Extra Items:

  - Extra items of work shall not vitiate the contract.  The contractor shall be bound to execute extra items of work as directed by the Engineer-in-Charge.  The rates for extra items shall be worked out by the Registrar as per the conditions of the Contract and the same are binding on the Contractor.

  - The contractor shall before the 15th day of each month, submit in writing to the Registrar a statement of extra items if any that they have executed during the preceding month failing which the contractor shall not be entitled to claim any.

  - Entrustment of additional items:

    - Where ever additional items not contingent on the main work and outside the scope of original agreement are to be entrusted to the original contractor dispensing with bids and if the value of such items exceeds the limits upto which the officer is empowered to entrust works initially to contractor without calling for tenders, approval of next higher authority shall be obtained.  Entrustment of such items on nomination shall be at rates not exceeding the estimated rates.

    - Entrustment of the additional items contingent on the main work will be authorised by the officers upto the monetary limits upto which they themselves are competent to accept items in the original agreement so long as the total amounts upto which they are competent to accept in an original agreement rates for such items shall be worked out in accordance with the procedure (I) For all items of work in excess of the quantities shown in the Bill of Quantities of the Tenders, the rate payable for such items shall be estimate rates for the items (+) or (-) over all tender percentage accepted by the competent authority.

    - Entrustment of either the additional or supplemental items shall be subject to the provisions of the agreement entered into by a Competent Authority after the tender is accepted. Registrar, who entered into the agreement approves the rate for the items / variation in quantity in the current agreement.  The items shall not be ordered by an officer on his own responsibility if the revised estimate or deviation statement providing for the same requires the sanction of higher authority.

Note:	It may be noted that the term Estimate Rate used above means the rate in the sanctioned estimate with which the tenders are accepted, or if no such rates is available in the estimate, the rate derived will be with reference to the Standard Schedule of Rates adopted in the sanctioned estimate with which tenders are accepted.

- Cash flow forecasts:

  - When the program is updated, the contractor is to provide the Engineer-in-charge with an updated cash flow forecast.

- Payment Certificates:

  - The Contractor shall submit to the Engineer-in-charge monthly statements of the estimated value of the work completed less the cumulative amount certified previously.

  - The Engineer-in-charge shall check the Contractor’s monthly statement within 14 days.

  - The value of work executed shall be determined by the Engineer-in-charge.

  - The value of work executed shall comprise the value of the quantities of the items in the Bill of Quantities completed.

  - The Engineer-in-charge may exclude any item certified in a previous certificate or reduce the proportion of any item previously certified in any certificate in the light of later information.

- Payments:

  - Payment for the work done by the contractor will be made for the finished work based on the measurements recorded in measurement books by any officer of the department not lower in rank than a Assistant Engineer and check measured by any officer not lower in rank than a Deputy Registrar. The measurement shall be recorded at various stages of the work done and also after work is completed.  The contractor shall be present at the time of recording of each set of measurement and their check measurement and accept them then and there so as to avoid disputes at a later stage.  If the contractor is not available at the work spot at the time of recording measurements or check measurements the particulars of measurements shall be signed by the authorised agent of contractor based on which the contractor shall accept the set of measurements without any further dispute.  If for any reason the contractor’s authorised agent is also not available at site when the department decides to suspend the work recording of measurements in the absence of the contractor or his authorised representative the department shall not entertain any claim from the contractor for any loss incurred by him on this account.  The Contractor shall however note that the Department cannot indefinitely wait for recording the measurement due to the absence of the Contractor and his authorised agent and check measure them even in the absence of the contractor.

  - The actual volume of stone and aggregates shall be computed after deducing the following percentages from the volume computed by stack measurements.

| S. No | Standard size of aggregate and stone | Percentage reduction in volume computed by stack measurements to arrive at the volume to be paid for |
| --- | --- | --- |
| 1. 2. 3. 4. 5. | Stone 40 mm and 25 mm 20 mm, 12 mm, 10 mm & 6 mm Fine aggregate Gravel | 40 10 5 Nil 20 |

[ Note:	The above Table may be modified depending on the type of work.]

Unless otherwise directed, measurements shall not be taken until sufficient materials for use on work have been collected and stacked.  Immediately after measurement, the stack shall be marked by white wash or other means as directed by the Engineer-in-charge.

  - Payments and Certificates:

    - Payments shall be adjusted for recovery of advance payments, liquidated damages in terms of tender conditions and security deposit for the due fulfillment of the contract.  Payment will be made to the Contractor under the certificate to be issued at reasonably frequent intervals by the Engineer-in-Charge, and intermediate payment will be the sum equal to 92½% of the value of work done as so certified and balance of 7½% will be withheld and retained as security for the due fulfillment of the contractor under the certificate to be issued by the Engineer-in-Charge.  On completion of the entire works the contractor will receive the final payment of all the moneys due or payable to him under or by virtue of the contract except earnest money deposit retained as security and a sum equal to 2½ percent of the total value of the work done.  The amount withheld from the final bill will be retained under deposits and paid to the contractor together with the earnest money deposit retained as security after a period of 24 months as all defects shall have been made good according to the true intent and meaning there of.

    - In case of over payments or wrong payment if any made to the contractor due to wrong interpretation of the provisions of the contract, APSS or Contract conditions etc., such unauthorized payment will be deducted in the subsequent bills or final bill for the work or from the bills under any other contracts with the University or at any time there after from the deposits available with the University.

    - Any recovery or recoveries advised by the Government Department either state or central, due to non-fulfillment of any contract entered into with them by the contractor shall be recovered from any bill or deposits of the contractor.

    - No claim shall be entertained, if the same is not represented in writing to the Engineer-in-Charge within 15 days of its occurrence.

    - The contractor is not eligible for any compensation for inevitable delay in handing over the site or for any other reason.  In such case, suitable extensions of time will be granted after considering the merits of the case.

  - Intermediate Payments:

    - For intermediate Stage of work, only part rates as fixed by the Engineer-in-Charge will be paid.

    - Part rates shall be worked out for the work done portion based on the actual operations involved keeping in view the value of the balance work to be done, to avoid unintended benefit to the Contractor in initial Stage.

    - Full rate shall be paid when the work is completed to the full profile as noted in the drawings.

    - For earthwork in cutting, 10% of the quantity will be with-held for intermediate payments and the same will be released after completing the work to the profiles as per drawings and disposal of the spoil material at the specified places and handing over the balance useful stone. For this purpose a length of 25 mts. will be taken as a Unit.

    - For earth work, embankment formation work, 10% of the quantity will be withheld for intermediate payments and the same will be released after completing the bund to the profiles as per drawings including trimming of side slopes and all other works contingent to the bund profile.  For this purpose, 25 mts of length will be taken as a Unit.

    - For the structure works either with masonry or concrete where the height of structure is more than three meters, the quantities executed in the lower level will be withheld at the rate of one percent for every three meters height, if the balance height o the structure work is more than three meters in being over the executed level and the same will be released only after the entire work is completed as certified by the Engineer-in-Charge.

    - For C.M. & C.D. works and for lining works, spread over more than 2 Km. In length 5 percent of the concrete and Masonry quantities will be with held and the same will be released after completion of all C.M. & C.D. works and lining for the entire length certified by the Engineer-in-Charge.

    - Where payment is intended for aggregates by Bill of Quantities item based on stack measurements, 10% of the quantity measured will be withheld.  No payment or advance will be made for unfixed materials when the rates are for finished work in site.

- Interest on Money due to the Contractor:

  - No omission by the Registrar or the sub-divisional officer to pay the amount due upon certificates shall vitiate or make void the contract, nor shall the contractor be entitled to interest upon any guarantee fund or payments in arrear, nor upon any balance which may, on the final settlement of his accounts, found to be due to him.

- Certificate of Completion of works:

  - Certificate of Completion of works:

    - When the whole of the work has been completed and has satisfactory passed any final test that may be prescribed by the Contract, the Contractor may give a notice to that effect to the Engineer-in-Charge accompanied by an undertaking to carryout any rectification work during the period of maintenance, such notice and undertaking shall be in writing and shall be deemed to be request by the Contractor for the Engineer-in-Charge to issue a Certificate of completion in respect of the Works.  The Engineer-in-Charge shall, within twenty one days of the date of delivery of such notice either issue to the Contractor, a certificate of completion stating the date on which, in his opinion, the works were completed in accordance with the Contract or give instructions in writing to the Contractor specifying all the Works which, in the Engineer-in-Charge'’ opinion, required to be done by the Contractor before the issue of such Certificate. The Engineer-in-Charge shall also notify the Contractor of any defects in the Works affecting completion that may appear after such instructions and before completion of the Works specified there in.  The Contractor shall be entitled to receive such Certificate of the Completion within twenty one days of completion to the satisfaction of the Engineer-in-Charge of the Works so specified and making good of any defects so notified.

    - Similarly, the Contractor may request and the Engineer-in-Charge shall issue a Certificate of Completion in respect of:

- Any section of the Permanent works in respect of which a separate time for completion is provided in the Contract, and

- Any substantial part of the Permanent Works which has been both completed to the satisfaction of the Engineer-in-Charge and occupied or used by the Department.

    - If any part of the Permanent Works shall have been completed and shall have satisfactorily passed any final test that may be prescribed by the Contract, the Engineer-in-Charge may issue such certificate, and the Contractor shall be deemed to have undertaken to complete any outstanding work in that part of the Works during the period of Maintenance.

- Taxes included in the bid:

  - The percentage quoted by the contractor shall be deemed to be inclusive of the sales Tax and other taxes on all materials that the contractor will have to purchase for performance of this contract.

  - Any Central or State sales and other taxes on completed items of works of this contract as may be levied and paid by the contractor shall be reimbursed by the department to the contractor on proof of payment to the extent indicated in Part.II of Schedule-A.

Price Adjustment : Deleted

- Retention

  - The department shall retain from each payment due to the contractor @ the rate of 7.5% of bill amount until completion of the whole of the Works.

  - On completion of the whole of the Works half the total amount retained is re-paid to the Contractor and half when the Defects Liability Period has passed and the Engineer-in-Charge has certified that all the Defects notified by the Engineer-in-Charge to the Contractor before the end of this period have been corrected.

  - On completion of the whole works, the Contractor may substitute retention money with an “on demand” Bank Guarantee.

- Mobilisation Advance

Deleted

- Securities:

  - The Earnest Money Deposit and Additional Security (for discount tender percentage beyond 25%) shall be provided to the Department not later than the date specified in the Letter of Acceptance and shall be issued in an amount and form and by a bank acceptable to the Department. The Earnest Money shall be valid until a date 28 days from the date of expiry of Defects Liability Period and the additional security shall be valid until a date 28 days from the date of issue of the certificate of completion.

- Cost of Repairs:

  - Loss or damage to the works or materials to the works between the start date and the end of the defects correction periods shall be remedied by the contractor at the contractor’s cost if the loss or damage arises from the contractor’s acts or omissions.

E.    Finishing the Contract

- Completion:

  - The Contractor shall request the Engineer-in-Charge to issue a Certificate of completion of the Works and the Engineer-in-Charge will do so upon deciding that the work is completed.

- Taking Over:

  - The Department shall takes over the Site and the Works within seven days of the Engineer-in-Charge issuing a certificate of Completion.

- Final Account:

54.1	The Contractor shall supply to the Engineer-in-Charge a detailed account of the total amount that the Contractor considers payable under the Contract before the end of the Defects Liability Period.  The Engineer-in-Charge shall issue a Defects Liability Certificate and certify any final payment that is due to the Contractor within56 days of receiving the Contractor’s account if it is correct and complete.  If it is not, the Engineer-in-Charge shall issue within 56 days a schedule that states the scope of the corrections or additions that are necessary.  If the final Account is still unsatisfactory after it has been resubmitted, the Engineer-in-Charge shall decide on the amount payable to the Contractor and issue a payment certificate with in 56 days of receiving the Contractor’s revised account.

- Termination:

  - The Department may terminate the Contract if the contractor causes a fundamental breach of the Contract.

  - Fundamental breaches of Contract include, but shall not be limited to the following.

- The Contractor stops work for 28 days when no stoppage of work is shown on the current program and the stoppage has not been authorised by the Engineer-in-Charge.

- The Contractor is made bankrupt or goes into liquidation other than for a reconstruction or amalgamation.

- The Engineer-in-Charge gives Notice that failure to correct a particular Defect is a fundamental breach of Contract and the Contractor fails to correct it within a reasonable period of time determined by the Engineer-in-Charge;   and

- The Contractor does not maintain a security which is required and

- The Contractor has delayed the completion of works by the number of days for which the maximum amount of liquidated damages can be paid as defined.

- If the contractor, in the judgement of the Department has engaged in corrupt or fraudulent practices in competing for or in the executing the contract.

For the purpose of this paragraph: “corrupt practice” means the offering, giving, receiving or soliciting of any thing of value to influence the action of a public official in the procurement process or in contract execution.  “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment o the Government and includes collusive practice among Tenderers (prior to or after Tender submission) designed to establish Tender prices at artificial non-competitive levels and to deprive the Government of the benefits of free and open competition.

  - Notwithstanding the above the Department may terminate the contract for convenience.

  - If the Contract is terminated, the Contractor shall stop work immediately, make the Site safe and secured leave the Site as soon as reasonably possible.

- Payment upon Termination:

  - If the Contract is terminated because of a fundamental breach of Contract by the Contractor, the Engineer-in-Charge shall issue a certificate for the value of the work done less advance payments received upon the date of the issue of the certificate, less other recoveries due in terms of the Contract, less taxes due to be deducted at source as per applicable law and less the percentage to apply to the work not completed..  If the total amount due to the Department exceeds any payment due to the Contractor the difference shall be a debt payable to the Department.

- Property:

  - All materials on the Site, Plant, Equipment, Temporary Works and Works are deemed to be the property of the Department if the Contract is terminated because of Contractor’s default.

- Release from Performance:

  - If the Contract is frustrated by the outbreak of war or by any other event entirely outside the control of either the Department or the Contractor the Engineer-in-Charge shall certify that the contract has been frustrated.  The Contractor shall make the site safe and stop work as quickly as possible after receiving this certificate and shall be paid for all works carried out before receiving it and for any work carried out after wards to which commitment was made.

F.    Special Conditions

- Water Supply:

The Contractor has to make his own arrangements for water required for the work and to the colonies and work sites, which are to be established by the Contractor.

- Electrical Power:

The Contractors will have to make their own arrangements for drawing electric power from the nearest power line after obtaining permission from the Andhra Pradesh State Electricity Board at his own cost.  In case of failure of electricity, the Contractor has to make alternative arrangements for supply of electricity by Diesel Generator sets of suitable capacity at place of work.  If the supply is arranged by the Department, necessary Tariff rates shall have to be paid based on the prevailing rates.

The contractor will pay the bills of Electricity Board for the cost of power consumed by him.

The contractor shall satisfy all the conditions and rules required as per Indian Electricity Act 1910 and under rule –45(I) of the Indian Electricity Rules, 1956 as amended from time to time and other pertinent rules.

The power shall be used for bonafide Departmental works only.

  - Electric Power for Domestic Supply:

a)	The contractor has to make his own arrangements for the supply of electric power for domestic purposes and the charges for this purpose have to be paid by him at the rates as fixed by the Andhra Pradesh State Electricity Board from time to time.

b)	The contractor will have to make his own arrangements to lay and maintain the necessary distribution lines and wiring for the camp at his own cost.  The layout and the methods of laying the lines and wiring shall have the prior approval of the Engineer-in-Charge.  All camp area shall be properly electrified.  All lines, streets, approaches for the camp etc., shall be sufficiently lighted for the safety of staff and labour of the contractor, at the cost of the Contractor and it will be subject to the approval of the Engineer-in-Charge.

- Land:

  - Land for Contractor’s use:

The contractor will be permitted to use Government land for execution of work.  The contractor shall have to make his own arrangements for acquiring and clearing the site, leveling, providing drainage and other facilities for labour staff colonies, site office, work-shop or stores and for related activities.  The Contractor shall apply to the Department within a reasonable time after the award of the contract and atleast 30 days in advance of its use, the details of land required by him for the work at site and the land required for his camp and should any private land which has not been acquired, be required by the contractor for his use.  The same may be acquired by the contractor at his own cost by private negotiations and no claim shall be admissible to him on this account.

The Engineer-in-Charge reserves the right to refuse permission for use of any Government land for which no claim or compensation shall be admissible to the contractor.  The contractor shall, however, not be required to pay cost or any rent for the Government land given to him.

  - Surrender of occupied land

a)	The Government land as here in before mentioned shall be surrendered to the Engineer-in-Charge within seven days, after issue of completion certificate.  Also no land shall be held by the contractor longer than the Engineer-in-Charge shall deem necessary and the contractor shall on the receipt of due notice from the Engineer-in-Charge, vacate and surrender the land which the Engineer-in-Charge may certify as no longer required by the Contractor for the purpose of the work.

b)	The contractor shall make good to the satisfaction of the Engineer-in-Charge any damage to areas, which he has to return or to other property or land handed over to him for purpose of this work. Temporary structures may be erected by the contractor for storage sheds, offices, residences etc., for non-commercial use, with the permission of the Registrar on the land handed over to him at his own cost.  At the completion of the work these structures shall be dismantled site cleared and handed over to the Registrar.  The land required for providing amenities will be given free of cost from University lands if available otherwise the contractor shall have to make his own arrangements.

  - Contractor not to dispose off Spoil etc.,

The contractor shall not dispose off or remove except for the purpose of fulfillment of this contract, sand, stone, clay ballast, earth, trees and shrubs or other materials obtained in the excavation made or lying on the site of the work, and all such materials and produce shall remain property of the University.  The Department may upon request from the contractor, or if so stipulated in the conditions of the contract allow the contractor to use any of the above materials for the works either free of cost or after payment as may be specifically mentioned or considered necessary during the execution of the work.

- Roads:

In addition to existing public roads and roads Constructed by Government, if any, in work area all additional approach roads inside work area and camp required by the Contractor shall be constructed and maintained by him at his own cost.  The layout design, construction and maintenance etc. of the roads shall be subject to the approval of the Engineer-in-Charge.  The contractor shall permit the use of these roads by the Government free of charge.

It is possible that work at, or in the vicinity of the work site will be performed by the Government or by other contractors engaged in work for the Government during the contract period.  The contractor shall without charge permit the Government and such other contractor and other workmen to use the access facilities including roads and other facilities, constructed and acquired by the contractor for use in the performance of the works.

The contractor’s heavy construction traffic or tracked equipment shall not traverse any public roads or bridges unless the contractor has made arrangement with the authority concerned.  In case contractor’s heavy construction traffic or tracked equipment is not allowed to traverse any public roads or bridges and the contractor is required to make some alternative arrangements, no claim on this account shall be entertained.

The contractor is cautioned to take necessary precautions in transportation of construction materials to avoid accidents.

- Payment for Camp Construction

No payment will be made to the contractor for construction, operation and maintenance of camp and other camp facilities and the entire cost of such work shall be deemed to have been included in the tendered rate for the various items of work in the schedule of quantities and bids.

- Explosive And Fuel Storage Tanks

No explosive shall be stored within ½ (half) KM of the limit of the camp sites.  The storage of gasoline and other fuel oils or of Butane, Propane and other liquefied petroleum gases, shall confirm to the regulations of Andhra Pradesh State Government and Government of India.  The tanks, above ground and having capacity in excess of 2000 liters, shall not be located within the camp area, nor within 200m, of any building.

- Labour:

The contractor shall, make his own arrangements for the engagement of all staff and labour, local or other, and for their payment, housing, feeding and transport.

Labour importation and amenities to labour and contractor’s staff shall be to the contractor’s account.  His quoted percentage shall include the expenditure towards importation of labour amenities to labour and staff;

The contractor shall, if required by the Engineer-in-Charge, deliver to the Engineer-in-Charge a written in detail, is such form and at such intervals as the Engineer-in-Charge may prescribe, showing the staff and the numbers of the several classes of labour from time to time employed by the contractor on the Site and such information respecting Contractor’s Equipment as the Engineer-in-Charge may require.

  - Transportation of Labour:

- The contractor shall make his own arrangement for the daily transportation of the labour and staff from labour camps colonies to the work spot and no labour or staff of the contractor shall stay at the work spot.  No extra payment will be made to the contractor for the above transportation of the labour and his quoted percentage to the work shall include the transportation charges of labour from colonies to work spot and back.

- The contractor will at all times duly observe the provisions of employment of children Act XXVI of 1938 and any enactment or modification of the same and will not employ or permit any person to do any work for the purpose under the provisions of this agreement in contravention of said Act.  The contractor here by agrees to indemnify the department from and against all claims, penalties which may be suffered by the department or any person employed by the department by any default on the part of the contractor in the observance and performance of the provisions of the employment of children Act. XXVI of 1938 or any enactment or modification of the same.

As per Govt. memo No.721/Gr.(1)/81-35, dt:17.11.87. The contractor shall obtain the insurance at his own cost to cover the risk on the works to labour engaged by him during period of execution against fire and other usual risks and produce the same to the Registrar concerned before commencement of work.

- Safety Measures:

- The contractor shall take necessary precautions for safety of the workers and preserving their health while working in such jobs, which require special protection and precautions.  The following are some of the measures listed but they are not exhaustive and contractor shall add to and augment these precautions on his own initiative where necessary and shall comply with directions issued by the Registrar or on his behalf from time to time and at all times.

- Providing protective foot wear to workers situations like mixing and placing of mortar or concrete sand in quarries and places where the work is done under much wet conditions.

- Providing protective head wear to workers at places like under ground excavations to protect them against rock falls.

- Providing masks to workers at granulates or at other locations where too much fine dust is floating about and sprinkling water at frequent intervals by water hoses on all stone crushing area and storage bins abate to dust.

- Getting the workers in such jobs periodically examined for chest trouble due to too much breathing in to fine dust.

- Taking such normal precautions like fencing and lightening in excavation of trenches, not allowing rolls and metal parts of useless timber spread around, making danger areas for blasting providing whistles etc.

- Supply work men with proper belts, ropes etc., when working in precarious slopes etc.

- Avoiding named electrical wire etc., as they would electrocute the works.

- Taking necessary steps towards training the workers concerned on the machinery before they are allowed to handle them independently and taking all necessary precautions in around the areas where machines hoists and similar units are working.

- Fair Wage Clause:

- The contractor shall pay not less than fair wages to labourers engaged by him on the work.

- “Fair” wages means wages whether for time of piecework notified by the Government from time in the area in which the work is situated.

- The contractor shall not with-standing the revisions of any contract to the contrary cause to be paid to the labour, in directly engaged on the work including any labour engaged by the sub-contractor in connection with the said work, as if the laborers had been directly employed by him.

- In respect of labour directly or indirectly employed in the works for the purpose of the contractors part of the agreement the contractor shall comply with the rules and regulations on the maintenance of suitable records prescribed for this purpose from time to time by the Government. He shall maintain his accounts and vouchers on the payment of wages to the laborers to the satisfaction of the Registrar.

- The Registrar shall have the right to call for such record as required to satisfy himself on the payment of fair wages to the laborers and shall have the right to deduct from the contract amount a suitable amount for making good the loss suffered by the worker or workers by reason of the “fair wages” clause to the workers.

- The contractor shall be primarily liable for all payments to be made and for the observance of the regulations framed by the Govt. from time to time without prejudice to his right to claim indemnity from his sub-contractors.

- As per contract labour (Regulation and abolition) Act. 1970 the contractor has to produce the license obtained from the licensing officers of the labour department along with the tender or at the time of agreement.

- Any violation of the conditions above shall be deemed to be a breach of his contract.

- Equal wages are to be paid for both men and women if the nature of work is same and similar.

- The contractor shall arrange for the recruitment of skilled and unskilled labour local and imported to the extent necessary to complete the work within the agreed period as directed by the Registrar in writing.

- Indemnity Bond:

Name of work: 	Renovation of PC Toilets at NALSAR University of Law, Shameerpet, Hyderabad

I __________________________________contractor S/o.________________ aged ____________________________ Resident of ______________________ do hereby bind myself to pay all the claims may come (a) under Workmen’s Compensation Act. 1933 with any statutory modification there of and rules there under or otherwise for or in respect of any damage or compensation payable in connection with any accident or injury sustained (b) under Minimum wages Act 1948 (c) under payment of wages Act.1936 (d) under the Contractor labour (Regulation and Abolition) Act. 1970 by workmen engaged for the performance of the business relating to the above contract ie., Failing such payment of claims of workmen engaged in the above work, I abide in accepting for the recovery of such claims, effected from any of my assets with the departments.

- Compliance With Labour Regulations:

During continuance of the contract, the contractor and his sub contractors shall abide at all times by all existing labour enactments and rules made there under, regulations, notifications and bye laws of the State or Central Government or local authority and any other labour law (including rules), regulations, bye laws that may be passed or notifications that may be issued under any labour law in future either by the State or the Central University or the local authority and also applicable labour regulations, health and sanitary arrangements for workmen, insurance and other benefits.  Salient features of some of the major labour laws that are applicable to construction industry are given below.  The contractor shall keep the Department indemnified in case any action is taken against Department by the competent authority on account of contravention of any of the provisions of any Act or rules made there under, regulations or notifications including amendments. If the Department is caused to pay or reimburse, such amounts as may be necessary to cause or observe, or for non-observance of the provision stipulated in the notifications/bye laws/Acts/Rules/regulations including amendments, if any, on the part of the contractor, the Engineer-in-charge /Department shall have the right to deduct any money due to the contractor including his amount of performance security.  The Department/Engineer-in-Charge shall also have right to recover from the contractor any sum required or estimated to be required for making good the loss or damage suffered by the Department.

The employees of the Contractor and the Sub-contractor in no case shall be treated as the Department of the Department at any point of time.

- Salient features of some major labour laws applicable to establishment engaged in buildings and other construction work:

(a)	Workmen compensation Act 1923: The Act provides for compensation in case if injury by accident arising out of and during the course of employment.

(b)	Payment of Gratuity Act 1972: Gratuity is payable to an employee under the Act on satisfaction of certain conditions on separation if any employee has completed 5 years service or more, or on death, the rate of 15 days wages for every completed year of service. The Act is applicable to all establishments, employing 10 or more employees.

(c)	Employees P.F. and Miscellaneous provision Act 1952: The Act provides for monthly contributions by the Department plus workers @ 10% or 8.33%.  The benefits payable under the Act are:

- Pension or family pension on retirement or death, as the case may be.

- Deposit linked insurance on the death in harness of the worker.

- Payment of P.F. accumulation on retirement/death etc.,

(d)	Maternity Benefit Act 1951: The Act provides for leave and some other benefits to women employees in case of confinements or miscarriage etc.

(e)	Contract Labour (Regulation & Abolition) Act 1970: The Act provides for certain welfare measures to be provided by the contractor to contract labour and in case the Contractor fails to provide, the same are required to be provided by the Principal Department by Law.  The Principal Department is required to take certificate of Registration and the contractor is required to take license from the designated Officer.  The Act is applicable to the establishments or Contractor of Principal Department if they employ 20 or more contract labour.

(f)	Minimum wages Act 1948: The Department is supposed to pay not less than the Minimum wages fixed by appropriate University as per provisions of the Act if the employment is a scheduled employment construction of Buildings, Roads, Runways are scheduled employments.

(g)	Payment of wages Act 1936: It lays down as to by what date the wages are to be paid, when it will be paid and what deductions can be made form the wages of the workers.

(h)	Equal Remuneration Act 1979: The Act provides for payment of equal wages for work of equal nature to Male or Female workers and for not making discrimination against Female employee in the matters of transfers, training and promotions etc.

(i)	Payment of Bonus Act 1965: The Act Is applicable to all establishments employing 20 or more employees. The Act provides for payment of annual bonus subject to a minimum of 8.33% of wages and maximum of 20% of wages to employees drawing Rs. 3500/- per month or less.  The bonus to be paid to employees getting Rs.2500/- per months or above and upto Rs.3500/- per month shall be worked out by taking wages as Rs.2500/- per monthly only.  The Act does not apply to certain establishments.  The newly set-up establishments are exempted for five years in certain circumstances.  Some of the State Government have reduced the employment size from 20 to 10 for the purpose of applicability of this Act.

(j)	Industrial Disputes Act 1947: The Act lays down the machinery and procedure for resolution of Industrial disputes, in what situations a strike or lock- out becomes illegal and what are the requirements for laying off or retrenching the employees or closing down the establishment.

(k)	Industrial Employment (Standing Orders) Act 1946: It is applicable to all establishments employing 100 or more workmen (employment size reduced by some of the State and Central Government to 50).  The Act provides for laying down rules governing the conditions of employment by the Department on matters provided in the Act and get the same certified by the designated Authority.

(l)	Trade Unions Act 1926: The Act lays down the procedure for registration of trade unions of workmen and Departments.  The Trade Unions registered under the act have been given certain immunities from civil and criminal liabilities.

(m)	Child Labour (Prohibition & Regulation) Act 1986: The Act prohibits employment of children below 14 years of age in certain occupations and processes and provides for regulation of employment of children in all other occupations and processes, Employment Child Labour is prohibited in Building and Construction Industry.

(n)	Inter-State Migrant workmen’s (Regulation of Employment & Conditions of service) Act 1979: The Act applicable to an establishment, which employs 5 or more inter-state migrant workmen through an intermediary (who has recruited workmen in one state for employment in the establishment situated in another State).  The inter State migrant workmen, in an establishment to which this Act becomes applicable, are required to be provided certain facilities such  as housing, medical aid, traveling expenses from home upto the establishment and back, etc.

(o)	The Building and Other Construction workers (regulation of Employment and conditions of service) Act 1996 and the Cess Act of 1996:  All the establishments who carryon any building or other construction work and employs 10 or more workers are covered under this Act.  All such establishments are required to pay cess at the rate not exceeding 2% of the cost of construction as may be modified by the Government.  The Department of the establishment is required to provide safety measures at the Building or construction work and other welfare measures, such as Canteens, First-aid facilities, Ambulance, Housing accommodations for workers near the work place etc.  The Department to whom the Act applies has to obtain a registration certificate from the Registering Officer appointed by the Government.

(p)	Factories Act 1948: The Act lays down the procedure for approval of plans before setting up a factory, health and safety provisions, welfare provisions, working hours, annual earned leave and rendering information regarding accidents or dangerous occurrences to designated authorities.  It is applicable to premises employing 10 person or more with aid of power or 20 or more persons without the aid of power engaged in manufacturing process.

- Liabilities of the Contractor

  - Accident Relief and workmen compensation:

The contractor should make all necessary arrangements for the safety of workmen on the occurrence of the accident, which results in the injury or death of any of the workmen employed by the contractor, the contractor shall within 24 hours of the happenings of the accident and such accidents should intimate in writing to the concerned Registrar of the Department the act of such accident.  The contractor shall indemnify Government against all loss or damage sustained by the University resulting directly or indirectly from his failure to give intimation in the manner aforesaid including the penalties or fines if any payable by Govt. as a consequence of Govt. failure to give notice under workmen’s compensation Act or otherwise conform to the provisions of the said Act.  In regard to such accident.

  - In the event of an accident in respect of which compensation may become payable under the workmen’s compensation Act VIII 23 whether by the contractor, by the Government it shall be lawful for the Registrar to retain such sum of money which may in the opinion of the Registrar be sufficient to meet such liability.  The opinion of the Registrar shall be final in regard to all matters arising under this clause.

  - The contractor shall at all times indemnify the Govt. of Telangana against all claims which may be made under the workmen’s compensation act or any statutory modification thereafter or rules there under or otherwise consequent of any damage or compensation payable in consequent of any accident or injuries sustained or death of any workmen engaged in the performance of the business relating to the contractor.

- Contractor’s Staff, Representatives and Labour:

(a)	The contractor shall, at all times, maintain on the works, staff of qualified Engineers, and Supervisors of sufficient experience of similar other jobs to assure that the quality of work turned out shall be as intended in the specifications.  The contractor shall also maintain at the works, a Work Manager or sufficient status, experience and office and duly authorize him to deal with all aspects of the day-today work. All communications to any commitments by the Work Manager shall be considered as binding on the Contractor.

(b)	The Contractor shall at all times submit details of skilled and unskilled labour and equipment employed to the Engineer-in-Charge in prescribed proforma as he may require to assess and ensure the proper progress of work.

(c)	If the contractor does not employ the technical person agreed to on the work a fine of Rs.25,000/- will be imposed.  If he does not employ for 30 days, thereafter it becomes a fundamental breach of contract.

- Accommodation and food:

The contractor should arrange accommodation he needs, at his own cost.  The contractor shall make his own arrangements for supply of food grains, fuel and other provision to his staff and laborers including controlled commodities.

- Relationship :

Contractor shall have to furnish information along with tender, about the relationship he is having with any officer of the Department, Government of Telangana State of the rank Assistant Engineer and above engaged in the work and any officer of the rank of Assistant Secretary and above of the Department of Government of Telangana State.

- Protection of adjoining premises:

The contractor shall protect adjoining sites against structural, decorative and other damages that could be caused by the execution of these works and make good at his cost any such damages.

- Work during night or on Sundays and holidays:

The works can be allowed to be carried out during night, Sundays or authorised holidays in order to enable him to meet the schedule targets and the work shall require almost round the clock with prior permission obtained from the department.

- The provisions of relevant labour laws being adhered to:

- Adequate lighting, supervision and safety measures are established to the satisfaction of the Engineer-in-Charge and

- The construction programme given by the Contractor and agreed upon by the Engineer-in-Charge envisages such night working or working during Sundays or authorised holidays

- Layout of materials stacks:

The contractor shall deposit materials for the purpose of the work on such parts only of the ground as may be approved by the Engineer-in-Charge before starting work.  A detailed survey, clearly indicating position and areas where materials shall be stacked and sheds built is to be conducted by the contractor at his own cost and only after obtaining necessary approval of the plan for use of sites by the Engineer-in-Charge, the Contractor can use the sites accordingly.

- Use of blasting materials:

Procurement of blasting materials and its storage is the responsibility of the contractor.  The contractor shall engage licensed blaster for blasting operation.  The contractor is to act in accordance with Indian Explosive Act and other rules prevailing, during the execution of work.  It is the responsibility of the contractor to see, that works by other agencies in the vicinity are not hampered, in such cases if any claim is made by other agencies that should be borne by the contractor.  Carriage of blasting materials, from the magazine to the work site, is the responsibility of the contractor.

- Plant and Equipment:

  - The contractor shall have sufficient plant, equipment and labour and shall work such hours and shifts as may be necessary to maintain the progress on the work as per the approval progress schedule.  The working and shifts hours shall comply with the Govt. Regulations in force.

  - It is to expressly and clearly understood that contractor shall make his own arrangements to equip himself with all machinery and special tools and plant for the speedy and proper execution of the work and the department does not undertake responsibility towards their supply.

  - The department shall supply such of the machinery that may be available on hire basis but their supply cannot be demanded as matter of right and no delay in progress can be attributed to such non-supply of the plant by the department and the department cannot be made liable for any damage to the contractor.  The Contractor shall be responsible for safe custody of the departmental machinery supplied to him (which will be delivered to contractor at the machinery yard at site of work) and he has to make good all damages and losses if any other than fire, wear and tear to bring it to the conditions that existed at the time of issue to the contractor before handing over the same to the department. The hire charges for the machinery handed over to the contractor will be recovered at the rate prevalent at the time of supply.  The contractor will have to execute supplemental agreement with Registrar at the time of supply of the machinery.

  - The acceptance of departmental machinery on hire is optional to the contractor.

- Steel forms:

Steel forms should be used for all items involving and use of centering and shuttering shall be single plane without any dents and undulations.

- Inconvenience to public:

The contractor shall not deposit materials at any site, which will cause inconvenience to public.  The Engineer-in-Charge may direct the contractor to remove such materials or may undertake the job at the cost of the contractor.

- Conflict of interest:

Any bribe, commission, gift or advantage given, promised or offered by on behalf of contractor or his partner, agent or servant or any one on his behalf to any officer, servant, representatives, agents of Engineer-in-Charge, or any persons on their behalf, in relation to the obtaining or to execution of this, or any other contract with Engineer-in-Charge shall in addition to any criminal liability, which it may occur, subject to the cancellation of this or all other contracts and also to payment of any loss or damage resulting from any such cancellation.  Engineer-in-Charge shall then be entitled to deduct the amount, so payable from any money, otherwise due to the contractor under this or any other contract

.

- Contract documents and materials to be treated as confidential:

All documents, correspondences, decisions and orders, concerning the contract shall be considered as confidential and/or restricted in nature by the contractor and he shall not divulge or allow access to them by any unauthorized person

.

- General obligations of Contractor:

  - The contractor shall, subject to the provision of the contract and with due care and diligence, execute and maintain the works in accordance with specifications and drawings.

  - The contractor shall promptly inform the Department and the Engineer-in-Charge of any error, omission, fault and such defect in the design of or specifications for the works which are discovered when reviewing the contract documents or in the process of execution of the works.

  - If Contractor believes that a decision taken by the Engineer-in-Charge was either outside the authority given to the Engineer-in-Charge by the Contract or that the decision was wrongly taken, the decision shall be referred to the technical expert within 14 days of the notification of the Engineer-in-Charge’s decisions.

  - Pending finalisation of disputes, the contractor shall proceed with execution of work with all due diligence

.

- Security measures:

a)	Security requirements for the work shall be in accordance with the Government general requirements including provisions of this clause and the Contractor shall conform to such requirements and shall be held responsible for the actions of all his staff, employees and the staff and employees of his sub-contractors

.

b)	All contractors’ employees, representatives and sub-contractor’s employees shall wear identifications badges provided by the contractor.  Badges shall identify the contractor, showing and employee’s number and shall be worn at all times while at the site.  Individual labour will not be required to wear identification badges.

c)	All vehicles used by the contractor shall be clearly marked with contractor’s name.

d)	The contractor shall be responsible for the security of the works for the duration  of the contract and shall provide and maintain continuously adequate security personnel to fulfill these obligations.  The requirements of security measures shall include, but not limited to maintenance of order on the site, provision of all lighting, fencing, guard flagmen and all other measures necessary for the protection of the works within the colonies, camps and elsewhere on the site, all materials delivered to the site, all persons employed in connection with the works continuously throughout working and non working period including nights, Sundays and holidays for duration of the contract.

e)	Other contractors working on the site concurrently with the contractor will provide security for their own plant and materials.  However, their security provisions shall in no way relieve the contractor of his responsibilities in this respect

f)	Separate payment will not be made for provision of security services.

- Fire fighting measures:

- The contractor shall provide and maintain adequate fire fighting equipment and take adequate fire precaution measures for the safety of all personnel and temporary and permanent works and shall take action to prevent damage to destruction by fire of trees shrubs and grasses.

- Separate payment will not be made for the provision of fire prevention measures.

- Sanitation:

The contractor shall implement the sanitary and watch and ward rules and regulations for all forces employed under this contract and if the Contractor fails to enforce these rules, the Engineer-in-Charge may enforce them at the expenses of the Contractor.

- Training of personnel:

The contractor, shall, if and as directed by the Engineer-in-Charge provide free of any charge adequate facilities, for vocational training of University Officers, students, Engineers, supervisors, foremen, skilled workmen etc. not exceeding six in number at any one time on the contractor’s work.  Their salaries, allowances etc. will be borne by the Government and the training schemes will be drawn up by the Engineer-in-Charge in consultation with the contractor.

- Ecological balance:

a)	The contractor shall maintain ecological balance by preventing de-forestation, water pollution and defacing of natural landscape.  The contractor shall so conduct his construction operation as to prevent any unnecessary destruction, scarring, or defacing of the natural surrounding in the vicinity of the work.  In respect of the ecological balance, Contractor shall observe the following instructions.

i)        Where unnecessary destruction, scarring, damage or defacing may occur, as result of the operation, the same shall be repaired replanted or otherwise corrected at the contractor’s expense. The contractor shall adopt precautions when using explosives, which will prevent scattering of rocks or other debris outside the work area.  All work area including borrow areas shall be smoothened and graded in a manner to conform to the natural appearances of the landscape as directed by the Engineer-in-Charge.

ii)	All trees and shrubbery which are not specifically required to be  cleared or removed for construction purposes shall be preserved and shall be protected from any damage that may be caused by the contractor’s construction operation and equipment. The removal of trees and shrubs will be permitted only after prior approval by the Engineer-in-Charge.  Special care shall be exercised where trees or shrubs are exposed to injuries by construction equipment, blasting, excavating, dumping, chemical damage or other operation and the contractor shall adequately protect such trees by use of protective barriers or other methods approval by the Engineer-in-Charge.  Trees shall not be used for anchorages.  The contractor shall be responsible for injuries to trees and shrubs caused by his operations.  The term “injury” shall include, without limitation bruising, scarring, tearing and breaking of roots, trunks or branches.  All injured trees and shrubs be restored as nearly as practicable without delay to their original condition at the contractor’s expense.

(iii)	The contractor’s construction activities shall be performed by methods that will present entrance or accidental spillage of solid matter contaminants, debris and other objectionable pollutants and wastage into river.  Such pollutant and waste include earth and earth products, garbage, cement concrete, sewage effluent, industrial wastes, radio-active substances, mercury, oil and other petroleum products, aggregate processing, mineral salts and thermal pollution.  Pollutants and wastes shall be disposed off in a manner and at sites approved by the Engineer-in-Charge.

(iv)	In conduct of construction activities and operation of equipments the contractor shall utilize such practicable methods and devices as are reasonably available to control, prevent and otherwise minimize the air pollution.  The excessive omission of dust in to the atmosphere will not be permitted during the manufacture, handling and storage of concrete aggregates and the contractor shall use such methods and equipment as a necessary for collection and disposal or prevention of dust during these operation.  The contractor’s methods of storing and handling cement shall also include means of eliminating atmospheric discharges of dust, equipment and vehicles that give objectionable omission of exhaust gases shall not be operated.  Burning of materials resulting from clearing of trees, bushes, combustible construction materials and rubbish may be permitted only when atmospheric conditions for burning are considered favorable.

- Separate payment will not be made for complying with the provisions of this clause and all cost shall be deemed to have been included in the unit rates and prices included in the contract if any provision is not complied with within a reasonable time even after issue of a notice in this respect, the necessary operations would be carried out by the Engineer-in-Charge at the cost of the Contractor, Orders of the Engineer-in-Charge in this respect would be final and binding on the contractor.

,,

- Preservation of existing vegetation:

a)	The contractor will preserve and protect all existing vegetation such as trees, on or adjacent to the site which do not unreasonably interfere with the construction as may be determined by the Engineer-in-Charge.  The contractor will be held responsible for all unauthorized cutting or damage of trees, including damage due to careless operation of equipment, stockpiling of materials or trekking of grass areas by equipment.  Care shall be taken by the Contractor in felling tress authorised for removal to avoid any unnecessary damages to vegetation and tress that are to remain in place and to structures under construction or in existence and to workmen.

b)	All the produce from such cutting of trees by the contractor shall remain the property of University and shall be properly stacked at site, approved by the Engineer-in-Charge.  No payment whatsoever, shall be made for such cutting and its stacking by the Contractor.  If any produce from such cutting is not handed over to the University by the contractor, he shall be charged for the same at the rates to be decided by the Engineer-in-Charge.  The recovery of this amount shall be made in full from the intermediate bill that follows.

- The contractor shall also make arrangements of fuel deposits for supply of required fuel for the labourer to be employed for cooking purpose at his own cost in order to prevent destruction of vegetation growth in the surrounding area of the work site.

    - Possession prior to completion:

The Engineer-in-charge shall have the right to take possession of or use any completed part of work or works or any part there of under construction either temporarily or permanently.  Such possession or use shall not be deemed as an acceptance of any work either completed or not completed in accordance with the contract with in the interest of Clause 28 of APSS except where expressly otherwise specified by the Engineer-in-charge.

    - Payment upon termination:

If the contract is terminated because of a fundamental breach of contract by the contractor, the Engineer-in-Charge shall issue a certificate for the value of the work done less advance payment received upon the date of the issue of the certificate and less the percentage to apply to the work not completed as indicated in the contract data.  Additional liquidated damages shall not apply.  If the total amount due to the Department exceeds any payment due to the contractor the difference shall be a debt payable to the Department.  In case of default for payment within 28 days from the date of issue of notice to the above effect, the contractor shall be liable to pay interest at 12% per annum for the period of delay.

    - Access to the contractor’s books:

Whenever it is considered necessary by the Engineer-in-Charge to ascertain the actual cost of execution of any particular extra item of work or supply of the plant or material on which advance is to be made or of extra items or claims, he shall direct the contractor to produce the relevant documents such as payrolls, records of personnel, invoices of materials and any or all data relevant to the item or necessary to determine its cost etc. and the contractor shall when so required furnish all information pertaining to the aforesaid items in the mode and manner that may be specified by the Engineer-in-Charge.

    - Drawing to be kept at site:

One copy of the drawings furnished to the contractor shall be kept by the contractor on the site and the same shall at all reasonable time be available for inspection and use by the Engineer-in-Charge and the Engineer-in-Charge’s representative and by any other persons authorised by the Engineer-in-Charge in writing.

    - b.i.s. [i.s.i.] books and apss to be kept at site:

A complete set of Indian Standard specification referred to in “Technical Specifications” and A.P.S.S. shall be kept at site for reference.

    - Site Order Book:

An order book shall be kept at the site of the work.  As far as possible, all orders regarding the work are to be entered in this book.  All entries shall be signed and dated by the Department Officer in direct charge of the work and by the contractor or by his representative. In important cases, the Registrar will countersign the entries, which have been made.  The order book shall not be removed from the work, except with the written permission of the Registrar.

    - Variations by way of modification, omissions or additions:

For all modifications, omissions from or additions to the drawings and specifications, the Registrar will issue revised plans, or written instructions, or both and no modification, omission or addition shall be made unless so authorised and directed by the Registrar in writing.

The Registrar shall have the privilege of ordering modifications, omission or additions at any time before the completion of the work and such orders shall not operate to annual those portions of the specifications with which said changes do not conflict.

Engineer-in-Charge’s Decision:

It shall be accepted as in separable part of the contract that in matters regarding materials, workmanship, removal of improper work, interpretation of the contract drawings and contract specification, mode of the procedure and the carrying out o the work, the decision of the Engineer-in-Charge, which shall be given in writing, shall be binding on the contractor.

    - Care and diversion of river/stream:

The contractor shall submit details regarding the diversion and care of river or stream during construction of the work along with a separate print-out of the time table showing earliest and latest start and finish dates of various activities.  He should submit a detailed layout plan with drawings for the diversion and care of river during construction of work.  The above arrangements shall be at contractor’s cost.

    - Income tax

a)	During the currency of the contract deduction of income tax at 2.24% shall be made from the gross value of each bill of the contract, the contract value of which is in excess of Rs.10,000/- for deduction of tax at rates lower than 2.24% procedure stipulated under section 194-C(4) of Income Tax Act, 1961 shall be followed.

b)	Income Tax clearance certificate should be furnished before the payment of final bill.

- The contractor’s staff, personnel and labour will be liable to pay personnel income taxes in respect of their salaries and wages as are chargeable under the laws and regulations for the time being in force, and the contractor shall perform such duties in regard to such deductions thereof as may be imposed on him by such laws and regulations.

    - Seigniorage charges

  - Seigniorage charges will be recovered as per rules from the work bills of the contract or based on   the theoretical requirement materials at the following rates.

| S. No. | Material | Seigniorage |
| --- | --- | --- |
| 1. 2. 3. 4. 5. 6. | Sand Metal R.R. stone for masonry Revetment stone. C.R.S stone Gravel./ Soil borrowed | Rs. 40.00 / cum. Rs.50.00 / cum. Rs.50.00 / cum. Rs.50.00 / cum. Rs.50.00 / cum. Rs.22.00 / cum. |

  - Deleted.

  - An amount of 0.10% of the gross bills will be deducted from contractors as their contribution to the National Academy of Construction, Hyderabad and 0.15% towards Hon’ble Chief Minister’s Relief fund as per G.O.Ms No: 159, dt.30.10.2004.

- Value Added Tax (VAT):

  - Value Added Tax during the currency of the contract deduction towards Andhra Pradesh Value Added Tax under section AP VAT ACT 2005 according to which tax @ 5% or as per Government orders from time to time has to be deducted at source, while making payments to the contractor.

  - The contractor should produce a valid Value Added Tax Clearance Certificate before the payment of the final bill, otherwise payment to the contractor will be withheld.

  - Deleted.

  - Supply of construction materials:

i)	The contractor has to make his own arrangements for procurements, supply and use of construction materials.

ii)	All materials so procured should confirm to the relevant specifications indicated in the bidding documents.

iii)	The contractor shall follow all regulations of the Department/ Government of India in respect of import licenses etc., of the procurement of the materials is through imports and he shall be responsible for the payment of applicable duties and taxes, port clearances, inland transportation etc.

iv)	The contractor shall make his own arrangements for adequate storage of the materials.

v) 	Cement:

The Contractor has to make his own arrangements for the procurement of cement of required specifications required for works subjects to the follows:

- The Contractor shall procure bulk cement required for the works, only from reputed cement factories (Main producers) acceptable to the Registrar.  The Contractor shall be required to furnish to the Registrar bills of payment and test certificates issued by the manufacturers to authenticate procurement of quality cement from the approved cement factory.  The Contractor shall transport it in pressurized cement haulers.  The haulers shall have to collect duplicate gate pass from the factory for the quantity of cement received by him, for each trip of cement haulers.  One copy of gate pass shall be handed over to the Registrar.  The Contractor shall make own arrangements for adequate storage of cement.

- The Contractor shall procure cement in standard packing (50Kg per bag) from the authorised manufacturers.  The Contractor shall make necessary arrangement at his own cost to the satisfaction of Registrar for actual weighment of random sample from the available stock and shall confirm with the specification laid down by the Bureau of Indian Standards or other standard institutions as the case may be.  Cement shall be get tested for all the tests as directed by the Registrar at least once in a month in advance before the use of cement bags brought and kept it at site godown.  Cement bags required for testing shall be supplied by the Contractor free of cost.

- The Contractor should store the cement of 60 days requirement at least one month in advance to ensure the quality of cement so brought to site and shall not remove the same without the written permission of the Registrar.

The Contractor shall forthwith remove from the works area any cement that the

Registrar may disallow for use, on account of failure to meet with required

Quality and standard.

- The Contractor will have to construct sheds for storing cement having capacity not less than the cement required for 90 days use at appropriate locations at the work site. The Registrar or the representatives shall have free access to such stores at all times.

- The Contractors shall further at all times satisfy the Registrar on demand, by production of records and books or by submission of returns and other proofs as directed that the cement is being used as tests and approved by the Registrar for the purpose and the Contractor shall at all times, keep his records upto date to enable the Registrar to apply such checks as he may desire.

- Cement which has been unduly long in storage with the Contractor or alternatively has deteriorated has due to inadequate storage and thus become unfit for use on the work shall be rejected by the department and no claims will be entertained.  The Contractor shall forthwith remove from the work area, any cement the Registrar may disallow for use on work and replace it by cement complying with the relevant Indian standards.

vi)  STEEL:

The Contractors shall procure mild steel (M.S.) reinforcement bars, High yield strength deformed bars (HYSD) bars, rods and structural steel etc., required for the works, only from the main or secondary producers manufacturing steel to the prescribed specification of Bureau of Indian Standards or equivalent and licensed to affix ISI or their equivalent certifications marks and acceptable to the Registrar.  Necessary ISI test certificates are to be produced to Registrar before use on works.  The original bills of procurement should be submitted to the Registrar for making payment of the item.

The Diameter and weight of steel should be as follows:

| S.No. | Diameter of rod | Sectional weight in Kg/RM both for plain and HYSD steel |
| --- | --- | --- |
| 1 | 6MM | 0.22 |
| 2 | 8MM | 0.39 |
| 3 | 10MM | 0.62 |
| 4 | 12MM | 0.89 |
| 5 | 14MM | 1.21 |
| 6 | 16MM | 1.58 |
| 7 | 18MM | 2.00 |
| 8 | 20MM | 2.47 |
| 9 | 22MM | 2.98 |
| 10 | 25MM | 3.85 |
| 11 | 28MM | 4.83 |
| 12 | 32MM | 6.31 |
| 13 | 33MM | 6.94 |
| 14 | 36MM | 7.99 |
| 15 | 40MM | 9.86 |
| 16 | 42MM | 10.94 |

NOTE: If any rods other than those diameters specified above are procured the weights shall be as per standard steel tables.

[Any other special conditions applicable to the work put to Tender.]

A.TECHNICAL SPECIFICATIONS-CIVIL WORKS

1.0	PREAMBLE

The technical specifications for various items of work contained here in shall be read in conjunction with the specifications mentioned for each item of work in bill of quantities part-I (Schedule – A) and also plans and drawings in part III.

2.0 	General Technical Specifications

2.1 	The following are the general technical specifications to be adopted for construction of buildings.  Each item of work shall be executed according to the relevant standard specification number as described in the “Andhra Pradesh Standard Specification” (APSS) and Indian Standard (I.S) Specifications, including Water supply, Sanitary and Electrical Installations. In the absence of any definite provisions on any particular item of work in the aforesaid specifications in A.P.S.S., reference may be made to the latest codes and specifications of Indian Standards or Indian Roads congress (IRC in case of Roads). Where even these are silent, the  construction  and  completion  of  works shall conform to sound engineering practice as  approved  by  Engineer-in-charge and in case of dispute  arising  out of the  interpretation of the above, the decision of Consultant shall be final and binding on the contractor.

3.0	GENERAL INSTRUCTIONS

3.1 	Drawings, Instructions, Measurements

All works shall be done according to the detailed drawings and specifications.  Figured dimensions shall be followed.  Measurement shall be taken of the actual work done but shall not exceed those marked on the drawings for payments.

3.2 	Site Clearance and Demolition

The site shall be cleared of all trees, stumps, roots, brush wood, bushes and other objectionable materials.  Useful and saleable material shall be the property of the Owner . and shall be stacked properly as directed by the Engineer-in-charge.  The areas to be covered with embankments shall be stripped of top soil to required depths to expose acceptable founding strata.  Top soil unsuitable for use in embankment construction and other fills shall be disposed off as directed.  All combustible materials shall be stacked and burnt in locations sufficiently remote to eliminate all danger of fire hazards.  All old concrete, brick works and drains which interfere with construction works shall be dismantled with the approval of the Engineer-in-charge duly taking all necessary precautions prescribed in safety specification.  Top soil which is suitable for use in construction work shall be stockpiled for later use.  Other objectionable materials such as trash, debris, stones, brick, broken concrete, scrap metal etc., shall be disposed off as directed by the Engineer.  Payment for cutting and removal of trees, stumps, dismantling existing structures and stripping shall be regulated by the description in the Schedule of Items or Section 2 of A.P.S.S.

3.3	Precision: The works shall be set to the highest precision of dimensions, levels, grades and lines as per designs and drawings using precise scientific equipments and measuring instruments.

3.4	Quality of work:

To be the best quality: All the materials, workmanship, articles, Equipment, tools and plants should be of high and acceptable quality conforming to the standard specifications.

All materials shall be new and of the kinds and qualities described in the contract.

3.5	Testing of works and materials

After the award of contract, the Contractor shall furnish for the approval of the Consultant, with such promptness as to cause no delay in his work or in that of any other sub-contractor, samples and shop drawings required by the specifications or by the Consultant samples shall be delivered as directed by the Consultant.

The Consultant shall check and approve such samples with reasonable promptness only for conformity with the design concept of the project and for compliance with the information in the Contract documents. The work shall be in accordance with the approved samples.

3.5.1	All materials used and works done shall be subject to approval of the Engineer-in-charge.

3.5.2	The contractor shall arrange sufficiently in advance to test materials and portions of works in order to prove their soundness and efficiency if required, including samples and supporting test results from the approved laboratory and other documentary evidence from the manufacturer, wherever applicable, and indicate the types of materials and their respective sources.  The delivery of materials at site shall commence only after the approval of the quality, grading and sources of the materials by the Engineer-in-charge.

3.5.3	The quality of all materials approved shall be maintained throughout the period of construction and periodical tests shall be carried out to ensure that it is maintained. The contractor shall conduct tests at work site/approved laboratories and shall maintain test reports at site for cement, coarse aggregates, fine aggregates, water, steel, bricks and concrete at the following frequency :-

| Sl. No. | Description of material | Frequency of test | Allowable limits |
| --- | --- | --- | --- |
| 1. | Cement : (IS : 8112-1989) a) Fineness | One for each source of supply in a month | Shall not be less than 3500 sqcm / gm |
|  | b) Setting time | -do- | Initial setting time shall not be less than 30 minutes and final setting time shall not be more than 60 minutes. |
|  | c) Soundness | -do- | Expansion (unaerated) shall be not more than 10mm by “Le Chatelier” method; if it fails, expansion of aerated sample shall be not more than 5 mm. |
|  | d) Compressive strength of cement mortar cubes 1:3 (1 cement :3 standard sand) by mass | -do- | Compressive strength for 7 days shall not be less than 330 kg/cm2 and compressive strength for 28 days shall not be less than 430 kg/cm2 |
| 2. | Coarse aggregate : (IS383-1970) a) Gradation b) Aggregate impact value | One test for 15 Cum or at least on the day of concrete if concrete quantity is less than 15 cum. Once for each source of supply or when ever change in texture is noticed. | 40mm Metal : a)Sieve analysis : -63mm – 100% 40mm-85 to 100% 20mm-0-2-%; 10mm-0.5% b) Flakiness Index : shall be less than 30% by weight 20mm Metal : a)Sieve analysis : -Limits : 40mm – 100%; 20mm-95 to 100%; 10mm-25 to 55%; 4.75-0 to 10% b) Flakiness Index : less than 25% c) Aggregate impact value: 20-40(IS 2386-1963) |
| 3. | FINE AGGREGATE (IS383 –m1970) a) Gradation for concrete | One test for every 15 cum. | Fineness modules : Fine sand limit 2.2 to 2.6 |
|  | b) Gradation for masonry | At least once on the day of work | Medium sand limit 2.6 to 2.9 |
|  | c) Gradation for finishing | -do- | Coarse sand limit 2.9 to 3.2 |
|  | d) Bulkage | Three for each day of work i.e. morning noon and evening | b) Silt Content : shall be less than 4% by weight |
|  | e) Silt content | At least once on the day of work |  |
| 4. | WATER : Chemical test | One test for each source | The water quantity shall be as per clause 5.4 of ISI 456-2000. The PH value of water shall not be less than 6. |
| 5. | STEEL : (F2415 (IS1786-1985)) a) 0.2% proof stress | One for each source of supply and once in six months for fresh supply | 4150 kg/cm2 (Minimum) |
|  | b) Elongation | -do- | Percentage of elongation 14.5% minimum |
|  | c) Tensile strength | -do- | Ultimate tensile strength 4900 kg/cm2 (Minimum) |
| 6. | BRICKS : (IS:1077-1976) a) Compressive strength | One for each source of supply and once in two months when change in texture is noticed | Shall not be less than 40 Kg/cm2 |
|  | b) Water absorption | -do- | Shall not be greater than 20% by weight |
| 7. | CONCRETE : (IS456:2000) a) Cube strength | Frequency of testing as per clause 15.2 of IS 456-2000 for example 6 cube specimens, 3 each for 7 days & 28 days strength for every 15 cum. Cube shall be prepared, cured and tested in accordance with the requirement of IS 516. | a) Compressive strength (7 days) M15-100 Kg/cm2 (Minimum) M20-135 KG.cm2 (Minimum) b) Compressive strength (28 days) M15-150 Kg/cm2 (Minimum) M20-200 Kg/cm2 (Minimum) |
|  | b) Slump | Thrice in a day of concrete in morning, noon and evening | a) Foundation footing – 10mm to 25mm b) Column beams and slabs – 25mm to 40mm (with normal reinforcement) c) Beams, slabs – 40mm to 50mm (with congested reinforcement) |

A Register of record of material testing and Register of daily events showing materials received, labour engaged, out turn of work etc. shall be maintained at site and shall be signed by the contractor or his authorized representative and the Engineer

3.6	Rejection of Materials/works

3.6.1	Any material brought to site which in the opinion of the Engineer-in-charge is  defective,  sub-standard, damaged, contaminated, deteriorated or does not comply with the requirement of the specification shall be rejected. The contractor shall remove from site such materials within  4 hours of notice from site. The consultant in his absolute discretion may also order  for material tests and ask for removal of any defective material which shall be binding on the contractor.

3.6.2	If the work or portion of the work which in the opinion of the Engineer-in-charge is found to be defective or unsound, the contractor shall pull it down and  re-execute the same work at his own cost.

3.7	Measurement Materials

For the Controlled Concrete where site mixing is permitted shall be with concrete mixtures fitted with weigh batching scale. Materials shall be weighed and batched in mechanical weigh batchers as per the specified proportions of the approved design mix.

Materials requiring Volumetric mixing, wherever permitted, should be measured separately in boxes of appropriate size before being mixed in the specified proportions.

3.8	Storage of Materials

3.8.1	Adequate safe, dry storage shall be provided for all materials particularly cement.

3.9	Codes

3.9.1	Unless mentioned otherwise, current versions of all codes, specifications and standards issued by the Indian Standards Institution and Indian Roads Congress shall be fully applicable to these specifications. In the absence of appropriate publications by ISI or IRC, adoptable specification of the International Organization for Standardization shall apply.

3.9.2	In case of any conflict in meaning between the specifications mentioned hear in and those of ISI or IRC, the provisions of these specifications and their interpretation by consultant shall prevail.

3.9.3	The following codes shall be applicable for the purpose.  However the latest revision of these codes shall only be used.

LIST OF SPECIFICATIONS FOR THE VARIOUS ITEMS OF WORKS SUPPLEMENTING THOSE DESCRIBED IN SCHEDULE ‘A’ BY S.S. NUMBERS

GENERAL SPECIFICATIONS

| Sl.No. | Short title/ Description | IS.No. and as amended from time to time |
| --- | --- | --- |
| A) LIST OF INDIAN STANDARDS |
| I. | CEMENT |  |
|  | 1 | Specifications for 43 Grade ordinary Portland cement | IS 8112:1989 |
|  | 2 | Methods of physical tests for hydraulic comments | IS 4031 (part 1 to 15) :1988 |
|  | 3 | 53 Grade cement | IS 12269:1989 |
| II. | AGGREGATES |  |
|  | 1 | Specifications for Coarse and Fine aggregates from Natural resources for concrete | IS 383:1970 |
|  | 2 | Specification for Sand for Masonry | IS 2116:1980 |
|  | 3 | Methods of tests for aggregates for concrete. Part-1 Particle seize and shape | IS 2386:1963 (Part I to IV) |
|  |  | Schedule - B Estimation of deleterious materials & Organic impurities |  |
|  |  | Part-III – Soundness |  |
|  | 4 | Specification for test sieves. Part-I Wire cloth test sieves | IS 460:1978 (Part-I) |
| III. | BRICKS |  |
|  | 1 | Specifications for Common burnt clay building bricks | IS 1077:1992 |
|  | 2 | Methods of test for burnt clay building bricks | IS 3495:1992 (Part I to IV) |
|  | 3 | Pulverized Fuel Ash-Lime Bricks - Specification | IS 12894:2002 |
|  | 4 | Specification for concrete masonry units Part 3 Autoclaved cellular Aerated concrete blocks | IS 2185:1984 (Part-III) |
| IV | BUILDING STONES: |
|  | 1 | Method of Tests for determination of strength properties of natural building stones ( compressive strength, Transverse strength, Tensile Strength, Shear Strength. | IS 1121 (Part –1 to Part 4): 1974 |
|  | 2 | Schedule of properties and availability of stones for construction purposes | IS 7779:1975 (Part 1 to Part 5) |
|  | 3 | Quarrying stones for construction purposes, recommended practice | IS 8381:1977 |
|  | 4 | Stone Masonry: Specifications for dressing natural building stones | IS 1129:1972 (Part-IV) |
| V. | STEEL |  |  |
|  | 1 | Specification of Mild steel and medium tensile steel bars and hard drawn steel wires for concrete reinforcement. Part-I Mild Steel & Medium tensile steel bars | IS 432:1982 (Part I & II) |
|  | 2 | Specifications for Cold-worked steel, High strength deformed steel bars and wires for concrete reinforcement. | IS 1786:1985 |
|  | 3 | Specification for steel for General structural purposes | IS 2062:1999 |
|  | 4 | Specification for structural steel (Standard quality) | IS 226:1975 |
|  | 5 | Specification for steel tubes for structural purposes | IS 1161:1998 |
|  | 6 | Hand Drawn Wire | IS 432:1953 |
| VI | CERAMIC TILES | IS 13712:2006 |
| VII | STACKING AND STORAGE OF MATERIALS |  |
|  | 1 | Recommendation of stacking and storage of construction materials and components at site | IS 4082:1996 |
| VIII | MASONRY |  |
|  | 1 | Brick Masonry | IS 2212:1962 |
|  | 2 | Code of practice for construction of Stone Masonry Part-1 (Rubble stone masonry) | IS 1597:1992 |
|  | 3 | Code of practice for permeability test for masonry (during and after construction) | IS 11216:1985 |
|  | 4 | Code of practice for brick work | IS 2212:1991 |
|  | 5 | Construction of hallow and solid concrete block masonry | IS 2572:2005 |
|  | 6 | Code of practice for construction of autoclaved cellular concrete block masonry | IS 6041:1985 |
| IX | CONCRETE |  |
|  | 1 | Code of practice for Plain and reinforced concrete | IS 456:2000 |
|  | 2 | Method of Sampling and analysis of concrete | IS 1199:1959 |
|  | 3 | Method of test for strength of concrete | IS 516:1959 |
|  | 4 | Recommended guide lines for Concrete Mix Design | IS 10262:1982 |
|  | 5 | Code of practice for Ready-Mixed Concrete | IS 4926:2003 |
|  | 6 | Specification for Admixtures for concrete | IS 9103:1999 |
|  | 7 | Guidelines for false work for concrete structures. | IS:14687:1999 |
|  | 8 | Code of practice for use of immersion vibrators for consolidating concrete | IS 3558:1983 |
|  | 9 | Specifications for Pre-cast concrete coping blocks | IS 5751:1984 |
|  | 10 | Laying in situ cement concrete flooring | IS 2571:1970 |
|  | 11 | Code of practice for concrete structures for the storage of liquids | IS 3370:1965 (Part 1 & 2) IS 3370-1967 (Part 3 & 4) |
|  | 12 | Code of practice for concrete roads | IRC: 15-2002 |
| X | REINFORCEMENT/ STRUCTURAL STEELWORK |  |
|  | 1 | Code of Practice for Bending and fixing of bars for concrete reinforcement | IS 2502:1963 |
|  | 2 | Recommendations for detailing of reinforcement in reinforced cement concrete works | IS 5525:1969 |
|  | 3 | Mils steel wire for General Engineering purposes | IS 280:2006 |
|  | 4 | Recommendation for welding of cold worked bars for Reinforced concrete construction | IS 9417:1989 |
|  | 5 | Code of practice for general construction in steel | IS 800:1984 |
|  | 6 | Code of practice for use of metal arc welding for general construction in mild steel | IS 816:1969 |
|  | 7 | Safety code for erection of structural steel work | IS 7205:1974 |
|  | 8 | Tolerance for fabrication of steel structures | IS 7215:1974 |
|  | 1 | Code of Safety for excavation works | IS 3764:1966 |
|  | 2 | Safety code for piling and other deep foundations | IS 5121:1969 |
|  | 3 | Code of practice for earth work on canals | IS 4701:1982 |
|  | 4 | Methods of Test for soils | IS 2720 |
| XIII | OTHER SUBJECTS: |  |
|  | 1 | Code of practice for design and insulation of joints in buildings. | IS 3414:1968 |
|  | 2 | Code of practice for design and construction of foundations in soils : general requirement | IS 1904:1986 |
|  |  | Colours for Ready mixed paints & enamels | IS 5: 2004 |
| XIV. | MACHINERY |  |
|  | 1 | Batch type concrete mixer | IS 1791:1968 |
|  | 2 | Concrete Vibrators – Immiscible type | IS 2505:1980 |
|  | 3 | Specifications for moulds for use in tests of cement and concrete | IS 10086:1982 |
|  | 4 | Compression testing machine used for testing of concrete and mortar | IS 14858:2000 |
|  | 5 | Sheep foot roller | IS 4616:1968 |
| XV. | SAFETY |  |
|  | 1 | Code of practice for fire safety of buildings (general): Details of construction | IS 1642:1989 |
|  | 2 | Criteria for earthquake resistant design of structures. | IS 1893:2002 Part-1 |
|  | 3 | Code of practice for earthquake resistant design and construction of buildings. | IS 4326:1993 |
|  | 4 | Safety code for scaffolds and ladders |  |
|  |  | Part-I – Scaffolds | IS 3696:1987 (Part-I) |
|  |  | Part-I – Ladders | IS 3696:1991 (Part-II) |
| XVI | DRAWINGS: |  |
|  | 1 | Code of practice for general engineering drawings | IS 696:1972 |
|  | 2 | Code of practice for architectural and building drawings (First revision). | IS 962: 1989 |
| XVII | MEASUREMENT |  |
|  | 1 | Methods of measurement of building and civil engineering works. | IS : 1200 |

Note:-  The above I.S specifications mean latest over and above with amendments if any.

3.10	PERFORMANCE OF WORK

3.10.1	Execution of Works

3.10.1.1	All the works shall be executed in strict conformity with the provisions of the contract documents, explanatory detailed drawings and specifications.

3.10.1.2	The site should be cleared of all obstructions, vegetation, loose stones and materials before start of work.

3.10.1.3	The Engineer in charge, Supervisor will inspect the work on a Day-to-Day basis.

3.10.2	Work in Monsoon

3.10.2.1	The construction may entail working in monsoon also.  The contractor must maintain a minimum labour force and execute the construction according to the prescribed schedule.

3.10.2.2	Contractor is responsible for keeping the construction work site free from water.

3.10.3	Plinth Levels

3.10.3.1	A proper level should be maintained, in terms of horizontal and vertical alignment. A minimum acceptable plinth level above road level shall be maintained. The plinth level shall be agreed with the Engineer’s representative.

4.0	Detailed Specifications of Materials

4.1	Water (APSS No. 129)

4.1.1	Water should be clean, fresh and free from all chemicals, oils, salts and deleterious materials and vegetable growth. Water has to meet the requirements mentioned in Cl. 5.4 of IS:456-2000.  Storage for water should be sufficient and adequate for the regular consumption of works and for the use of labour on site.

4.2	Earth (APSS No. 309 & 310)

4.2.1	For filling, the soil shall be free from all rubbish, organic or vegetable growth including roots, weeds etc.  Black cotton soil should not be used for basement filling.

4.3	Sand/ fine aggregate (APSS No. 110)

4.3.1	Sand to be used shall be composed of hard siliceous material and shall be clean, sharp, hard, strong and angular type.  Sand shall be clean river or pit sand of approved quality and free from salts, earth, dust or other impurities. Sand for plain and reinforced concrete shall confirm to IS : 383-1970. Sand for various purposes shall confirm grading as below.

Sand for Masonry   --- table 110-A of APSS No.110

Sand for Plastering --- table 110-B & 110-C of APSS No. 110

Sand for Plain and	Zone I to III of table 110-D of APSS No.110

Reinforced concrete

| TABLE – II |
| --- |
| 4.3 FINE AGGREGATE (SAND) |
| Percentage passing by Mass |
| L.S. Sieve Designation | Grading Zone - I | Grading Zone – II | Grading Zone - III | Grading Zone - IV |
| 10 mm | 100 | 100 | 100 | 100 |
| 4.75 mm | 90-100 | 90-100 | 90-100 | 95-100 |
| 2.36 mm | 60-95 | 75-100 | 85-100 | 95-100 |
| 1.18 mm | 30-70 | 55-90 | 75-100 | 90-100 |
| 600.00 microns | 15-34 | 35-59 | 60-79 | 80-100 |
| 300.00 microns | 5-20 | 8-30 | 12-40 | 15-50 |
| 150.00 microns | 0-10 | 0-10 | 0-10 | 0-15 |

4.4	Stone for Masonry (APSS No. 107)

4.4.1	Stones used shall be strong, durable, dense, compact, close grained, homogeneous, fire resistant and shall be obtained from sources approved by Engineer-in-charge.  Stones shall additionally be hard, sound, free from cracks, decay and other flaws or weathering and shall be easily workable.  Stones with round surfaces shall not be made use of.

4.4.2	Stones shall have a crushing strength of not less than 1000 Kg/cm2.  Stones with lesser crushing strength may be used in works with prior approval of the Engineer-in-charge. Stones shall be non-porous and when tested in accordance with IS: 1124-“Method of Test for Determination of Water Absorption” etc., shall show water absorption of less than 5% of its dry weight when soaked in water for 24 hours.  Tests for durability and weathering shall be done in accordance with ARE: 1126 and IS: 1125 respectively.  The working of stones to required sizes and their dressing shall be as per IS: 1127 “Recommendations for dimensions and workmanship of natural building stones for Masonry work” and IS: 1129 “Dressing of Natural Building Stones”. Stones especially lime stones and sand stones, shall be well seasoned by exposure to air before use in construction works.

4.5	Cement  (APSS No. 112)

    - Cement should comply with the requirements of IS:8112-1989 and should be 43 grade ordinary Portland Cement, for making plain and reinforced concrete, mortar etc. The quality of cement shall be inconformity to the performance characteristics given in IS : 8112 - 1989.

    - The contractor shall procure bulk cement required for the works only from reputed cement factories (main producers) acceptable to the Engineer-in-charge and should obtain, furnish from suppliers of cement a test certificate for every consignment of cement. The cement bag shall bear the manufacturer's name or their registered trade mark. Cement shall be tested in accordance with IS: 4031-1988 and IS: 4032-1988.

    - The cement should be delivered to the site in sound dry bags and shall be stored properly.  Cement packed in LDPE Bags may be preferred to ensure protection from moisture and dampness.

    - The contractor has to make his own arrangements for the procurement of cement of required specification for works subject to the following:

a)	The contractor shall procure bulk cement required for the works, only from cement factories (Main producers) of approved make and brand only as per list of makes suggested. The contractor shall make own arrangements for adequate storage of cement.

b)	The contractor shall procure cement in standard packing (50 Kg per bag) from the authorized manufacturers.  The contractor shall make necessary arrangement at his own cost to the satisfaction of Engineer-in-charge for actual weight of random sample from the available stock and shall confirm with the specification laid down by the Bureau of Indian standards or other standard institutions as the case may be.  Cement shall be got tested for all the tests as directed by the Engineer-in-charge or the consultant at least once in a month in advance before the use of cement bags brought and kept at site godown.

c)	Cement bags required for testing shall be supplied by the contractor free of cost.

d)	The contractor should store the cement of 60 days requirement at least one month in advance to ensure the quality of cement so brought to site and shall not remove the same without the written permission of the Engineer-in-charge.

e)     The contractor shall forthwith remove from the works area any cement that the Engineer-in-charge may disallow for use on account of failure to meet with required quality and standard. Damaged or reclaimed or partly set cement will not be permitted to be used and shall be removed from the site.

f)	The contractor will have to construct sheds for storing cement having capacity not less than the cement required for 90 days use at appropriate locations at the work site.  The Engineer-in-charge or the representatives shall have free access to such stores at all times.

g)	The contractor shall further at all times satisfy the Engineer-in-charge on demand by production of records and books or by submission of returns and other proofs as directed that the cement is being used as tested and approved by Engineer-in-charge for the purpose and the contractor shall at all times keep his records up to date to enable the Engineer-in-charge to apply such checks as he may desire.

h)	Cement which has been unduly long in storage with the contractor or alternatively has deteriorated due to inadequate storage and thus become unfit for use on the work shall be rejected by the University and no claims will be entertained.  The contractor shall forthwith remove from the work area any cement the Engineer-in-charge may disallow for use on work and replace it by cement complying with the relevant Indian Standards.

    - STORAGE OF CEMENT

      - Portland cement readily absorbs moisture not only in the form of free water but also moisture from the atmosphere or from damp material in contact with it and becomes hydrated and loses strength.  It is necessary therefore that it should be protected from absorption of moisture before it is used if it is to fulfill its function.  An absorption of one or two percent of water has not appreciable effect but further amounts of absorption, results in hardening of the cement and reduced the strength.  If the absorption exceeds 5% the cement is for all ordinary purposes ruined.

      - American, Spanish and German experiments have shown that on average the strength of cement stress in bags is reduced.

After 3 months by 15 to 20 percent.

After 6 months by 20 to 30 percent.

After 12 months by 30 to 50 percent.

After 2 years by 40 to 50 percent.

These figures prove that special attention should be paid to the storage of cement, even when its strength is equal to or suspense’s the specified normal strength.

      - As a general principle the cement must be protected as far as possible from any form of moisture prior to mixing concrete mortar.

      - The cement should be stored in a well-constructed dry go down or shed.  The cement store should be weather tight construction with a sound wooden or ground to ensure that it is damp proof building. The storage place required for a given quantity of cement can be calculated at the rate of 2.50 sqm for a ton of cement. Cement should not be placed directly on cement plaster flooring and other types of flooring commonly meant with which are not damp proof.  A wooden platform or false floor a sheet of water proof paper should be provided.

If none of these is possible, then floor should be covered with straw, hay, cinder or ash or such other material densely and uniformly packed to a thickness of at least one inch and over a laid worth tarpaulin of old cement.  Large windows and ventilators if any should be tightly shut to prevent from circulation of air inside the stores. Drainage should be provided if necessary to prevent accumulation of water in the vicinity of the store.

      - Cement should be stored in piles arranged parallel to the walls.  It is not advisable to pile bags against the walls and an allowance of at least 0.3M all round should be made between the exterior walls and piles. At least 0.6M wide should be left for each access and delivery.

When storing the bags, the floor should be raised 30cms. above the ground and stacked in rows not exceeding 10 bags high. The cement is to be stored in such a manner that easy access and proper inspection and counting is possible.

Successive consignments covered with some water proof cover as a both measure of protection and prevent the free circulation of air as each lot of proper fresh air will bring in more moisture.  Once the cement has been properly stored should not be disturbed until it is to be used.  There is no advantage in moving and stacking the bags to reduce where house set as this practice only exposes fresh cement to the air resulting in loss due to the shifting of cement through the cloth mesh and in damage to the stacks.

      - Even during the dry weather and when the relative humidity of the atmosphere even in nights is low (that is to say when there is very little moisture in the air)  the cement in its stock shall be protected with a tarpaulin through for the stack.  When the atmosphere is damp at any time of day or night, greater care has to be taken of the cement and proper strength provided it from the damp.

      - Cement required for use immediately after delivery to the site may be stored in the open on a raised damp proof floor so long as it is fully protected by tarpaulin or either weather resisting covers.  Storage under these conditions should be limited to 48 hours.  The tarpaulin should be raised well above the top most Ties of bags and must be sloped for rapid drainage in case of showers.

      - Consignments should be used in the same sequences as they are delivered.  To ensure this the date of arrival of each consignment should be clearly indicated.  This is best done by tying a piece of country twins or cord to the end bags in the bottom most tier of the days pile, tacking the two places of card up the sides and along the top of pile an tying the main the center.  The date of receipt in the store being clearly written on a bin card high from the card.  Dead storage where the cement remains in place for a long time which other consignments of cement come in and out should be avoided.

      - In issuing cement from a store the cement bags should be removed in vertical column of the pile and not horizontal so as to avoid dead stoppage space.

        - As a rule cement should not be stored longer than three months. Cement held in storage for a period of 90 days or longer shall be re-tested. Especially in the rainy season prolonged storage should be avoided.  If stock is likely to be held over for more than three months anticipatory measures should be taken to use it on the works.

        - Cement that has become supply due to storage in damp positions due to exposure to the weather is generally useless for making concrete and should be removed from the site.

4.6	Bricks  (APSS No. 102)

    - Bricks for masonry shall be common burnt clay building bricks having minimum crushing strength of 40 Kg/cm² and shall conform the relevant specifications of IS 1077-1992.

    - They shall be sound, hard and thoroughly well burnt, but not over-burnt, with uniform size having rectangular faces with parallel sides and sharp straight right angled edges and be of uniform colour with fine compact uniform texture. Bricks shall be of uniform deep red cherry or copper colour. They shall be free from flaws, cracks and nodules of free lime.

    - Water absorption after 24 hours immersion in cold water shall be not more than 20% by weight. They shall not absorb more than 10% by weight of water after immersion for six hours.

    - They shall emit a clear metallic ringing sound when struck by a mallet and shall not break when dropped on their face, from a height of 60 cm.

    - Fractured surface shall show homogeneous, fine grained uniform texture, free from cracks, air holes, laminations, grits, lumps of lime, efflorescence or any other defect which may impair their strength, durability, appearance and usefulness for the purpose intended. Under-burnt or vitrified bricks shall not be used.

    - Samples of bricks brought to the site shall be tested periodically for compression and other tests according to IS: 3495, Parts-I, II & III - “Method of Test for Burnt Clay Building Bricks”.

4.7	Coarse Aggregate (APSS No. 108)

The coarse aggregate shall be from hard granite crushed stone conforming to   IS  383 :1970. The pieces of aggregate shall be non porous, hard, strong durable clean and free from clay, rounded in shape and shall have granular or crystalline non powdery surfaces. The aggregate shall be well graded. Tests where required shall be carried out in accordance with IS : 2386 - 1963.

| .S. 383 / 1970 Table – I |
| --- |
| 4.7.1 Coarse Aggregate |
| I.S. Sieve designation | Percent passing for single-seized aggregate of metal size | Percentage passing for graded-aggregate of nominal size |
| mm | 40 mm | 20 mm | 12.50 mm | 10 mm | 40 mm | 20 mm |
| (1) | (3) | (4) | (6) | (7) | (8) | (9) |
| 80 mm | --- | --- | --- | --- | 100 | --- |
| 63 mm | 100 | --- | --- | --- | --- | --- |
| 40 mm | 85-100 | 100 | --- | --- | 95-100 | 100 |
| 20 mm | 0-20 | 85 - 100 | --- | --- | 30-70 | 95-100 |
| 16 mm | --- | --- | 100 | --- | --- | --- |
| 12.50 mm | --- | --- | 85 - 100 | 100 | --- | --- |
| 10 mm | 0-5 | 0-20 | 0-45 | 85 - 100 | 10-35 | 25-55 |
| 4.75 mm | --- | 0-5 | 0-10 | 0-20 | 0-5 | 0-10 |
| 2.36 mm | --- | --- | --- | 0-5 | --- | --- |

| TABLE – III |
| --- |
| ALL-IN AGGREGATE GRADING |  |
| L.S. Sieve Designation | 40mm Nominal |  |  |  | 20mm Nominal |  |
| 80.00 mm | 100 |  |  |  | --- |  |
| 40.00 mm | 95-100 |  |  |  | 100 |  |
| 20.00 mm | 45-75 |  |  |  | 95-100 |  |
| 4.75 mm | 25-45 |  |  |  | 30-50 |  |
| 600.00 microns | 8-30 |  |  |  | 10-35 |  |
| 150.00 microns | 0-6 |  |  |  | 0-6 |  |

4.8	Steel Reinforcement  (APSS No. 126)

STEEL

4.8.1	Mild steel bars shall conform to Grade I of IS:432.

4.8.2	High yield steel strength deformed bars shall conform to IS:1786-1985.  Binding wire shall conform to IS:280.  The various types of steel shall conform to the relevant IS specification as provided in A.P.S.S. No.126.

4.8.3  	The contractor has to make his own arrangements for procurement of tested steel  required for the work. He shall also make his own arrangements for transportation and storage.

4.8.4  	The contractor shall procure mild steel (MS) reinforcement bars, High yield strength deformed bars (HYSD) bars, rods and structural steel etc., required for the works, only from the reputed main steel manufacturing units i.e. SAIL, VSP, TATA manufacturing the steel to the prescribed specification of Bureau of Indian Standards or equivalent and licensed to affix ISI or other equivalent certifications, marks and acceptable to the Engineer-in-charge.

4.8.5	The contractor should invariably obtain necessary ISI test certificates from the suppliers of  steel for each and every consignment and furnish them to the   Engineer-in-charge, before use on works. Test certificates conforming to IS 1786-1985  are to be furnished. The HYSD  steel (IS 1786-1985)  bars  should have TOR mark.

The original bills of procurement should be submitted to the Engineer-in-charge for making payment of the item. The contractor shall purchase the steel on the name of the work, number and the name of the contractor and furnish the same to the Engineer-In-Charge. The steel without the above two names will not be accepted on the works. Vendors test certificates and weight bills are to be furnished to the Engineer-In-Charge and any quantity purchased without test certificates will not be accepted for use on the works.

    - If any difference is observed on carriage inwards, carriage outwards and   theoretical requirement of steel for finished work, the contract will be cancelled and the contractor will be blacklisted.

    - The diameter and weight of steel should be as per IS 1786-1985 or relevant IS specification with subsequent revisions from time to time:

| S.No. | Diameter of rod | Sectional weight in Kg/ RM both for Plain and HYSD steel |
| --- | --- | --- |
| 1 | 6 MM | 0.22 |
| 2 | 8 MM | 0.39 |
| 3 | 10 MM | 0.62 |
| 4 | 12MM | 0.89 |
| 5 | 14 MM | 1.21 |
| 6 | 16 MM | 1.58 |
| 7 | 18 MM | 2.00 |
| 8 | 20 MM | 2.47 |
| 9 | 22 MM | 2.98 |
| 10 | 25 MM | 3.85 |
| 11 | 28 MM | 4.83 |
| 12 | 32 MM | 6.31 |
| 13 | 33 MM | 6.71 |
| 14 | 36 MM | 7.99 |
| 15 | 40 MM | 9.86 |
| 16 | 42 MM | 10.88 |

Note: If any rods other than those diameters specified above are procured the weights shall be as per standard steel tables.

    - Quality control:  The contractor shall furnish the samples for testing for each batch and consignment  along with the test certificates issued by the vendors to the Engineer-In-Charge immediately after receipt of the steel in the stockyard at site of work for verification and testing.

No steel procured by the contractor shall be used in any work until the Engineer-In-Charge has given notice that the test results are satisfactory.

4.8.9. 	STEEL STORAGE:

a) 	Reinforcement steel and binding wire shall be stored above ground surface upon   platform, skids or other supports protected as far as possible from surface deterioration by direct contact with undesirable elements or by exposure to conditions producing rust and corrosion.  Bars shall be so supported as to avoid distortion and sagging of long lengths. All the reinforcement of same designation shall be stacked separately and distinctly marked.

- Steel shall be stacked and stored in accordance with IS 4082: 1996 as per Recommendations on stacking and storage of construction materials.

- If the reinforcing rods have to be stored for a long duration, they shall be coated with cement wash before stacking and/or be kept under cover.

    - Reinforcement shall be free from pitting due to corrosion and free from loose    rust, dirt, dust, mill scale, paint, oil, grease, adhering earth etc.

4.8.11	Erected and secured reinforcement after fabrication shall be inspected and approved by the Engineer-in-Charge prior to placement of concrete. The consultant may also ask for and the contractor shall submit, check lists, pour cards and bar bending schedules, jointly signed by the engineer in charge and the contractor’s representative, prior to pouring concrete.

5.0	Detailed Specification of Works

5.1	Standard

A high standard of workmanship in all trades will be required.  The Contractor shall ensure that only skilled and experienced workmen are employed.

5.2 	Supervision

5.2.1	The Contractor’s supervising staff shall be fully qualified and experienced in the types of work being carried out under the supervision and shall be capable of ensuring that they are done well and efficiently.

5.3	Temporary works

Where required, the Contractor shall furnish such details of his temporary works as may be called for by the Engineer-in-charge and the Contractor shall satisfy the Engineer-in-charge as to their safety and efficiency.  The Engineer-in-charge may direct that temporary works, which he considers unsafe or insufficient, shall be removed and replaced in a satisfactory manner.

5.4	Codes

5.4.1	Unless mentioned otherwise, current versions of all codes, specifications and standards issued by the Indian Standards Institution  and  Indian  Roads  Congress, wherever mentioned, shall be fully applicable to these specifications. Where standards are not yet published by the ISI or IRC, adaptable British Standards or Specifications of the International Organization for standardization shall apply.

5.4.2	In case of any conflict in meaning between the specifications mentioned herein and those of ISI or IRC, the provisions of these specifications shall be prevail.

5.5	Base lines and bench marks

5.5.1	The Contractor shall establish and maintain, to the satisfaction of Engineer-in-charge, the base lines and bench marks, based on which the works are set out.  Where such base lines and bench marks are provided by the Engineer-in-charge, the Contractor shall maintain these throughout the period of construction without causing any disturbance to them.

5.6	Setting out

5.6.1	The Contractor shall set out all the works to be executed by him, in line with the standard base lines, position and bench marks and truly as per drawings within the accepted tolerance limits at no extra cost to Owner.  The Contractor shall be solely responsible for the correct setting out of all the works, to be executed by him and the approval of such setting out by the Engineer shall in no way absolve the Contractor of his responsibility for carrying the work to the true lines, levels and positions as per drawings.

5.7	Dewatering

5.7.1	The Contractor shall carryout all the works, in dry and workable condition and maintain the same in dry condition till the final handing over of works at no extra cost to the Owner. For this the Contractor shall make at his cost all the necessary provisions of dewatering, wherever necessary, to the full satisfaction of the Engineer-in-charge.

5.8	Safety of existing work

5.8.1	Before taking up any construction adjoining existing work, the Contractor shall take all steps necessary for the safety and protection of such property or work.

5.9	Protection of existing services

5.9.1	The Contractor shall take all precautions necessary to prevent damage to or interference with under-ground or over-ground services such as cables,         drains, piping or piles, whether shown on drawings or not.  Equipment etc., mounted in position shall be protected against falling debris etc., by means of tarpaulin or such other material.

5.10	Handing over of work site

5.10.1	On completion of work, the Contractor shall remove all rubbish, debris, surplus materials, temporary work etc., from the site.  The site shall be handed over in a tidy and workmanlike manner.

5.11      	CRS Masonry in CM (1:8) in 1st sort (APSS 107 & APSS 611)

5.11.1	The work shall consist of a facing of selected stones hammer dressed at faces and joints with only a small proportion of smaller stones in the hearting.

5.11.2	The face stones shall be set in regular courses of uniform thickness from bottom to the top throughout.  The height of the course should be uniform throughout by using stones of same height.  The face stones shall be laid in headers and stretchers alternately so as to break joint by at least 75mm and headers shall project at least 100mm beyond stretchers.  The stones shall be solidly bedded, set full in mortar with joints not exceeding 12mm in thickness and shall  extend  well  back into the hearting.

5.11.3	Bond stones shall be placed in the wall @ interval of 2m in length and 600mm in height and shall run through the wall if the wall is not more than 600mm thick.  If the wall is more than 600mm thick line of headers shall be laid from face to back each header overlapping the other by at least 150mm.

5.11.4	The heart portion shall be filled with good flat bedded stones set as close as possible, well set in mortar.

5.11.5	The work on interior face shall be precisely the same as on the exterior face unless the work is to be plastered in which case the side joints need not be vertical.

5.12	Coursed Rubble Masonry in CM (1:8) 2nd sort: (APSS NO. 612)

5.12.1	This work shall be executed similar to the specifications for C.R.S. masonry 1st sort with the exception that the hearting and backing shall conform to the standard specification for random rubble masonry and bond with the face stones being carried up continuously with the face work.

5.14	Brick Work: (APSS 102 APSS 501 & 504)

5.14.1	All bricks to be used in the work shall be thoroughly soaked in water before use to prevent absorption of water from the mortar.

5.14.2	The bricks shall be set in cement mortar of 1:6 proportions by adopting a proper bond (preferably either English bond or a Flemish bond) throughout the wall.

5.14.3	The walls shall be taken up truly plumb. All courses shall be truly horizontal (level) and truly vertical.  Vertical joints of consecutive courses shall not come directly over one another.  Vertical joints, in alternate course shall come directly over one another.  Joint’s shall be fully filled with mortar and raked.  Every brick shall be laid with full joints of cement mortar on its bed, ends and side in one operation.  No feeding of mortar by using excess water shall be allowed.

5.15	Reinforced Half Brick Partition Walls (APSS 102, 501, 504, 509)

5.15.1	All bricks to be used in the work shall be thoroughly soaked in water before use to prevent absorption of water from the mortar.

5.15.2	The cement mortar used for reinforced brick work shall be in cm (1:4) and mortar used shall conform APSS No. 113. Reinforcement for half brick walls shall be in the form of MS Bars and shall be of specified qualities. The brick shall be constructed only in stretcher bond. The reinforcement shall be well embedded in cement mortar at every third course and half the joint thickness of mortar shall first be laid and the other half laid after the reinforcement is placed in the position. The free ends of the reinforcement where ever possible shall be pegged into the mortar joints of main brick walls.

5.16	NOTES ON MASONRY

5.16.1	i) 	All stones, bricks etc., used in the masonry work shall be thoroughly soaked in water before use to prevent absorption of water from the mortar.

ii) 	Stones shall be laid on their broadest faces which give better opportunity to fill the faces between stones.

iii) 	To give sufficient lateral bond a stone in any course shall overlap the stone in the course below i.e. joints parallel to the pressure in two adjoining course shall not lie too closely in the same vertical line.  A minimum overlap of 6" shall be maintained.

iv) 	To give sufficient transverse bond, prescribed no. of headers shall be used.

v) 	The practice of building two thin faces, tying width occasionally through stones and filling up the middle with small stones or dry packing shall be strictly guarded against.

vi) 	Jambs for door and window opening shall be formed with quoins of the full height of the course.  The quoins shall be of breadth at least one and a half times the depth for the course and in length at least twice the depth.

vii) 	It is advisable to erect the door and window frames first and build the masonry around.

viii) 	Thickness of the joint should not be more than 12mm.

ix) 	Every course of the masonry shall be truly vertical.  Use of plumb bob to check verticality by the mason shall be encouraged.

x) 	Care should be taken to keep all corners and sides including door and window opening truly vertical.

5.16.2    Theoretical requirement of cement should be as follows: -					    	                                                                                              Cement bags of 50 kgs.

a.	C.R.S. Masonry in C.M. (1:6)	1.54 bags per Cum

b.	C.R.S. Masonry in C.M. (1:8)	1.15 bags per Cum

c.	Brick Masonry in C.M. (1:4)	1.44 bags per Cum

d.	Brick Masonry in C.M(1:6)	0.96 bags per Cum

e.   	Brick Masonry in C.M. (1:8)	0.72 bags per Cum

5.17	Plain and Reinforced cement concrete (A.P.S.S. 402 & 403)

      - All R.C.C. work shall be carried out in strict accordance with latest IS specification.

      - No concrete work shall be cast in the absence of the works-in-charge/Engineer. All the materials used should be of good quality as mentioned in Sec. 4.0 above.

5.17.2	Cast-in-place concrete for the structures shall conform to the requirements of the section. The structures shall be built to the lines, grades and dimensions as per the designs and drawings.

5.18	Controlled concrete: Controlled concrete shall be used on all concrete works.  Reinforced cement concrete shall correspond to M20 grade as per IS 456-2000 equivalent to (1:1.5:3) nominal mix proportion.   5.18.1	For all major concrete pours like RCC slabs, roofs, beams etc Ready Mix Concrete of specified grade from approved suppliers shall be used.

5.19	Mix Proportions & Strength requirement of concrete: The proportions of various ingredients to be used in the concrete for different parts of the work shall be established by proper mix through design mix. The contractor shall produce concrete mix design and establish the strength of concrete with this concrete mix design for 3 days, 7 days and 21 days as per IS 456-2000. For controlled concrete, the mix design shall be so designed as to attain in preliminary tests a strength at least 33 percent higher than that required on work tests. The design mix shall be got approved by the Engineer-in-charge before proceeding with the concreting.  The contractor is required to carry out the mix design and the design mix shall be got approved by an authorized testing laboratory and follow the same in execution of work within the limitations of parameters and other stipulations laid down in IS-456/2000.

The specified characteristic compressive strength of 150 mm size cube at 28 days attained for M20, M25 and M30 grades of concrete shall be 20 N/sqmm, 25N/sqmm and 30 N/sqmm respectively. The mix shall be designed to produce the grade of concrete having the required workability and a characteristic strength at 28 days not less than the appropriate values mentioned in Table-2 of IS-456:2000 The target mean strength of the concrete mix should be equal to the characteristic strength plus 1.65 times the standard deviation.

### TABLE

MINIMUM COMPRESSIVE STRENGTH OF 15 CM. CUBES

AT 7 AND 28 DAYS AFTER MIXING, CONDUCTED

IN ACCORDANCE WITH IS.516

| Class | Preliminary test N/mm2 | Works test N/mm2 | Maximum size of aggregate mm |
| --- | --- | --- | --- |
|  | at 7 days | at 28 days | at 7 days | at 28 days |  |
| M40 | 33.50 | 50.00 | 27.00 | 40.00 | 20 |
| M35 | 30.00 | 44.00 | 23.50 | 35.00 | 20 |
| M30 | 25.00 | 38.00 | 20.00 | 30.00 | 40 or 20 |
| M25 | 22.00 | 32.00 | 17.00 | 25.00 | 40 or 20 |
| M20 | 17.50 | 26.00 | 13.50 | 20.00 | 40 or 20 |
| M15 | 13.50 | 20.00 | 10.00 | 15.00 | 40 or 20 |

Whenever the grade of concrete such as M30 etc., is specified it shall be Contractor’s responsibility to ensure the minimum crushing strength stipulated for the respective grade of concrete is obtained at works.

In the case of M30 grade concrete minimum cement content of 340Kgs/ Cum shall be used to obtain a minimum cube strength of 30N/ mm2 at 28 days age.

The contractor shall maintain the test results on regular basis as indicated in I.S.456/2000 and subsequent amendments thereon.

In all cases, the 28 days compressive strength specified shall be the criterion for acceptance or rejection of the concrete.

The sample of water taken for testing shall be typical of the water proposed to be used for concreting.

The contractor shall be responsible for production of controlled concrete as per approved design mix to ensure the required works cube strength is attained and maintained. In the designation of concrete mix, letter ‘M’ refers to the Mix and the number to the specified 28 days works cube compressive strength in Newton per sq.mm.

The concrete where site mixing is permitted shall be with concrete mixtures fitted with weigh batching scale. All measuring equipment shall be maintained in a clean serviceable condition and their accuracy periodically checked.

5.19.1 	The proportions of cement concrete, if specified in volumetric proportions i.e., nominal mixes shall be as follows which are indication of approximate proportion of cement, fine aggregate and coarse aggregate which may have to be altered suitably at site to obtain desired strength and workability. However, the quantity of cement shall not be less than specified below.

Nominal Mix		Cement in bags of 50 kgs / 1Cum (net) of cement concrete

a) 1:3:6						     4.42 bags of 50 Kgs

b) 1:4:8						     3.31 bags of 50 Kgs

c) 1:5:10					                 2.65 bags of 50 Kgs

As per sanctioned estimate the design mix are proposed for all RCC members with the following design mix mentioned in Bill of Quantities towards the cement quantity required for attaining such design which is specified below.

Design Mix					Cement in Kgs

a) M20						     330 Kgs

b) M25						     380 Kgs

The contractor shall ensure the tests of Design Mix from the Reputed Agencies / University or any Research Lab for ensuring the strength of Design Mix with the provided quantity of cement in the estimate. Any plus or minus will be allowed in payments.

5.19.2	The quantity of water shall be varied to suit the moisture content of the aggregate and shall be just sufficient in produce a dense concrete with workability. Workability should be checked at frequent intervals as per IS: 1199.  An accurate and strict control shall be kept on the quantity of mixing water.

5.20	Concrete quality control measures and concrete quality Assurance Test   Program

- Concrete quality control measures: The contractor shall be responsible for providing quality concrete to ensure compliance of the bid requirements.

b)	Concrete quality Assurance Program: The concrete samples will be taken     by the University and its quality will be tested in any other recognized laboratory per the relevant Indian Standard Specifications IS 516:1959 and LS. 1199-1959.

Samples shall be drawn on each day for each type of concrete.

Tests: The University will obtain samples and conduct tests as specified in

B.I.S. 456- 2000, I.S. 1199- 1959 and I.S. 416 - 1959.

Test Facilities : The contractor shall furnish free of cost samples of all ingredients   of concrete for testing and obtain approval from the Engineer-in-Charge. He should also supply free of cost, the samples of all the ingredients of concrete for conducting the required tests.

Test results: The Engineer-in-charge will pass the concrete if average strength  of the specimens tested is not less than the strength specified.  Concrete not meeting requirements of specification in all respects may be rejected by the Engineer-in-charge in which case it shall be removed and reconstructed entirely at the expense of the contractor.

5.21       	Preparation for placing: No concrete shall be placed until preparation of    surface  involved, all form work, reinforcement, installation of items to be embedded have been approved by the Engineer-in-charge.

      - All surfaces, forms, embedded material shall be free from dried mortar,   dirt,  foreign substances, waste papers etc.  Temporary openings shall be provided to facilitate inspection, especially of bottoms of columns and wall forms, to permit removal of sawdust, wood shavings, binding wire, dirt etc. Such openings/holes shall be suitably plugged later.

      - Foundation surface: Rock surfaces shall be free from oil, objectionable   coatings, loose, semi-  detached and unsound fragments. Immediately prior to placement of concrete, surfaces of rock shall be washed with an air water jet and shall be brought to a uniform surface dry condition.

      - Concrete shall not be placed in standing water or on a water-covered surface. Any concrete that has been washed away by heavy rains shall be entirely removed, if there is any sign of cement and sand having been washed away from the concrete mixture.

      - Starters: Before proceeding with erection of form work for RCC columns, Starters shall be cast with  25 mm thick concrete  with string lines placed in position as per the layout.

      - Slots, openings, holes, pockets etc shall be provided in the concrete work in the positions specified or required or as directed by Engineer-in-charge.

      - Reinforcement and other items to be cast in concrete shall have clean surfaces that will not impair bond.

      - Approval by the Engineer-in-charge of any materials and work as required herein shall not relieve the contractor from his obligation to produce finished concrete in accordance with the requirements of the specifications.

5.22	Placing of Concrete: The contractor shall notify the Engineer–in-charge before batching begins. Batching , mixing and placing of concrete shall be performed only in the presence of an authorized representative of the Engineer-in-charge.

5.23      	Weather: Concrete shall not be placed in rain sufficiently heavy or prolonged to wash mortar from concrete.

The contractor is not entitled for any additional payment over the unit prices bid in the schedule for concrete, by reason of any limitation in placing of concrete under the above paragraphs.

5.24	Mixing: All cement concrete shall be machine mixed and machine vibrated.

  - The mixer machines should comply with IS 1971-1968 ( IS specifications for batch type concrete mixers).

  - The mixers with other accessories shall be kept in first class working condition and so maintained throughout the construction.

  - Any mixer that at any time produces unsatisfactory mix, shall not be used until repaired. If repair attempts are not successful, the defective mixer shall be replaced.

  - The Cement and aggregates shall be mixed thoroughly in the specified proportion in a mechanical mixer until the mixture is of uniform colour. Where machine mixing is done the concrete shall be mixed, until the mixture is of uniform colour and, in no case, for less than two minutes.

5.25	Transportation, placing and compaction of concrete:

  - Equipment & methods: Equipment for conveying concrete shall be of such size and design as to ensure a practically continuous flow of concrete during depositing without segregation of materials. The entire placing program  consisting of equipment, layout, proposed procedures and methods shall be submitted to the Engineer-in-charge for approval

  - After mixing, the concrete shall be transported from the mixer to the position of placing as rapidly as possible by appropriate mean without causing separation or segregation of concrete, maintaining the required workability.

  - Concrete shall only be placed after the Engineer has inspected the shuttering and reinforcement. The concrete shall be placed and compacted before initial setting of concrete commences and should not be subsequently disturbed.

  - The concrete shall be deposited as nearly as practicable directly in its final position and shall not be re-handled in a manner which will cause segregation, loss of materials, displacement of reinforcement, shuttering or embedded inserts, or impair its strength. Concrete shall be placed in the shuttering by approved implements and shall not be dropped into place from a height exceeding 1 meter or handled in a manner which will cause segregation.

  - Concrete shall be deposited in successive horizontal layers to a compacted depth of not more than 0.45 meters. These shall be placed as rapidly practicable to prevent the formation of cold joints or planes of weakness between each succeeding layer within the pour.

  - When concrete is conveyed by chutes, the plant shall be of such size and design as to ensure practically continuous flow. Slope of the chute shall be so adjusted that the concrete flows without the use of any excessive quantity of water and without segregation of its ingredients. The delivery end of the chute shall be as close as possible to the point of deposit. The chute shall be thoroughly flushed with water before and after each working period and the water used for this purpose shall be discharged outside the form work.

5.26	Compaction: All concrete shall be compacted to produce a dense homogeneous mass. Concrete after depositing should be compacted thoroughly by means of a mechanical vibration. Vibrators shall conform to IS specifications. Vibrators of the surface, form or Immersion  type shall be used and the concrete shall be thoroughly worked out around the reinforcement, around embedded fixtures and into corners of form work. The hardened concrete shall be free from voids or cavities. Over vibration and under vibration of concrete are harmful and should be avoided. Use of polythene sheet is recommended above the shuttering to arrest the slurry loss through the shuttering joints while placing and compacting the concrete.

  - Vibrators shall be operated by experienced men. Immersion vibrators shall be inserted vertically at points not more than 45 cms apart. Immersion vibrators shall be withdrawn slowly. Blending and melding of the concrete between successive layers shall be ensured. Vibrations shall not be applied through reinforcement and where vibrators of the immersion type are used, contact with reinforcement and all inserts shall be avoided.

  - Prior to beginning concrete placement the contractor shall make ready sufficient number of properly operating vibrators & operators and shall have readily available additional vibrators to replace defective ones during the progress of concrete placement.

5.27	Finishing : When the structure is in service all the surfaces shall receive no special finish except removal of fine and abrupt irregularities and clean up of loose debris. Unless varied by the Engineer-in-charge, the type of finish for formed concrete shall be as follows. The concrete surfaces shall be consolidated, smooth screeded, and leveled to produce even surfaces. Floating shall  be done only after the screeded surface has attained a stiffness to permit finishing operations.  The surface shall be uniform is texture and free from screed marks or other imperfections.

5.27.1	Concreting shall be carried out continuously up to construction joints already planned.  Joint shall be kept where shear force is minimum. The work shall be resumed at the earliest by scrubbing the wet surface with wire brush and coating the surface with neat cement slurry. The prepared surface shall be approved by the Engineer-in-charge. Special care shall be taken to obtain thorough compaction and to avoid segregation of the concrete along the joint plane.

5.28    Protection of works: The contractor shall protect all concrete against damage until final acceptance by Engineer-in-Charge. The fresh concrete shall be protected from defacements and damage due to construction operations, rain, sun and winds. The contractor shall provide protection to prevent erosion to fresh concrete whenever precipitation either periodic or sustaining is imminent or occurring. All fresh concrete surfaces shall be protected from contamination and from foot traffic until the concrete has hardened.

5.29	Replacement of unsatisfactory concrete: Immediately after the shuttering is removed, the surface of the concrete shall be very carefully gone over and all defective areas called to the attention of Engineer-in-charge. If reinforcement is exposed or the honey combing occurs the work may be rejected. Rejected concrete shall be removed and replaced with fresh and new concrete by  the contractor. Superficial honey combed surfaces and rough patches if permitted by the Engineer-in-charge shall be made good and finished neatly as per specifications and as directed by consultant. Pressure grouting or other methods as suggested by consultant to make up defective areas of concreting and restore strength, shall be done by contractor at his own cost. In no event shall the contractor plaster honeycombed areas without due notice of Engineer-in-charge.

5.30	Curing of concrete:. Rigid supervision shall be maintained for curing the concrete after laying for complete hydration and hardening to take place. The set concrete shall be cured by ponding with clean water. All exposed faces of concrete shall be kept continuously moist for a minimum period of 28 days by spraying water or by covering with gunny bags which shall be constantly sprinkled with water. The curing operation should be done by using stirrup pump, or by any other methods given code IS 456-1984. For curing floors, flat roofs, concrete pavements and other level surfaces the ponding method of curing shall be adopted.

5.31	CENTERING (FORM WORK) AND SHUTTERING

- Steel Formwork: Only steel forms of approved make (Acrow steel centering) shall be used. Forms with surface dents, bulges, undulations or holes shall not be used on the work and shall be removed from the site.

- Form work shall be substantially and rigidly constructed of steel and shall be true to the dimensions described. Form work shall be constructed to confine and shape the concrete to the required shape, lines and dimensions described.  Liners and cores shall be provided where   necessary and shall be due to space and securely fixed.

- Shuttering shall be erected true to line and securely braced, cross braced, strutted and supported to prevent deformation under the weight of pressured wet concrete and constructional loads, wind pressure and other forces.

- The surfaces of the forms shall be clean and free encrustation of mortar, grout or other foreign materials.

- The variation in thickness of RCC roof slab due to varying spans or special covering materials should not effect the general roof bed which should be uniform, unless otherwise shown in drawing or as instructed.

- All joints shall be sufficiently tight to prevent leakage of cement slurry. All faulty joints shall be adequately caulked.

- Mould Oil: Before laying the reinforcement, all faces of shuttering and moulds in contact with wet concrete shall be treated with a coat of oil to prevent adherence to concrete. Release agent should be applied so as to provide thin uniform to the forms without coating the reinforcement.

- The mould oil (The de-bonding agent) to be applied shall be standard shuttering oil, engine oil or filtered waste oil (Carbon particles and impurities should not be present).

- Plumb and string lines in sufficient numbers shall be installed before and maintained during concrete placement. During concrete placement the contractor shall continuously monitor plumb, string line and form positions.

- In case of columns, retaining walls and vertical structural components suitable arrangement shall be made for securing the form to the already poured concrete.

5.33       Reinforcement for RCC works:

- Unless shown otherwise in the drawings, the reinforcement to be used shall be of High Yield Strength Deformed (H.Y.S.D.) bars of grade Fe-415 conforming to IS 1786-1985.

- Reinforcement shall be steel and shall be free from corrosion, oil, grease, paint or dirt at the time of fixing in position and subsequent concreting.

- Reinforcing steel bars shall conform accurately to the sizes, dimensions and shapes given as per designs and drawings. Bars shall be bent cold to the specified shape and dimensions and the bars shall be hooked or bent accurately and placed in exact position as per designs and drawings. Bars having kinks or bends other than those required by design shall not be used.

- Bars of full length shall be used. Reinforcement shall be lap jointed or spliced only if unavoidable. The overlaps shall be staggered for different bars and located at points, along the span where neither shear nor bending moment is maximum.  Not  more than 33% of the bars as specified in drawing shall be lapped at one section.

- The reinforcement shall  be securely held in position and bound together tight  by annealed binding wire, and by using stays, blocks or metal chairs, spacers, metal hangers, supporting wires or other approved devices at sufficiently close intervals.

- Bars shall not be allowed to sag between supports.    Layers of bars shall be separated by spacer bars, pre-cast blocks or other approved devices.  Binders, stirrups, links should be securely wired to the main ring.

- Binding Wire: Wire for binding reinforcement shall be soft and annealed mild steel of 16 SWG and shall conform to IS: 280-2006. Binding wire shall have tensile strength of  not less than  5600 Kg/Cm2  and a yield point of less than 3850 Kg/Cm 2.

- Proper cover shall be maintained between the reinforcement and the shuttering as per approved drawings and IS codes.

- The contractor shall ensure that the bars are not displaced during concreting or any other operation over the work. The contractor shall also ensure that there is no disturbance is caused to the reinforcing bars in concrete that has already been placed.

- All bars protruding from concrete and to which other bars are to be spliced and which are likely to be exposed for an indefinite period shall be protected by a thick coat of neat cement grout.

      - Measurement and payment

- Measurement:

Measurement for payment for the reinforcing bars will be made only on the calculated weight of the bars placed in concrete, in accordance with the drawings or as directed by the engineer. The calculated weight for reinforcing bars shall be determined as follows:

- Reinforcement shall be measured in length separately for different diameters as actually used in the work including the lengths of hooks at ends, spacer bars; reinforcement chairs and overlaps to the extent permitted by Engineer-in-charge.  All such measurement shall be jointly recorded by he Engineer-in-charge or his representative and the contractor along with detailed bar bending schedules drawn and documented in Measurement books for approval by consultant.

- From the length measured, weight of reinforcing bars shall be calculated on the basis of weights specified in the table in this section.

- Wastage and annealed steel wire for binding shall not be measured as the cost of these items were already included in the unit rate for reinforcement.

Payment rate

The unit  rate in the bill of quantities for reinforcement   is  inclusive of  the cost of all wastage of steel and the cost of  binding wire or welding materials at site of work, cover blocks and cost of all incidental and operational charges in cutting , bending ,cleaning , placing , binding  or welding and fixing in position  as shown on the drawings and as necessary to complete the work as per specification.

5.36	     Cover Blocks

a) 	Before concreting, cover blocks shall be fixed in all R.C.C works to separate the reinforcement from the shuttering so that when the concrete is set the reinforcement is well within the concrete section at a distance from the outer surface, with specified cover to reinforcement.

b) 	Use of stone chips as cover for the reinforcement will not be accepted.    Only cement mortar cover blocks of required thickness to maintain the specified cover shall be used.

c) 	Normally a bottom cover of 12mm to 15mm is sufficient for slabs.  For columns the cover should be about 40mm, and for beams it is 25mm.

d) 	Cover blocks shall be reasonably good for using in appropriate grade of R.C.C. work. The mortar for preparing cover blocks shall at least be of proportion 1:2.  Cover blocks shall be prepared on a clean and level platform by spreading the mortar in the moulds of required size and depth.  When the mortar is still green strands of tying wire shall be inserted into each block. This wire is useful for tying the block to the reinforcement.  After 24 hours the blocks shall be removed from the mould and cured for about seven days.

e) 	A properly made cover block does not get crushed when the reinforcement is tied over it and during the concreting work.

5.37		Reinforcement chairs

a) 	When the reinforcement is tied there is a need to separate bottom steel from the top steel and to maintain correct effective depth.

b) 	For ensuring separation to top and bottom steel and to ensure that the reinforcement work does not get disturbed due to the load or movement of workers when concrete is being laid, reinforcement   spacers or chairs shall be fixed.

c) 	Use of large sized stones or bricks to separate top and bottom steel will not be allowed.

d) 	Reinforcement chairs shall be of slightly lesser size so as to accommodate the chair underneath the top steel and after allowing for the required covers to the top and bottom steel.

e) 	The chair shall be minimum 450mm long and should have legs bent in opposite directions to ensure stability,

f) 	The chairs shall be placed on a cover block so that the legs do not stick out once the shuttering is removed.

5.38	Removal of Form work: Centering and shuttering shall be removed after maturity gradually without jerking. Before removal of the shuttering the concrete shall be examined properly. Form shall not be released until the concrete has achieved strength of at least twice the stress to which the concrete may be subjected at time of removal of form work. The strength referred to shall be that of concrete using the same cement and aggregates, with the same proportions and cured under conditions of temperature and moisture similar to these existing on the work.  Where possible, the form work shall be left longer as it would assist the curing.

Stripping Time: In normal circumstances where ordinary Portland cement is used and adequate curing is done, form work may generally be removed after expiry of the following period:

Type of Formwork	Minimum Period Before

Striking Formwork

a)	Vertical formwork to columns, walls, beams	24-48 hours

b)	Soffit formwork to slabs (Props to be re-fixed

Immediately after removal of formwork)	3 days

- Soffit formwork to beams/ Flat slabs

(Props to be re-fixed immediately	 7 days

after removal of formwork)

d)	Props to slabs:

1)  Spanning up to 4.5 m	7 days

2)  Spanning over 4.5 m	14 days

e)	Props to beams and arches:

1)  Spanning up to 6 m	14 days

2)  Spanning over 6 m	21 days

The number of props left under the concrete element, their sizes and dispositions shall be such that they shall be able to safely carry the full dead load and live load likely to occur during further construction.

The contractor shall be liable for damage and injury caused by removing the forms or props before the concrete has gained sufficient strength.

5.39	      Conditions on RCC slabs/  Roof Slabs

5.39.1 	The R.C.C. slab laid should be leak proof.  After observing for two rainy seasons as defect liability period if the roof or floor is found to be perfectly leak proof and no moisture or dampness is seen underneath at ceiling of the slab, the contractor can ask for refund of E.M.D. or F.S.D. from the University.  If there are any defects noticed after laying of roof they must be attended to by the contractor at his own cost.  Further the contractor must arrange to get the structure treated as per clause 21 of ISI code No.456/2000 at his own cost on the instructions of the University.

When R.C.C. slab is laid, the contractor shall carry out the following tests at his own cost to prove that the slab is impervious.

- After the centering is removed and curing period is over the slabs shall be put to test by stagnating  water of 15 cms  depth for one week and watched carefully to test the leakages if any.

- If there are any leakages, the contractor shall immediately rectify the same at     his own cost through pressure grouting or other methods suggested by Engineer-in-charge or consultant and again test the same to see that there are no leakages. No payment will be made to the contractor on this account either for testing or for rectifications thus carried out.

- The officer observing the leakage test shall issue a certificate to this effect before final bill is made.

    - The variation thickness of R.C.C. roof slab due to varying spans, or special covering materials should not effect the general roof bed which should be uniform unless otherwise shown in drawings or instructed.

    - For all slabs to be laid MS hooks to be provided as directed by the University for fixing fans and lights etc., G.I. pipes or PVC pipes has to be provided as directed by the University in the masonry walls or concrete at the specified places  for making electrical wiring.

| TABLE – IV |
| --- |
| For Vibrated Reinforced Concrete Items (V.R.C.C.) |  |
| Characteristic Strength of Cube at the age of 28 days of curing |  |
|  | M-25 | 1:1:2 | 25 N/mm2 | = | 250 Kgs / cm2 |
|  | M-20 | 1:1½:3 | 20 N/mm2 | = | 200 Kgs / cm2 |
|  | M-15 | 1:2:4 | 15 N/mm2 | = | 150 Kgs / cm2 |

5.40	Cement Plastering in two coats CM 1:6 & CM 1:4 (APSS 901, 903 & 904)

- The surface shall be prepared by roughening of the back ground and raking the joints. The surface of the wall shall be kept wet for 2 hours before plastering.

- Guides: Patches of 15cm X 15cm of required thickness at not more than 2 meters intervals horizontally and vertically shall be applied over the entire surface truly in the plane and truly plumb to serve as guides.

- Plaster shall be started from the top and worked down towards plinth. The work shall be tested frequently with a plumb bob and straight edge.

- The Mortar in 1:6 proportions shall be dashed and pressed over the surface and then brought to smooth and uniform surface by means of float and trowel.  The plaster shall be well pressed into the joints.

- After the first coat the surface is left rough to receive the second coat.  The final coat shall be applied a day or two after the first coat put on has set, but the first coat shall not be allowed to dry.  The final coat shall consist of 1 part of cement to 4 parts of fine sieved sand and shall be applied as in the first coat and brought to a uniform surface and then finished with a sponge to give granular appearance.

- All corners, junctions and arises shall be brought truly to a line, level and plumb.

- The finished surface shall be watered for a period of at least 10 days.

- Theoretical requirement of cement for plastering should be as follows :-

Cement bags of 50 kgs.

a.	12 mm plastering in C.M. (1:5)& C.M. (1:3)	1.02 bags per 10 Sqm.

b.	12 mm plastering in C.M. (1:6)& C.M. (1:4)	0.82 bags per 10 Sqm.

c.	20 mm plastering in C.M. (1:6)& C.M. (1:4)	1.15 bags per 10 Sqm.

d.	12  mm  plastering  in  C.M.  (1:4)	1.08 bags per 10 Sqm.

e.	  12 mm plastering in C.M. (1:6)		         0.72 bags per 10 Sqm.

5.41	Water proof plaster over the roof

- On the clean wet surface of the concrete slab, before it has set, a layer of cement plaster shall be laid to give an average depth of 20mm over the concrete.

- The Mortar to be used shall be of CM 1:3 proportions mixed thoroughly with a standard water proofing material with water repelling properties to ensure non-absorption.

- Gauges should be put on the floor about ten feet apart to ensure even thickness.

- Plastering must be done in squares or strips to avoid cracks.  After the floor has been completed, it shall be covered with two inches of grass; sand or saw-dust and kept wet for three weeks.

5.44	Flooring: (APSS 701 & 702)

5.44.1   Granite Flooring:

Flooring shall be with high polished colour granite stone slabs 18 to 20 mm  thick of size not less than 2.40 mts length, laid over existing RCC slab or CC bed.

All the stones in one room shall be preferably of same width and shade. The width of all the slabs in one row must be uniform with longitudinal joints parallel to each other.

The joint width shall be kept minimum and the sides of the slab shall be chisel dressed to ensure a correct joint.

5.44.2 	Granolithic concrete flooring (APSS No. 701 & 710)

The mix proportions for the Granolithic concrete floor topping shall be (1:2:4) (Cement : F.A. : C.A) by volume. The minimum amount of water which will give necessary workability for adequate compaction shall be added. The grading of the course aggregate for Granolithic concrete shall be from 6mm to 12mm. The finished thickness of flooring shall be 50mm thick or as specified in the approved drawings and the panels into which the floor is divided for laying the Granolithic concrete shall not have any panel dimensions in excess of 5.0m.

6.7	Bearings of R.C.C. Slabs & Beams

a) 	Where supports are not monolithic with the beam or slab the bearing surface shall be plastered with cement mortar 1:3 with the craft paper laid over the plaster, before laying the concrete.

b) 	The vertical face of the masonry rebate at bearings shall be plastered smooth with CM 1:3. For beams the craft paper shall be continued to the sides by folding the paper neatly to the plastered vertical face of the masonry opening.

6.8       Load testing of structures

Load testing of structures shall conform to SS No. 403 APSS.  Load tests on completed structures shall be made as  required by the specifications or condition of contract or by the Engineer-in-Charge or as directed by the consultant  in the event of reasonable doubt as to the adequacy of the strength of the structure.  Such tests shall be carried out after expiry of 56 days of effective hardening of the concrete test loading of structures, allowable deflections, recovery of deflection etc., shall be as per clause 17.6 of IS: 456-2000.

7.0  	Safety Specification:

7.0.1	All the necessary safety appliances as per IS: 4130 shall be issued to  the  workers  and  their use explained. It shall be ensured that the workers are using all the safety appliances while at work.

7.0.2	Walkways and passageways shall be provided for the use of the workman who shall be instructed to use them and all such walkways and passageways shall be kept adequately lighted, free from debris and other materials.

7.0.3	During night, red lights shall be placed on or about all the barricades.

7.0.4	All the roads and open area adjacent to the work site shall either be closed or suitably protected.

7.0.5	All nails in any kind of lumber shall be withdrawn, hammered or bent over as soon as such lumber is removed from the structure and placed in pipes for future cleaning or burning.

7.0.6	No electric cable or apparatus which is liable to be a source of danger or a cable or apparatus used by the operator shall remain electricity charged.

7.0.7	Where in any work of demolition it is imperative, because of danger existing to ensure that no unauthorized person shall enter the site of demolition outside working hours, a watchman should be employed. In addition to watching the site, he shall also be responsible for maintaining all notices, lights and barricades.

7.0.8	On every demolition job, danger signs shall be conspicuously posted all-round the structure and all door openings giving access to structure shall be barricaded or marked except during the movement of actual workmen or equipment. However provision shall be made for at least two independent exits for escape of workmen during any emergency.

7.0.9	The removal of a member may weaken the side wall of an adjoining structure and to prevent possible damage, these walls shall be supported until such time as permanent protection is provided. In case any danger is anticipated to the adjoining structure the same shall be got vacated to avoid any danger to  human life.

7.0.10	The power on all electrical service lines shall be shut off and all such lines cut or disconnected at or outside the property line, before the demolition work is started.  Prior to cutting of such lines the necessary approval shall be obtained from the electrical authorities concerned for demolition work itself.

7.0.11	All gas, water, steam and other service lines shall be shut off and capped or otherwise controlled at or outside the building line, before demolition work is started.

7.0.12	All the mains and meters of the building shall be removed or protected from damage.

7.0.13	If a structure to be demolished has been partially wrecked by fire, explosion or other catastrophe, the walls and damaged roofs shall be shored or braced suitably.

7.0.14	All practical steps shall be taken to prevent danger to persons employed from risk of fire or explosion or flooding. No floor, roof or other part of the building shall be so overloaded with debris

LIST OF APPROVED BRANDS/ NAMES OF APPROVED MANUFACTURERS/ SUPPLIERS

| Sl. No | NAMES OF THE ITEMS | NAMES OF THE APPROVED BRAND/ MANUFACTURER/ SUPPLIER |
| --- | --- | --- |
| 1 | WALL & FLOOR TILES | Somany, HR Jhonson, Naveen Ceramics, Kajaria, Nitco, Sphinx |
|  | TILE ADHESIVES | Laticrete |
| 2 | PAVING & INTERLOCKING TILES | Super Decorative, Aditya Designer,Maha Bhima,Tricon, Pheonix, Eurocon, Ultra, Sphinx |
| 3 | FIXTURES FOR DOOR & WINDOWS | Jyoti, Classic, Hardwyn |
| 4 | PAINTS & POLISHES | Asian, Berger, Nerolac, Saicoat, Indocem, PMCC, ESSAR, Sheenlac, Altek, Suryacem, Neon, |
| 5 | PARTICLE BOARDS | NCL Bison, Ramco-Hilux, Everest-board, Visakha-board, Rajshri, Innsula, Aerocon, Aerolite |
| 6 | CEILINGS, WALL PARTITIONS & WALL LININGS | NCL Bison, Ramco-Hilux, Everest-board, Visakha-board, Rajshri, Innsula, Gypsum India, Armstrong |
| 7 | DOORS/ FLUSH DOORS | Anand, Raavila, Kutty, Standard, Shubhdwar, ITP, Rajshri, NCL-Bison, Elixir, Sintex, Elgi, Polywood, Sintex, NCL, Fenesta, LG, Masonite |
| 8 | WINDOWS | NCL-Bison, Elixir, Sintex, Elgi, Polywood, NCL, Fenesta, LG |
| 9 | STRUCTURAL GLAZING | NCL-Bison, Elixir, Sintex, Elgi, Polywood, Sintex, NCL, Fenesta, LG |
| 10 | EXPANSION JOINT FILLERS | Silseal, Silflex, Armour, Shalitex |
| 11 | MISCELLANEOUS ITEMS | Sintex for PVC tanks, Centurywells for Galvalume sheets, Elixir for PEB structures |
| 12 | CEMENT | L&T, ULTRATECH, Kesoram, Orient |
| 13 | HYSD Steel – Fe-500 | Sail, TATA, VSP, Jairaj, Sarwottam, Sujana |
| 14 | SANITARY FITTINGS | Neycer/ Parryware/ Hindware |
| 15 | Water supply pipes – GI pipes | Tata/ Zenith |
| 16 | Drainage pipes – SWR pipes | Sudhakar/ Supreme/ Nandi |

C1.GENERAL   SCOPE   OF   ELECTRICAL   INSTALLATION    WORK.

1.0    IMPORTANT NOTE.

The contractor, upon agreeing and signing the agreement to execute this work, is assumed to have read and understood, all  the   explanations descriptions / instructions / drawings and notices, etc., to the best  of his knowledge  and  is expected to  execute the entire  work  with  good engineering practice and in  good faith. Nevertheless should any dispute /ambiguity in interpretation of the words, the contractor shall abide with architects / architects' representatives' interpretation.

2.0    INSTALLATION :

These Specifications are not meant to be exhaustive and prescribe the Minimum acceptable standards.  Where these do not   cover items and aspects, the best engineering practice shall be followed.

Work  shall  be carried out as per the  relevant  IS  standards   (Latest  edition published on date) with present rules and  regulations and  codes issued  by  state/central  electricity  board.  A list of IS codes is attached to these specifications as  an  Annexure.

3.0    SCOPE OF WORK :

The Scope of work covers the supply, installation, testing    and  Commissioning of all that is required for the complete system as      indicated in the appertaining tender specifications and drawings, conforming to the best Engineering practice, starting from the K.E.B.  available   H.T/L.T supply to Transformer yard, Transformer yard to main metering panel, main metering panel to distribution   boards, distribution   boards to light/fan/5A/15A control switches from        switch to individual load points (using  the material to the        specification/approved works as stated in  the specification) and wiring of telephone,  T.V  and call bells, providing  earthing with necessary G.I. tape/wire.

4.0    DEFINITIONS

The following abbreviations used in the bill  of  quantities,  specifications and drawings represent :-

IS         	:  Indian Standard Specifications.

BS        	:  British Standard.

HRC       	:  High Rupturing Capacity.

GI         	:  Galvanised Iron.

MS         	:  Mild Steel.

CI         	:  Cast Iron.

APLSTS     	:  Aluminium Conductor, Paper Insulated Lead,

Sheathed, Double Steel Tape Armored and Served.

XLPE       	:  Cross Linked Polythene.

PVC        	:  Poly Vinyl Chloride.

HT         	:  High Tension.

LT        	:  Low Tension.

AMP        	:  Ampere.

KV         	:  Kilo Volts.

PT         	:  Potential Transformers.

CT         	:  Current Transformers.

MOCB       	:  Minimum Oil Circuit Breakers.

SF6        	:  Sulphur Hexafluoride Breakers.

VCB        	:  Vacuum Circuit Breaker.

ACB        	:  Air Circuit Breakers.

MCCB       	:  Moulded Case Circuit Breakers.

ELCB       	:  Earth Leakage Circuit Breakers.

CFS        	:  Combination Fuse Switch.

MCC        	:  Motor Control Cube.

PMCC       	:  Power and Motor Control Cube.

MLP        	:  Main lighting Panel.

MCB        	:  Miniature Circuit Breaker.

FDB        	:  HRC Fuse Distribution Board.

LDB        	:  Lighting Distribution Board.

PDB        	:  Power Distribution Board.

KVA        	:  Kilo Volts Ampere.

KW         	:  Kilo Watts.

HP         	:  Horse Power.

SWG        	:  Standard Wire Gauge.

5.0    DETAILED SCOPE OF WORK

Supply of various equipments, unloading, receiving inspection, storing, transportation to work site, handling, assembling,  cleaning,  mechanical erection, chipping of foundations,  installation, alignment, testing  and commissioning and  handling   over in working  condition  of  all  items covered below but not  limited to them.

a)  HT/LT Power and Control Cables.

b)  HT Panel and control cables.

c)  Metal Clad Switches, sockets, conduiting, wiring.

d)  Lighting   fixtures   and   accessories   and   lighting installation.

e)  Lighting and Power Distribution Boards,

f)  Metering Cubile.

g)  Transformer

h)  D.G.set

i)  Earthing station/materials, lightning protection system.

k)  Telephone/Intercom system.

l) Any other items specified in Schedule of Quantities.

5.1    Minor  civil  works  like drilling and punching holes  and  openings   in concrete   floors,  slabs,  brick  walls, and making good of the same to original condition to owner’s satisfaction, fabrication  of  supporting structures, drainage of water from cable trenches,  cleaning and clearing of all debris due to electrical  installation.

5.2    Excavation, scaffolding, back filling for direct burial of   cables  and earthing conductors

as applicable.

5.3    Preparation of execution drawings and as built-in-drawings.

5.4  Coordination with other contractors with regard to installation  of items in Electrical Contractors scope.

5.5  The extent of work services under the contract include all items   shown  on the drawings, indicated in companion specifications,  notwithstanding the fact that such items have been omitted from  the price schedule.  All equipments and services which are  required to complete the intent of the contract shall also be  deemed to be within the scope of the contract.

5.6    After   receiving the materials, inspection of not only    the  material  supplied  by  him  but  also those supplied by  the  Owner      shall  be  reported to the Owner/Architect with his comments.

6.0    MATERIALS

The  materials  listed under "APPROVED MAKE' only shall  be  used.   All materials, equipments,  fittings, etc. used in the   installation  shall conform  to  the  latest relevant IS. In case  of   materials  for  which standards specifications  do  not  exist, the   material  shall  be  got approved by the Architects before start of  work.

The   work covered under this contract will require best   quality workman ship   and construction management. The   specification   also requires execution of work in the

most expeditious manner so as   to ensure successful completion of the project.

7.0    CODES, REGULATIONS AND STANDARDS

The installation shall conform in all respects to Indian Standard Code of Practice for Electrical Wiring Installation I.S. 732-1982.  It shall also be  in conformity with the current Indian Electricity Rules Safety  Codes and  the  Regulations  and requirements of the  Local  Electrical  Supply Authority.  Wherever this specification calls for a higher  standard  of materials  and/or  workmanship then those required by any  of  the  above  regulations,  this  specification  shall take precedence  over  the  said regulations  and  standards. In general, the materials, equipments and workmanship  not  covered  by the above shall conform  to  the  following Indian  Standards (latest), unless otherwise called for. Nothing  in  the enclosed  specification shall be construed to relieve the  contractor  of his responsibility.

7.1    Heavy duty air break switches &  composite units of air break   switches and fuses for

voltages  not exceeding 1000 V.  :  IS 4047-1967

7.2  Specification for enclosed distri-  bution fuse boards & cutouts for  voltages not exceeding 10000 Volts.   :  IS 2675-1966.

7.3   Installation and maintenance of  switchgear. :  IS 3072-1975 (Part I).

7.4   HRC cartridge fuse links 650 Volts    :  IS 2208-1962.

7.5   PVC insulated (Heavy duty) electric   cables Part-I for voltage upto  1100 V.    :  IS 1554-1976.

7.6   Specifications for Rigid steel    conduits for electrical wiring.  :  IS 1653-1973.

7.7   Specifications for accessories for  rigid steel conduits for electrical  wiring. :  IS 3837-1966.

7.8   Boxes for the enclosures of electrical accessories Part-I, Steel & CI boxes.:  IS 5133-

1969 (Part I).

7.9   3 pin plugs and socket outlets        :  IS 1293-1967.

7.10  Code of Practice for Earthing.        :  IS 3043-1966.

7.11  Code of Practice for fire safety  for buildings (General Electrical  Installation)  :  IS

1646-1961.

7.12  Protection of buildings and allied structures against lightning.  :  IS 2309-1969.

7.13  Current Transformers   :  IS 2705-1964

:  (Part I to III)

7.14  Shunt capacitors for power system     :  IS 2834-1964.

7.15  Direct acting electrical indicating instruments.        :  IS 1248-1964.

7.16  Miniature Circuit Breaker.      :  IS 8828-1978.

7.17  Method of measurement of electrical  Installation in buildings     :  IS 5908-1970.

7.18  Guide for Safety Procedures and    practices in Electrical Work          :  IS 5216-1969

7.19  Arrangement of bus bars, main  connection and auxiliary wiring         :  IS 375

7.20  AC Electricity Meters                 :  IS 722

7.21  Degree of protection provided by  enclosures for low voltage  switch gear and control

gear          :  IS 2417

7.22  Dimensions of panel mounted electrical indicating and

recording instruments   :   IS 2417

7.23  Circuit breakers    :  IS 2516

7.24  Air break isolators for voltages  not exceeding 1000V                   :    IS 2607

7.25  Air break switches, air break   disconnect or and fuse combination units for voltages

not exceeding   1000V AC or 1200V DC      :    IS 4064

7.26  General requirements for switch gear and control gear for voltages not exceeding

1000V   :    IS 4247

7.27  Preferred panel cut-out dimension  for electrical relays                 :    IS 4483

7.28  Selection of switches (voltages not exceeding 1000V)                      :    IS 5987

7.29  Control switches for voltages upto  & including 1000V AC and 1200V DC     :    IS 6875

7.30  Factory built assemblies of switch gear and control gear for voltages upto and including

1000V AC   & 1200V DC           :  IS 8623

7.31  Code of practice for electrical wiring  installation                  :   IS 732

7.32  PVC insulated cables for working   voltages upto and including 1100V     :   IS 1554

(PART  I) - 1976

7.33  PVC insulation and sheath of electric cables                       :   IS  5831 - 1970

7.34  Conductors for insulated  electrical  cables                    :   IS  8130  - 1984

7.35  Recommended current ratings for PVC  insulated and PVC sheathed heavy duty

cables     :   IS 3961

7.36  Galvanised round steel wire           :   IS 3975

7.37  Indian Electricity Rules 32, 61, 67  and 68 of IER  1956  ( for Earthing)

8.0    DRAWINGS

The drawings, specifications and bill of quantities shall be   considered as  a  part  of this contract and any work or  materials   shown  on  the drawings and not called for in the specifications  or vice-versa,  shall be executed  as  if  specifically called  for  in  both.   The contract drawings indicate  the  extent  and   general  arrangement  of   various  equipment and their wiring, etc.   and are essentially diagrammatic.  The drawings broadly  suggest the routes to be followed.  The work shall be installed   as  indicated on the drawings. However, any minor change if  found essential to coordinate the installation of this work with  others       trades shall  be made without any additional cost to the   owners.   The drawings and specifications are for the assistance  and guidance of  the contractor only and the exact location,  distances and levels, etc.  will  be governed by the space  condition.

9.0    SUBMISSIONS

9.1    DRAWINGS:

The  contractor shall prepare  and  submit(In Duplicate) to  the Ar-    hitects their approval  execution  drawings and shop  drawings of all   switchboards, distribution  boards,  cable trays,  and any fabricated   items  within  30 days of signing the  Contract.

All the drawings shall be of A-1 standard size.   Lettering shall   be stencilled.  Original tracings shall be submitted.  The drawings shall carry  the Contractor's title block giving his  company's  name and  address, project’s name, and such other details shown in the tender drawings and shall be signed by the Authorised  representative.

9.2  AS BUILT DRAWINGS:  The Contractor shall submit two complete set of original    Drawings  (Reproducibles) and three copies of blue prints of the   latest revised     execution drawings with updated details as per  site conditions.

Note:

Failing to comply with the above, will result in withholding the release of  the retention money, and any other  payments due to  the  Contractor, and issue of virtual completion  certificate.

10.0  SITE ENGINEER

The  Contractor shall employ a competent, licenced qualified  full   time electrical Engineer to direct the work of electrical   installations  in accordance with the drawings and  specifications. The Engineer shall be available at  all times on  the site to receive  instructions  from  the  Architect/Owner in the day to day activities throughout the duration of the  contract. The  Engineer shall correlate the progress of the  work  in       conjunction with all the relevant requirements of the supply   authority. The   skilled  workers  employed  for the  work  should   have  requisite qualifications  and  should  possess  competency   certificate  from  the Electrical Inspectorate of Local  Administration.

11.0   APPLICATION    FOR    POWER   SUPPLY,   FEES,    PERMITS,    TESTS    AND

INSPECTION/APPROVAL BY LOCAL AUTHORITIES:

The  contractor  shall  be  responsible  for  filing  and  follow  up  of  application for getting the drawings/scheme approved  by the   Electrical Inspector  and finally the whole installation shall be  got  approved  by the  lectrical  Inspector.  The contractor shall pay all fees and the same shall  be  reimbursed by the Owners at  actuals  on  Submission  of        receipts.   On completion of this work, the Contractor shall obtain and deliver to  the Architects/Owners  certificate of final  inspection  and approval by the Local  Electrical supply authority.

12.0   GENERAL SCOPE

12.1   The rates quoted by Contractor shall include all necessary MS   channels, angles, etc.

required for erection of panels,  distributioon boards, etc. in floor/walls/cable trenches

as  required.

12.2  The Contractor shall be held responsible for any damage to the equipment consequent to not following the Manufacturer's  instructions  correctly. All necessary drawings, Manufacturer's   equipment manuals shall be furnished to the owners and a copy to  Architects.

12.3   All  thefts  of  equipments/component  parts,  after  take  over  by  the  Contractor, till the installation in handed over to the Owner,  shall  be made good by the Contractor.

12.4  The  Contractor  shall  have  a  separate  cleaning  gang  to  clean  all equipment under erection  as well as the work area at regular   intervals to the satisfaction of the Owner/Architects.  In case the  cleaning  is not to the Owner's satisfaction, he will have  the right to  carry   out the  cleaning  operations and any  expenditure incurred by the  Owner  in       this regard will be to the  Contractor's account.

12.5   The   Contractor   shall  take  aproval  from  the   Architect   of   all positions/location  of  suither/soclaks boxes and prints marked  on   the wall before chorring.

12.6  In order to avoid hazards to personnel moving around the  equipment  such  as  switchgear,  etc. which is kept charged  after   installation  before commissioning, such equipment shall be  suitably cordoned off to  prevent anyone accidentally going near  it.

12.7   The  Contractor  shall  carry out touch-up  painting  on  any   equipment indicated  by   the  Owners/Architects,  if  the  finish   paint  on  the equipment is soiled or marred during installation  handling.

12.8   Equipment  shall  be installed in a professional manner so  that  it   is novel,  plumb, square and properly aligned and oriented.   No   equipment shall  be permanently bolted down to foundation or  structure  until  the alignment has been checked and found  acceptable by the Owner/Architects.

13.0   TESTING AND COMMISSIONING

13.1   All checks and tests as per the Manufacturer's drawings/manuals relevant code  of installation and commissioning for various  types of  equipments shall be carried out by the Contractor as  part of installation work.

13.2   The  Owner  may ask for additional tests on site as in his  opinion   are necessary  to determine that the works comply with  the   specifications,   Manufacturer's guarantees/installations  or  the   applicable  code   of installation.   The  Contractor shall carry out   such  additional  tests also.

13.3   The Owner's authorised representative shall be present during  every test as  called  for  by the  owner.  The Contractor shall   record  all  test values  and  furnish the required copies of the test data to  the  Owner. Electrical circuits and  equipments shall be energised or used at nominal operating   voltage  only  after  such  reports  have  been  accepted  as   satisfactory by the Owner.

14.0   TOOLS, TACKLES AND OTHER MATERIALS

14.1   The  contractor shall also furnish all necessary consumables like  anchor bolts  and  nuts,  rawl plugs, hacksaw blades, taps,  dies,  files,  wire  brushes,  necessary  pipe  scafolding,  ladders,  wooden  and  consumable  material  like oxygen, acetylene, greases, cleaning  fluids,  fasteners, gaskets,  temporary  supports, cotton waste and all  other  miscellaneous supplies  of  every  king required for carrying out the  work  under  the contract.

14.2  The  contractor  shall not dispose off transport or withdraw  any  tools, tackles, equipment and material provided by him for the contract  without  taking  prior written approval from owner/architect.  Owner/Architect  at all  times shall have right to refuse permission for disposal,  transport or  withdrawal  of  tools,  tackles, equipment and  material  if  in  his position,  the  same  shall  will  adversely  affect  the  efficient  and expeditious completion of the project.

15.0   HANDING OVER AND TAKING OVER OF WORKS/EQUIPMENT/SYSTEMS

The  contractor  shall  hand  over and the  Owner  shall  take  over  the works/equipment/systems covered under this contract only after they  have been completely installed, tested and commissioned in all respects by the Contractor  to the entire satisfaction of the Owner/Architect  and  after the  entire  satisfaction  of  the Owner/Architect  and  after  the  said works/equipments/systems   have   been  certified  fit   for   commercial operation. Incomplete/partly commissioned works/equipment/system will not be  taken  over  by  the Owner.  In this  regard,  the  decision  of  the Owner/Architect will be final and binding on the Contractor.

16.0   SAMPLES

The  Contractor  shall  submit two sets of  samples  of  accessories  and apparatus  to  be  proposed to use in the  installation  to  the  Project Manager/Architects  along  with  execution  for  approval.   Drawings  of samples  as  required, shall be submitted by the Contractor  without  the written  instructions  from the project manager/architects.   The  verbal approval given by the Architects to any drawings or samples submitted  by the  contractor  shall  in no way exonerate  the  contractor  from  their liability to carry out the work in accordance with the forms of contract.

17.0   CHANGE IN QUANTITY

Purchaser  reserves the right to amend the quantities to be supplied  and erected  as

necessary and for any such amendments the unit rates  offered by Contractor shall

apply.

18.0   ACTUAL QUANTITIES

The Contractor shall verify the   exact   quantities   of materials/equipments/cables,  etc., required after site  measurements  as per execution drawings by the engineer before procuring the same.

B.SPECIFICATIONS   FOR  WATER   SUPPLY    AND   SANITARY   WORKS

1.0 GENERAL

SCOPE OF WORK :

The  general  character and the scope of work to be carried  out       under

this  contract  is illustrated in the drawings  and  specification  attached

herewith.  The contractor shall carry  out and complete the said work  under

this contract in every respect in conformity with the rules and  regulations

of the local authority.  The contractor shall furnish all labour, supply and

install  all  materials, appliances,tools & equipments  necessary  for   the

complete installation as specified herein as per the relevant ISI codes  and

as  shown  on the drawings.This also includes any  material,  appliances  or

equipment  not  specifically mentioned herein or noted on  the  drawings  as

being furnished or installed but which are necessary and customary to make a

complete installation as shown on the drawings or described herein, properly

connected and in working order.

In General, the work to be performed under this contract shall comprise  the

following:

a) All  incidental jobs connected with plumbing  services     installation,

such  as excavation in trenches and back    filling, cutting  chases  in

concrete  and brick and making    good, cutting/drilling  holes  through

walls, floors, and    grouting for fixing of fixtures, equipment etc.

b) Furnish    and   install   a  complete   workable,   plumbing   services

installation   as   shown  on  the  drawings  and  described   in   this

specification and as per the latest ISI specifications    including  all

that is reasonably inferred.

c) Complete  installation of internal and external water supply    system.

d) Complete  installation  of  the sewerage and  sewerage     appurtenances

internally, as well as around the building.

e) Complete installation of all sanitary and plumbing fixtures.

f) Co-operation with  other crafts in putting the installation    in place.

Any work done without regard or consultation    with other trades, shall

be removed by the contractor    without additional cost to the owner, to

permit the proper    installation of all other work, as described by the

architects.

g) Repair   all  damages  done  to  the  premises  as  a  result  of   this

installation and remove all  debris  left  by those engaged    for  this

installation to the satisfaction of employer.

h) Cleaning   of   all   plumbing  fixtures,  testing   and   showing   the

satisfactory  performance of all the fixtures at the time of     handing

over the building  to the owners/architects.

i) It  is the responsibility  of the contractor to take care of    all  the

fixtures   fitted   until    the  time  of  handing   over   to      the

owners/architects.

j) Painting of all concealed and exposed pipes as specified.

k) Assume full reponsibility  of all required applications and    costs, to

connect to corporation water mains, sewers and    storm water drains, to

the extent these are applicable to    this installation.

1.1    REGULATIONS AND STANDARDS:

The  installation shall conform in all respects to the  following  broad

list of standards in general:

IS  1726 - 1960     : Code for cast iron manhole frame  and cover.

IS 1742 - 1960      : Code of practice for building drainage.

IS 2064 - 1962      : Code   of  practice   for   selection,  installation    and   maintenance   of

sanitary appliances.

IS 2065 - 1963      : Code of practice for water supply in buildings.

IS 1172 - 1971      : Code of  Basic requirements for  water  supply, drainage & sanitation (revised)

IS 3114 - 1965      : Code  of  practice  for  laying  of CI pipes.

IS 4111 - 1967      : Code   of   practice   for   Ancillary  structures in Sewerage System.

IS 4127 - 1967      : Code  of  practice  for laying  glazed stoneware pipe.

IS 1626 - 1960      : AC building pipes,gutters and fittings (spigot and socket type)

IS 3989 - 1970      : Centrifugally cast spun iron & socket  soil and ventilating  pipe,  fittings

and accessories.

IS 1239 - 1968      : Specifications  for  mild  steel tube,  Part I  tubular and other steel pipe

fittings.

IS 1239 - 1968      : Specifications  for  mild  steel tube,  Part II  tubular and other steel pipe

fittings.

IS  651 - 1965      : Specification for Salt Glazed stoneware pipes and fittings (first revision).

IS  780 - 1969      : Specification for sluice valves for  various purposes

IS  1703 -1703      : Specification for ball valves(horizontal   plunget  type) including floats  for

water supply purposes.

IS  1726 - 1974

Parts I,II,III,IV   : Specification for CI manhole  covers and  frames  intended  or  use   in  drainage

work.

IS  1742 - 1972     : Code  of  practice  for  building   drainage.

IS  1975 - 1974     : Specification for pillar taps.

IS  2064 - 1973     : Code of practice for selection,  installation   and  maintenance   of    sanitary

appliances.

IS  2065 - 1973     : Code of practice for water supply in buildings.

IS  2373 - 1973     : Specification for water meters(bulk  type).

IS  5455 - 1969     : Heavy CI steps for manholes.

IS  5961 - 1961     : CI grating for drainage.

IS  4984            : SDPE  pipe  for  water  supply  &   sewerage.

IS  4985- 1981      : Specification for UPVC pipes for  potable water supplies.

BS  4515            : Specification for UPVC pipe fittings.

IS  4350            : PVC fittings.

IS  7834 - 1975     : PVC fittings.

IS  53822           : GI pipes and fittings.

The  installation  shall  also  be in conformity  with   the   by-laws  and

requirements of the local authority in so far as these become applicable to

the installation.  Wherever this specification calls for a higher  standard

of  materials  and/or workmanship than those required by any of  the  above

regulations  and standards, then this specification shall  take  precedence

over   the   said  regulations  and  standards.   Wherever   drawings   and

specifications  require something which will violate the  regulations,  the

regulations shall govern.

1.2 FEES, PERMITS AND TESTS :

The  contractor  shall  obtain and  pay for any and all  fees  and  permits

required for the installation of this work. On completion of the work,  the

contractor  shall obtain and deliver to the  owner/architect,  certificates

of  final  inspection and

approval by the local authority.The owner/architect shall have ower to

require the  materials or work to be tested by an independent agency at the

contractor's expenses in order to prove their soundness and adequacy.

1.3 DRAWINGS AND SPECIFICATIONS :

The   drawings  and  specifications shall be considered  as  part  of  this

contract and any work or materials shown on the drawings and not called for

in  the specifications or vice versa shall be executed as  if  specifically

called for in both.  The contract drawings indicate the extent and  general

arrangement  of  the  fixtures, drainage system,  etc.and  are  essentially

diagramatic.  The drawings indicate the points of supply and termination of

pipe  runs and  broadly suggest the routes to be followed.  The work  shall

be  installed  as  indicated on the drawings.  However  any  changes  found

essential to co-ordinate this work with others trades shall be made without

any additional cost. The data given herein and on the drawings is as  exact

as  could  be  secured, but its complete accuracy is  not  guaranteed.  The

drawings  and  specifications are for the assistance and guidance   of  the

contractor,  and  exact  location,  distance  and  levels  will          be

governed   by  the   individual  building and  site  conditions.  Therefore

approval of the architects shall be obtained before commencement of work.

1.4  At the completion of the work,the contractor shall  furnish  necessary

information  like invert levels and layout of pipe line, etc.  and  produce

final completion drawings to the owner/architect on  tracing cloth.

1.5 MANUFACTURER'S INSTRUCTION :

Where manufacturers have furnished specified instructions, relating to  the

materials  used in this job, covering points not specifically mentioned  in

these documents, these instructions shall be followed in all cases.

1.6 CHANGE IN DIMENSIONS :

If  the  size of the fixtures mentioned is not available,then  the  nearest

available size shall be fixed with due consent of the owner/ architect.

1.7 MATERIALS :

Materials  shall  be of the best approved quality  obtainable  and  unless

otherwise  specified they shall conform to the respective Indian  Standards

Specification.

1.7.1  Samples of all materials shall be as per the list of approved  brand

manufacture  which shall be got approved before placing the order  and  the

approved samples shall be deposited with the owner/architect.

1.7.2  In  the case of non-availability of materials  in  metric  sizes,the

nearest  size  of FPS units shall be provided with prior  approval  of  the

owner/architect, for which, no extra will be paid.

2.0 DRAINAGE :

2.1 STONEWARE PIPE AND FITTINGS :

Stoneware  pipes  and  fittings shall comply with IS 651 -  1965  in  every

respect  and  all stoneware pipes, bends, etc. shall be of  the  best  salt

glazed  variety,  glazed  inside as well as  outside,  hard,  smooth,  even

textured, free from fire cracks, air blows and blisters.  The pipe shall be

truly circular in cross section, perfectly straight and of standard nominal

diameter, length and depth of socket.

2.1.1  TRENCHES  FOR S.W PIPE DRAINS :

Alignment and Grade : The   drains  are  to be laid to alignment gradients

shown  on  the  drawings but subject  to such modifications,  as  shall  be

ordered  by the architects from time to time, to meet the  requirements  of

the works. No deviations from the lines, depths of cutting or gradients  of

sewers  shown in the plans and sections shall be permitted, except  by  the

expressed direction in writing, of the architects.

2.1.2 OPENING OUT TRENCHES :

In excavating the trenches, etc. the road metalling, pavement kerbing, etc.

are  to  be  placed on one side and preserved for  reinforcement  when  the

trench  or  other excavation shall be filled up and laid back  to  original

condition at no extra cost.

Before  any  road  metal is replaced, it shall be  carefully  shifted.  The

surface  of all trenches and holes shall be restored and maintained to  the

satisfaction  of the owner. The contractor shall not cut or break down  any

live  fence  or trees in the line of the proposed works  but  shall  tunnel

under  them unless the owner/architect shall order to the  contractor.  The

contractor shall scrub up and clear the surface over the trenches and other

encumberances  affecting execution of the work and shall remove  them  from

the site to the approval of the        architects.

2.1.3 CONSTRUCTION OF ROADS :

All  works across the roads shall be carried out as per the  directions  of

the owner/architect.

2.1.4 EXCAVATION TO BE TAKEN  TO PROPER DEPTH :

The  trenches  shall be excavated in all conditions of soil and to  such  a

depth  that  the  sewer  shall rest as described  in  the  several  clauses

relating thereto and so that the inverts may be at the levels given on  the

section. In bad ground, the architect  may order the contractor to excavate

to a greater depth than shown on the drawings to fill up the excavation  to

the  level  of  the  sewer  with  the  concrete,  sand,  gravel  or   other

materials.For  such  materials,the contractor shall be paid  extra  at  the

rates   laid  down for such works in the schedule, if the extra  work   was

ordered  by  the owner/architect in writing. But if the  contractor  should

excavate the trench to a greater depth than is required without a  specific

order  to that effect in writing by the architects, the extra  depth  shall

have  to  be filled up with concrete at the contractor's own  cost  to  the

requirements and satisfaction of the architects.

2.1.5 REFILLING :

After  the sewer or other work has been laid and proved to be water  tight,

the  trench  or other excavation shall be refilled. Utmost  care  shall  be

taken  in doing this, so that, no damage shall be caused to the  sewer  and

other  permanent works. Filling in the trenches and upto 50cms.  above  the

crown  of the sewer shall consist of the finest selected  materials  placed

carefully  &  consolidated. After this has been laid, the trench and  other

excavation  shall  be refilled  carefully in 15cms. layers  with  materials

taken from the excavation, each layer being watered and consolidated.

2.1.6 THE CONTRACTOR SHALL RESTORE SETTLEMENT AND DAMAGES :

The  contractor shall, at his own cost,make good promptly during the  whole

period the works are in hand, any settlement that may occur in the surfaces

or roads, berms, foot paths, gardens, open spaces, etc., whether public  or

private, caused by his trenches or by his other excavation and he shall  be

liable for any accidents caused thereby. He also shall at his own  expenses

and charge, repair and make good any damage done to the buildings and other

properties.

2.1.7 DISPOSAL OF SURPLUS SOIL :

The contractor shall at his own cost and charge, dispose within the  site

all  surplus excavated material not required to be used on the works, to  a

distance of 300 m maximum.

2.1.8 TIMBERING OF SEWER AND TRENCHES :

The  contractor shall at all times, support efficiently and  effectively  ,

the  sides  of  the  sewer  trenches  and  other  excavations  by  suitable

timbering, piling, sheeting, etc.  All timbering, sheeting and piling  with

their  wallings and supports shall be of adequate dimensions  and  strength

and  fully  braced  and strutted so that there is no risk  of  collapse  or

subsidence  of  the  walls  of the trench. The  contractor  shall  be  held

accountable and responsible for the sufficiency of all timbering,  bracing,

sheeting  and piling used   and  for  all damages to persons  and  property

resulting  from  the improper quality, strength, placing,  maintenance   or

removal of the same.

2.1.9 REMOVAL OF WATER FROM SEWER, TRENCHES, ETC.

The  contractor  shall at all times during the progress of  work  keep  the

trenches and excavations free from water which shall be disposed of by  him

in  a manner as will neither cause injury to the public health nor  to  the

work  completed or in progress nor to the surface of any roads  or  streets

nor cause any interference with the use of the same.

2.1.10 The width of excavated trench shall be as per the table given below.

Width of bottom

---------------------|---------------------

Upto 100 mm dia pipe | Upto 150 mm dia pipe

----------------------------------------------|---------------------

Excavation upto                         |

|

90 cms depth                33 Cms     |          33 Cms

90 to 150 cms depth         60 Cms     |          60 Cms

150 to 300 cms depth        75 Cms      |          75 Cms

300 to 500 cms depth        90 Cms      |         100 Cms

2.1.11 PROTECTION OF EXISTING SERVICES :

All pipes, water mains, cables, etc. met in the course of excavation, shall

be carefully protected and supported.

2.1.12 CONCRETING :

All  pipes at shallow road crossings and made up ground shall be laid on  a

bed  of  6"  (15 cms) concrete with one part of cement and  four  parts  of

sand,8  parts  of  stone  metal  of  1.5"  (38  mm)  down  guage   properly

consolidated.  Concrete shall be laid to the full width of the  trench  and

also be hauched.

3.0 LAYING AND JOINTING S.W PIPES :

3.1 LAYING :

The pipes shall be carefully laid to the levels and gradients shown on  the

plans  and  sections  by making use of sight rails and  boning  rods,  with

socket up to the gradient.

3.2 JOINTING :

Hume  rope soaked in neat cement wash shall be passed round the  joint  and

inserted in it by means of caulking tool. More skins of yarn shall be added

and well rammed home. Cement mortar with one part of cement and one part of

sand and with minimum water content but on no account soft or sloppy, shall

be  carefully inserted by hand into the joint and more cement mortar  added

until  the  space  of the joint  has been filled  completely  with  tightly

caulked  mortar.  The joint shall be then finished off neatly  outside  the

socket at an angle of 45 degree.

3.3 CURING :

The joints shall be cured atleast for seven days.

3.4 TESTING :

All  lengths  of  the  sewer and drain shall be  fully  treated  for  water

tightness  by  means  of water pressure maintained for  not  less  than  30

minutes.  Testing shall be carried out from manhole to manhole.  All  pipes

shall be subjected to a test pressure atleast 1.5 Mtrs head of water at the

highest  point  of  the  section under test. The  pipes  shall  be  plugged

preferably with standard drain plugs (with rubber rings) on both ends.  The

upper end shall however, be connected to  a pipe for filling with water and

getting  the required head. The contractor  shall give a smoke test to  the

drains  and  sewers  at  his  own expense  and  charges,  directed  by  the

architects.

3.5 CAST IRON PIPES AND FITTINGS :

Cast  iron soil, waste and vent pipes and fittings shall be  heavy  quality

conforming to IS 3989 or IS 1729.CI water main shall conform to  IS 1536  -

1967 and fittings to IS 1537, 1538 - 1960.

3.5.1 LAYING :

The pipes shall be laid underground, under the floors, or on walls  either

buried or exposed, as the case may be, as shown on the drawings.

3.5.2 JOINTING:

Cast  iron pipes shall be laid and jointed  in conformity with the code  of

practice for laying of cast iron pipes IS 3114-1965. Cast iron pipes  shall

be  jointed by best quality caulking lead,free from all impurities. In  wet

trenches, joints shall be made with lead wool. The spigot shall be centered

in  the adjoining socket by tightly caulking in sufficient turns of  terred

gaskin to leave unfilled the required depth of socket for lead.  Where  the

gaskin has been caulked tightly home, a jointing ring shall be placed round

the  barrel  and against the face of the socket.Molten lead shall  then  be

poured  in,  to fill the  remainder  of the  socket in one  operation.  The

lead shall then be solidly caulked with suitable tolls by hammering   right

round  the   joint, to make up  for the  shrinkage of the molten  metal  on

cooling and  shall  preferably  finish  3mm behind the socket face.Lead for

caulking shall conform to IS 782-1966. The quantity oflead to be filled per

joint in various sizes of cast iron pipes shall be as follows :

A. DRAINAGE PIPES                    LEAD/JOINT (kg)

50 mm (2") pipes            0.7 Kg/joint  (25 mm deep)

80 mm (3") pipes            1.2 Kg/joint  (25 mm deep)

100 mm (4") pipes            1.5 Kg/joint  (25 mm deep)

150 mm (6") pipes            2.4 Kg/joint  (38 mm deep)

B. WATER MAIN PIPES                  LEAD/JOINT (kg)

80 mm (3") pipes                      1.8

100 mm (4") pipes                      2.2

125 mm (5") pipes                      2.6

150 mm (6") pipes                      3.4

200 mm (8") pipes                      5.0

The  joints  and pipes laid for water supply systems shall be tested  to  a

pressure  of  12 Kg/ Sqcm for two hours without  developing  leaks/fall  in

pressure.  The drainage pipelines and joints shall be tested to a  head  of

150 cms for two hours without developing leaks/fall in pressure.In case  of

leaks,  the  piping shall be redone in such portion and the  test  repeated

till achieving satisfactory results.

3.5.3 FIXING :

Pipes  and Fittings shall be fixed to walls using proper holderbat  clamps,

if  directed.  The pipes shall be fixed perfectly vertical or  in  approved

alignment.  The  spigot end shall be about the shoulder of the  socket  and

shall leave no annular  space in between. Soil pipes carried  up above  the

roof shall have AC/CI vent cowl. Connections between the main pipe and  the

branch  pipes  shall  be  made by using  appropriate  branches  and  bends,

invariably with access doors for cleaning.

3.5.4 TESTING :

All  CI pipes and fittings, including joints shall be tested by smoke  test

and  left  in working order after completion. Such test shall  be  recorded

jointly by the owner/architect and contractor and the test reports shall be

handed over to the owner/architect.

3.5.5 PAINTING :

Pipes  laid underfloor/ground, concrete, etc. shall be given two  coats  of

bitumen paint.

3.6.0 UPVC SWR PIPES

UPVC  SWR   pipes and fittings for soil, waste and rain water shall  be  of

heavy quality conforming to IS 4985, fittings to        B.S.4515 and rubber

rings  to  IS 5382. The minimum thickness of fittings  shall  be  3.2mm.The

pipes  shall be round and shall be supplied in straight length with  socket

ends.The internal and external surface of pipes shall be smooth and cleanly

cut and square with the axis of the pipe.

3.6.1 LAYING

Trenches  shall  be examined carefully before laying the PVC pipe  for  the

presence  of  hard object such as flints, rock projections  or  tree  roots

etc.,  pipes  shall be bedded on the layer of sand or soft soil  free  from

rock and gravels.  Back fill of about 150mm above the pipe shall be  filled

with  fine  sand  or soft soil, which shall again be  free  from  rock  and

gravels.

3.6.2 STORAGE

Care  shall  be  taken in handling and storage of these  pipes  to  prevent

damages.   The PVC pipes shall not be dragged along the ground, to  prevent

the  damages. The pipes shall not be stored in bulk quantities and in  warm

temperature  conditions.  Proper supports shall be provided  while  storing

the  pipe  to avoid the destruction of bottom pipes, thus  giving  rise  to

difficulty in pipe alignment and jointing.

3.6.3 TRENCHES

The width of the trenches shall be  the  outside  diameter of the pipe plus

300mm.

3.6.4 JOINTING

The  jointing  of  the  pipes to the fittings shall  be  done  as  per  the

manufacturer's   instructions/recommendation.   The  rubber   ring   socket

fittings and pipes shall be jointed as follows:

Clean  the outside of the pipe's spigot-end and the inside of  the  sealing

groove  of the fitting.  Apply the lubricant uniformly to  the  spigot-end,

sealing  ring  and pass the spigot-end into the socket  containing  sealing

ring until fully home.  Mark the position of the socket edge with pencil or

felt-pen  on  the  pipe,  then  withdraw  the  pipe  from  the  socket   by

approximately  100mm  from the mark(towards thermal  expansion  gap).   The

horizontal pipes on the wall shall be fixed with pipe clips/clamps supplied

from  the same manufacturer.  The spacing of the clips/clamps shall  be  at

the  intervals  of 800mm to 1200mm based on the dia of the pipes.

3.6.5 TESTING

PVC pipes and fittings shall be tested for three metres of water head.  The openings  of  the pipes   shall be sealed for the section to be  tested.  The  water  pressure shall be maintained for maximum of one hour, and to be  got checked  by  the  engineer-in-charge  for  each  and  every  joint    made.

Contractor  shall  intimate the engineer-in-charge, the date  of  test,  in  advance.

4.0 ASBESTOS CEMENT PIPES :

Where  specified, asbestos cement pipes and fittings may be used  for  vent

pipes and rain water pipes.  Asbestos cement pipes shall be of best quality

conforming  to  IS 1626-1960. Asbestos cement pipes and fittings  shall  be

jointed  by inserting a gasket of hemp saturated  with bitumastic  jointing

compound  and  caulked to about 25 mm depth and grouted with  stiff  cement

mortar 1:1.

5.0  MODE OF MEASUREMENT :

5.1 EXCAVATION (GENERAL) :

The  width  of  excavation  shall be limited as shown  in  the  table.  The

excavation done within the building shall not be measured and paid for.

5.2 STONEWARE PIPES :

Stoneware  pipes  shall be measured along the centre line of  the  pipeline

including the specials in RMT.  Length between :

a)   Chambers   :   shall   be   recorded   for   the    inside    of   one

chamber to inside of another chamber.

b)   Gully   trap  chamber  :  shall  be  recorded  between   socket   pipe

near  gully trap and inside of  hamber.

The  quoted rate shall be per RMT and shall include the following :

i)  The    cost   of    pipes,   specials    and    other    jointing

materials.

ii)  Laying and Jointing and Curing.

iii)  Testing and making good the defects if any.

5.3 UPVC (SWR), CI PIPES AND AC PIPES :

These  pipes shall be measured along the centre line of the pipe  including

all  specials, in RMT.The quoted rate for respective item shall be per  RMT

and shall include the following.

a) Cost of repsective  pipes and specials and jointing  materials.

b) Laying,Fixing & Jointing with necessary clamps, brackets,

screws, etc. and curing.

c)  Making good all  damages to the parts of the building  to   suit

the surroundings.

d)  Painting the  buried  surface of CI pipe with  bitumastic         paint

(no painting for AC and UPVC(SWR) pipes).

e) Testing and making good the defects if any.

5.5 SEWER APPURTENANCES :

5.6 INSPECTION CHAMBERS AND MANHOLES :

5.7 SIZE OF CHAMBERS/MANHOLE :

The size given in bill of quantities and drawings shall be internal size of

chamber.  The  work  shall be done strictly as  per  standard  drawing  and

following specifications.

5.8 BED CONCRETE :

Shall  be  in 1:4:8 cement concrete 150 mm thick for  inspection  chambers,

230mm  for  depths upto 2.1 mtrs and 300mm for greater depths  in  case  of

manhole.

5.9 BRICK WORK :

Brick  work shall be with best quality table moulded bricks in  1:6  cement

mortar as per specfication for brick masonry.

5.10 PLASTER :

Inside  of the walls of chamber/manhole shall be plastered with 15mm  thick

cement plaster 1:3 and finished smooth with a floating coat of neat cement.

5.11 BENCHING :

Channels  and  Benching  shall be done in cement  concrete  1:3:6  rendered

smooth  with  neat cement. The following sizes of channels  for  the  bench

shall be adopted :

SIZE OF DRAIN       DEPTH OF CENTRE    DEPTH AT SIDES

i.e. at walls

10 cm (4")            15 cm (6")       25 cm (10")

15 cm (6")            20 cm (8")       30 cm (12")

5.12 CHAMBER/MANHOLE COVERS :

Covers  shall be of heavy duty cast iron with lifting hooks as  per IS 1726

- 1960, the details given in the drawing and fixed on the CI frame embedded

in  concrete. Cover placed on the frame shall be air tight. Weight  of  the

cover on frame shall be as per specified in the schedule of quantities.

5.13  CI  steps duly painted shall be provided whenever the  depth  of  the

manhole/chamber is more than 1.2 mtrs as shown in drawing.

5.14.0 GULLY TRAP CHAMBERS :

Stoneware  gully  traps  of specified size and as per IS  651  shall  be

provided. It shall be fixed on 15 cms. thick and 70cms square 1:4:8  cement

concrete bedding and gully outlet shall be jointed similar to the  jointing

of  stoneware  pipes. A brick masonry chamber  300 x  300  mm  (internally)

shall  be constructed in 1/2 brick masonry with 1:6 cement mortar  and  the

spaces between the trap and the wall shall be filled up with 1:3:6 concrete

and  the upper portion of the chamber shall be finished with  neat  cement.

The  corners and bottom of the chamber shall be rounded off so as to  slope

towards the grating. The clear space between the top of the grating and the

bottom of the inspection cover shall not be less than 230mm. In addition to

15cm  x  15cm CI grating the chamber shall have a CI frame  cover  (30cm  x

30cm). It shall then be placed on the top of the brick masonry.

5.14.1 MODE OF MEASUREMENT :

The  inspection chambers shall be measured per number and rate quoted  also

shall  be  per number only. The quoted rate shall include the cost  of  all

items  specified  in the bill of quantities and specifications viz...,

a) bed concrete.

b) brick work.

c) plastering.

d) concrete benching and chanelling.

e) inspection chamber cover and frame including PCC bed for

fixing the frame.

f) keeping holes and embedding pipes for all connections.

g) excavation, refilling, necessary dewatering and disposing

of extra stuff to a place as directed by the architects.

h) testing.

i) curing.

5.15.0 MANHOLE :

Shall  be measured  in numbers as indicated in the schedule of  quantities.

The depth of manhole shall be reckoned from invert of channel to the top of

manhole cover. Quoted  rate shall cover the range of + or - 0.24 mt. on the

depth  specified in  schedule and also the cost of all items  specified  in

the  bill of quantities and specification viz...,

a) bed concrete.

b) brick work.

c) plastering.

d) concrete benching & channelling including drop connections.

e) supply and fix CI steps.

f) keeping holes and embedding pipes for all the connections.

g)  excavation,  refilling, necessary dewatering and    disposing        of

extra stuff to a place as directed by architects.

h) curing.

i) cost of frame & CI cover & embedding the frame in connection bed.

j) testing.

5.16.0 GULLY TRAP CHAMBER :

Gully  trap chamber shall be measured per number and the rate  quoted  also

shall  be  per number only. The quoted rate shall include,  cost   of   all

items   specified  in  the  bill of quantities and specifications, viz...,

a) bed concrete.

b) brick work.

c) plastering.

d) gully trap and grating

e) concrete to embed the gully trap.

f) chamber cover and frame.

g) keeping the hole embedding pipes for all the  connections.

h)  excavation,   refilling, necessary, dewatering and  disposing        of

extra stuff to a place as directed by Architects.

6.0 WATER SUPPLY :

6.1.0 GI PIPES AND FITTINGS :

The  pipes  shall  be  of the medium quality (class  B)  and  shall  be  of

galvanised iron, screwed socketed and shall conform to IS : 1239.They shall

be  manufactured by a firm of repute.All fittings shall be  malleable  iron

galvanised fittings of approved best Indian make.

6.1.1 LAYING AND FIXING :

Where  pipes have to be cut or re-threaded, ends shall be carefully  filled

out so that no obstruction to bore is offered. For internal work all  pipes

and fittings shall be fixed truly vertical and horizontal, either by  means

of  standard pattern holder, bat clamps keeping the pipes (12mm)  clear  of

the wall everywhere or concealed as directed.

For  external  work, GI pipes and fittings shall be laid in  trenches.  The

width  of the trench shall be the minimum width required for  working.  The

pipes  laid  underground shall not be less than 60 cms. from  the  finished

ground  level.  The  work  of excavation and refilling  shall  be  done  as

specified elsewhere, or concealed as directed.

6.1.2 PAINTING :

The  buried  pipes shall be painted with two coats of bitumastic paint  and

covered with hessian cloth.

6.1.3 TESTING :

Before  any  pipes  are  painted or covered, they  shall  be  tested  to  a

hydrostatic  pressure  of  7 Kg/sq.cm. Pressure  shall  be  maintained  for

atleast  eight hours without appreciable drop in pressure. In  addition  to

the   sectional  testing of water supply pipes, the contractor  shall  test

the  entire installation to the entire satisfaction of the  architects.  He

shall rectify any leakages, failure of fittings or valves.

6.1.4 MODE OF MEASUREMENTS :

GI pipes above ground shall be measured along the centre line of the  pipes

and  fittings.  The quoted rate for respective items shall be per  rmt  and

shall include the following :

a) cost of respective pipes and specials.

b) laying, fixing and jointing with necessary clamps.

c)  cutting holes and chases in walls,floors, etc. and  making        good,

the same.

d) testing and making good,the defects if any.

GI pipes below ground shall be measured as stated above.

6.2.0 WATER FITTINGS (TAPS, STOPCOCKS, ETC.) :

All  water  fittings  shall be of approved quality  and  design  and  shall

generally comply to latest IS specifications. The fittings and joints shall

be  tested  as  specified  for  pipeline to  ensure  that  the  joints  are

leakproof.  Defective  fittings  and  the  joints  shall  be  repaired   or

redone/replaced as directed.

6.2.1 MODE OF MEASUREMENT :

These items shall be measured in number unless not included in other  items

viz..., wash basins, inlets to cisterns, etc.

a) cost of material.

b) cost of fixing accessories like bolts, nuts, washers.

7.0 VALVES :

7.1 The body covers of the valve shall be of tough, homogeneous gun  metal,

the spindle is of forged bronze, the nut and valve seats of high grade  gun

metal machine faces. It shall be fitted with CI wheel or a cap of  standard

type, marked with an arrow to show the direction of turn for opening of the

valve. It shall have flanged ends drilled to Indian Standard Specifications

or screwed end as specified.

7.2 The valves shall work easily and smoothly under all conditions shall be

water  tight when closed under head of 92 Mtrs or such greater head as  may

be speicified.

7.3 The diameter of the water way, when the valve is fully opened shall not

be less than the diameter of the pipe.

7.4 FIXING :

Fixing  of the valve shall be done by means of bolts, nuts, and  3mm  thick

rubber  insertions with flanges, for flanged ends and with GI  collars  and

unions, for screwed ends. Rate includes bolts, nuts and insertion  if any.

7.5 MODE OF MEASUREMENTS :

Valve shall be per number only and shall include :

a) cost of valve and jointing materials.

b) fixing,jointing with necessary bolts,nuts,rubber insertion,etc.

c) testing and making good the defects if any.

8.0 BALL COCKS :

Ball  cocks  used for storage tanks shall be high pressure  brass/CM   ball

cocks with brass lever rods and PVC floats.

8.1 MEASUREMENTS :

Ball cocks shall be measured by the number unless called for with the  item

in the schedule of quantities.

9.0.0 SANITARY INSTALLATION AND FIXTURES :

9.1.1  All fixtures shall be fixed in a neat workman-like manner,  true  to

line and as recommended by the manufacturer or shown on the drawings.  Care

shall  be  taken to fix all fixtures, brackets and  accessories  by  proper

wooden  cleats,  rawl plugs, bolts and nuts as each fixture   will  warrant

with the correct size of screws, nuts or bolts.

9.1.2 Care shall be taken in fixing all approved chromium plated   fixtures

and accessories so as not to leave any tool marks or damages on the finish.

All  such fixtures shall be tightened with fixed spanners. Use of  stiltson

type pipe wrenches with toothed jaws shall not be allowed.

9.1.3  All  fixtures  shall be thoroughly tested after  connecting  up  the

drainage and water supply system. All fixtures shall be thoroughly finished

and  any  leakage  in piping, valves and waste fittings  corrected  to  the

entire  satisfaction  of  the

engineer-in -charge.

9.1.4  Upon completion of the work, remove all labels,  stickers,  plasters

etc. from the fixtures and clean all fixtures with soap and water so as  to

present a neat and clean toilet.

9.2.0 INDIAN WATER CLOSET

Indian  water  closet  with  `P' or  `S'trap  shall  be  the  Orissa

squatting  pan,box rim back inlet with integral foot rest shall be  set  in

lime  surki concrete of 1:4 & shall be flush with the floor, with  10  ltrs

capacity  polypropelene cistern of the same colour of the closet  with  all

internal  fittings  &  shall be  of the best  quality  manufactured  by  an

approved firm and fixed by an approved means.

9.2.1  MODE OF MEASUREMENT (INDIAN WATER CLOSET) :

Indian  water  closet shall be measured per number and  quoted  rate  shall

include :

a)  the  cost  of WC pan with `P' or `S' trap, cistern PVC inlet  pipe,  CP

brass stop cock.

b) setting the  closets in lime surki concrete including the       cost  of

surki concrete.

c) painting the brackets of the cistern.

9.3.0 EUROPEAN TYPE WATER CLOSET:

The closet shall be of white vitreous China wash down syphonic pattern with

10 ltrs capacity polypropylene cistern of the same colour as  the  closet

With all internal fittings and shall be of the best quality manufactured by

an approved  firm & fixed by an approved means. It shall have 100mm dia.

Porcelain `P’ or `S'trap with an effective seal. Each closet and cistern

Shall be provided with the following accessories

a) Seat: double flapped heavy plastic seat cover of approved quality and

Colour with rubber buffers with CP brass bar and screws and fixed to the

Pan.

b) CP 40 mm flush pipe.

c)  All the fittings of the cistern 15mm, CP brass stop cock,        PVC/CP

inlet connection.

9.3.1 MODE OF MEASUREMENT (EUROPEAN WATER CLOSET):

These  items shall be measured per number and the rate quoted shall be  per

number only. The quoted rate shall include :

a) The cost of WC pan, cistern, trap with brackets and CP       flush pipe,

CP brass stop cock inlet connection.

b) plastic seat cover.

c) Jointing and fixing material.

d) Painting of brackets.

9.3.2 EUROPEAN TYPE WATER CLOSET : (FLUSH VALVE)

The  closet  shall  be of white vitreous China wash down  with  32mm  flush

valve,32mm dia flush pipe connecting flush valve & closet of approved  make

and fixed by an approved method & shall be of the best quality,manufactured

by an approved firm and fixed by an approved means.It shall have 100mm dia.

porcelain  `P'or  `S' trap with an effective seal. Each   closet  shall  be

provided with the following accessories :

a) Seat : double flapped  heavy plastic seat cover of approved quality  and

colour  with rubber buffers with CP brass bar and screws and fixed  to  the

pan.

b) CP 40 mm flush pipe

c) CP 32mm flush valve

9.3.3 MODE OF MEASUREMENT :

These  items shall be measured per number and the rate quoted shall be  per

number only. The quoted rate shall include :

a)   The  cost of WC pan,flush valve trap with brackets  and  CP      flush

pipe.

b)  plastic seat cover.

c) jointing and fixing material.

d) painting of brackets.

9.4.0 WASH BASINS:

They  shall be of white vitreous china of approved make and  best   quality

manufactured  by an approved firm and size as specified in the schedule  of

quantities.  They shall be supported on a pair of CI brackets  of  approved

design.

a) FITTINGS : Each wash basin shall be provided with 1 No.15mm pillar  tap,

15mm  CP brass stopcock, 8mm PVC/CP inlet pipe,32mm CP/waste coupling  32mm

CP bottle trap,GI pipe, CP chain and plug.

9.4.1 MODE OF MEASUREMENT :

This  item  shall be measured per number and the rate quoted shall  be  per

number only. The quoted rate shall include :

a) The cost of wash basin with brackets and other items     stated.

b)  jointing and fixing materials.

c)  painting of brackets.

9.5.0 SINK

They shall be of 16G stainless steel sink of approved make and best quality

&  sizes  as per the schedule of quantities,as shown in  the  drawings.They

shall be supported on necessary brackets :

a)    Fitting:Sink     shall    be   provided   with    40mm    CP    waste

coupling, 40mm CI waste pipe with bottle trap etc.

9.5.1 MODE OF MEASUREMENT :

Sink  shall  be measured by number  including all items  stated  above  and

shall include the cost of all fixing materials etc.

9.6.0  TOILET REQUISITIONS :

9.6.1 MIRROR :

The mirror shall be of the best quality Indian make 5.5 mm thick. The  size

shall  be  as  specified  and of approved design and  make  &  8  mm  thick

commercial  plywood fixed to the back of the mirror and wall with C.P  side

clips and screws.

9.6.2 TOWEL RAIL :

Towel  rail  shall be of anodised aluminimum CP with reinforced  bends  and

circular  flanges. The size of the rail shall be as specified. The  bracket

shall be fixed by means CP brass screws to wooden cleats firmly embedded in

the  wall.

9.6.3 NAHANI TRAPS/PVC FLOOR DRAINS

The  trap shall be of CI and self cleaning and deep water seal type with  a

50mm water seal. It shall have a 100mm dia.grating. These shall be fixed in

concrete  to the required level and position.  The trap shall  be  provided

with  125-150mm dia cast CP brass grating with rim of approved  design  and

shape.  Minimum thickness of grating shall be 4-5 mm.  The jointing of  the

CI nahani trap outlet to PVC shall be done as follows:

The  cast  iron spigot end of nahani trap shall be cleaned  thoroughly  and

inserted  into the socket end of the PVC pipe.  the gap between the  socket

and  spigot shall be first caulked with hemp rope soaked in cement  slurry.

The  remaining portion of the socket shall be sealed with white cement  and

finished neatly.

The PVC floor drain shall be of multi-inlet and one outlet type.  The floor

drain  shall  be deep seal type with effective seal of minimum  50mm.   The

waste  from sanitary fixture shall be directly discharged to  floor  drain.

The  jointing of waste pipe to floor drain shall be as  per  manufacturer's

instructions.   The height riser fitting shall be made use of,wherever  the

floor drain is located in deep sunk floors or in suspended sealing.The  PVC

floor drain shall be of reputed make and preferably of the same make as the

pipes used.

The  floor shall be provided with 150 x 150mm square cast CP  or  stainless

steel  grating with rim of approved design.  Minimum thickness  of  grating

shall be 4 to 5mm.

9.6.4 MODE OF MEASUREMENT :

All the items above shall be measured per number and the quoted  rate  be

per number only which shall include :

a) The cost of respective materials.

b) necessary fixtures.

c) Fixing in position.

9.7.0 URINAL

They shall be of white vitreous china of best  quality manufactured by  an

approved firm and size as specified in the schedule of quantities.

9.7.1  Each  urinal  shall be provided with the 15mm  CP  flush  cock  push

type,CP  urinal  spreader,  CP dome grating,  CP cast  bottle  trap  or  as

specified in schedule of quantities.

9.7.2 They shall be measured per number and the rate quoted shall be number

only.  The quoted rate shall include.

a) The  cost of respective materials

b) necessary fixtures

c) Fixing in position

9.8.0 R.C.C. OVER HEAD TANK:

The RCC overhead water storage tanks shall be provided with inlet, outlet,

vent  and  overflow pipes.  Suitable puddle flanges shall be  provided  for

these  outlets  while construction.  The RCC tanks shall be  provided  with

cast  iron 600mm x 600mm manhole frame and cover, steps of iron inside  the

tank for maintenance.  The bottom of the tanks shall be sloped towards  the

drain pipe.

9.9.0 PUMPS

9.9.1  Pumps  shall  be horizontal centrifugal monoblock pumping set. Pumps

shall  be cast iron body with dynamically balanced gun metal  impeller  and

stainless steel shaft.  The bearing shall be grease lubricated ball type.

9.9.2  The  motor  shall  be squirrel cage,  totally  enclosed  fan  cooled

induction motor suitable for  400 volts ,  3 phase , 50 cycles A.C. supply.

The  winding  shall  be specially insulated with class  'E'  materials  and

impregnated  to  exclude  moisture.  The performance  of  the  motor  shall

conform to IS 325.

9.9.3  The  frame  and base for pumping set shall be cast  iron,  drip  and

splash proof and shall incorporate both pump and motor.

9.9.4  Each pump shall be provided with 100mm dia dial type pressure  gauge

with  gun metal isolation cock and connection piping.  The gate  and  check

valves  on suction and delivery side of the pump shall be measured in  this

item.

9.9.5  Each motor shall be provided with switch board cubicle  of  approved

type fabricated from 18 guage M.S. sheet and finished with synthetic enamel

paint of approved shade.  The cubicle shall comprise  the following:

a.  Incoming main switch fuse unit of required capacity.

b. Fully automatic DOL starter suitable for motor HP with     push  buttons

(one for each motor)

c.  Single phase preventer.

d.  Panel type ammetere and voltmeter(one for each motor in     the case of

two motors).

e.  Pilot lamps for phase indicating.

f.  Rotary switch for manual/auto operation.

g.  All inter connecting wiring from incoming main to switch          gear,

meters and accessories (with colour code).

9.9.6 Switch board cubicle shall be floor or wall mounted type as approved.

The  contractor  shall  provide cables from switch board  cubicles  to  the

electric  motor.  The cables shall be PVC sheathed cables of required  size

and capacity.

9.9.7  Pumps  shall  be  installed  true  to  level  on  suitable  concrete

foundations.  Base plate shall be firmly fixed by foundation bolts properly

grouted  in the concrete foundations.  Pumps shall be truly be  aligned  by

suitable  instrument.   Manufacturer's instructions shall be  followed  for

installation and commissioning of the pumping set and electrical panel.

9.9.8  Pumping set shall be measured by number and the pump  panel  (switch

board cubicle) shall be measured separately by number.

9.10.0 HOT WATER SUPPLY PIPE INSULATION

9.10.1  All  hot  water  pipes inside and outside  the  building  shall  be

insulated with 25mm wide 4mm thick asbestos rope. The wrapping of the  pipe

shall  be  done without leaving any gap in between  layers.Wherever  it  is

specified the hot water pipes shall be insulated with fibreglass resin

ronded slabs.

9.10.2  Pipes 50mm and below shall have 25mm thickness and 65mm  and  above

shall have 40mm thickness of insulation.

9.10.3  The fibre glass slabs shall be tied with 20mm x 24g   chicken  wire

mesh  and tied after thoroughly cleaning the pipes.

9.10.4  The  external pipes with insulation shall be  protected  with  12mm

thick  layer  of  hard  setting compound in  two  layers  or  covered  with

aluminium jacket (wherever specified).

9.10.5  The  insulation  shall be measured per running meter  of  the  pipe

including the fings.

C2.GENERAL   ELECTRICAL   ITEMS   OF   LT    INSTALLATION   WORK

1.0   MEDIUM VOLTAGE PANEL AND DISTRIBUTION BOARDS.

REFER SECTION III FOR SPECIFICATION FOR MEDIUM VOLTAGE PANELS.

Distribution  boards shall be made of Robust and rigid  construction  and of totally enclosed dead front safety type. The enclosures shall be  made of MS sheet of not less than 16  guage.  The sheet steel shall be treated with  a rigorous rust  inhibition procedure before fabrication,  followed by two coats  of red oxide primer and two coats of synthetic enamel paint of    approved  shade.   The  distribution  boards  shall   comprise   of switch fuse unit or miniature circuit breakers as incoming and   required number of circuit breakers or HRC fuses as outgoing.

The  main  switch  and outgoing shall have rating as  specified  in   the drawings  and schedule.  The boards shall be designed to  have   adequate  cabling  space  for  either top or bottom entry  of  both   incoming  and outgoing cables ear thing sockets should be fitted  to the casing of D.B.

1.1   BUS BARS

Suitable  colour  coded  bus bars made of  high  conductivity   aluminum strips  and  mounted on  non-hygroscopic insulating   supports  shall  be provided.  Neutral bus bars shall be of half  the size of phase bus  bar.  The earth bus shall be also provided  of material and size as required.

1.2    MINIATURE CIRCUIT BREAKERS

Miniature circuit breakers shall have a minimum breaking capacity of 9kA. Circuits breakers

shall be equipped  with   individual  insulated, braced  and  protected connectors.  The front

face of all  the  breakers  shall  be flush with each other.   The breakers shall have ‘quick

break trip  free'  mechanism  with  current limiting  and  overload  and  short  circuit tripping

characteristics.  The mechanism shall be such that  the circuit  cannot be held closed when

a fault occurs or persists.

The contacts shall be silver tungsten or other suitable material to give long contact life.  Multiple units shall have an interrupting mechanism thereby ensuring complete isolation  in the circuit in the event  of  an overload  or  fault in anyone of  the phases.  The  connectors  shall  be suitably shrouded.

1.3    H.R.C.FUSES

Rating  of the fuses and carriers shall be as per drawings and   schedule of  quantities.   Fuse carriers and bases shall be best   grade  phenol moldings. They shall be non-inflammable and non- hygroscopic, with  hard glossy finish.HRC fuses shall have non-deteriorating type characteristics. It shall be link type with  rupturing capacity of  not less than 35 MVA at 440 V.

1.4    SAFETY & INTERLOCKS

All  the live parts be shrouded such that accidental contacts  with  live parts are totally avoided.  Distribution boards shall  be provided  with a  front  hinged door.  Distribution boards interior assembly  shall  be dead front with the front cover  removed.  Main lugs shall  be  shrouded.  Suitable insulating   barrier made of arc resistant material  shall  be provided  for  phase separation.  Ends of the bus structures shall  also be  shrouded.

2.0    LOW TENSION CABLES

Cables   have  been  selected  considering  the  conditions  of   maximum  connected  load,  ambient temperature, grouping  factor,  allowance   for  voltage  drops.  However it is the responsibility of the   Contractor  to recheck the size before cables are procured.  He  should submit the cable de-rating, voltage drop & length  calculation to Architects for approval before procuring cables.

2.1    INSULATION:

The  conductor is insulated with suitably compounded PVC applied  to  the conductor  by the extrusion. The PVC compound used for  insulation  shall have  reduced flame  propagation property.  This shall also have  reduced emission  of  hydrogen-chloride gas fumes etc.  when severely  overheated  during fires. The cores of the cables shall be provided with the   colour scheme of PVC insulation as per IS for any easy  identification.

  - ARMOUR:

The armour of multi-core cable consists of either GI round  steel wires or  GI flat strips and in case of single core cable, armour shall  be of non-magnetic material such as hard drawn  aluminum or aluminum alloy  wires or strips.

2.3    OUTER SHEATH:

The  PVC compound used for outer sheath shall be resistant to   termites, fungus and rodent attacks and shall also have reduced  flame  propagation  property as specified above.

2.4    IDENTIFICATION:

The  manufacturer's  name, voltage grade of cable, year of   manufacture, nominal cross-sectional area of conductor shall be  embossed on the outer sheath  of  the  cable throughout the length  of  the  cable  at  regular intervals.

2.5    PACKING, MARKING AND TRANSPORT:

The  cables shall be supplied in strong, non-returnable wooden  drums  of  heavy construction, along with the test certificate of the manufacturers.    Each cable drum is marked with particulars of cable size, voltage class, length, direction of rolling, gross weight, ISI rectification marking etc.

2.6    LAYING

Cables shall be laid as per the specification given below:

2.6.1  CABLES IN OUTDOOR TRENCHES:

Cables shall be laid in outdoor trenches wherever called for.   The depth of  the trenches shall be not less than 75 cms. from  the  Formed  Ground Level (FGL) which has to be ascertained from  the Architects.  The  width of  the trenches shall not be less  than 45 cms.  A spacing of  not  less than 15 cms shall be allowed  between the cables.  The trenches shall  be cut  square  with  vertical side walls and with uniform  depth.  Suitable  shoring  and   propping may be done to avoid caving in of  trench  walls.

The   floor  of the trench shall be rammed level.  Cable  unreeling  from  drums shall be done only with  the help of cable drum rolling   supports.   The cables shall be laid in trenches over the rollers  placed inside  the trench.   The cable drum shall be rolled in the  direction of  the  arrow        for rolling.  Wherever cables are bent,  the minimum bending radius shall not be less than 12 times the  diameter of the cable.  After the cable is laid  & straightened, it shall be covered with an 8 cms thick layer  of sand.   Cable  shall be taken lifted and placed over this  and   cushion.  The cable shall then be covered with a 8 cms thick  cushion, where  cable is laid in rocky situation.

Extra think cushioning of sand as may be required/decided by  the Project Manager/Architects  shall be done  without extra  charge.  Over  this,  a course  of cable protection tiles or  bricks shall be provided  to  cover the  cables  by 5 cms on either  side.  Unless otherwise  specified,  the cable shall be protected  by concrete tiles/stone slabs of minimum 25  mm thick placed on top of the trench breadth-wise for the full length of the cable.   Trench shall be back filled with earth and consolidated.  Cables shall be laid in hume pipes/stoneware pipes at all road  crossings and in GI  pipes at the wall entries.  Approved cable  markers made of  concrete        blocks  indicating  the voltage grade and  the direction of  run  of  the  cables shall be installed at regular  intervals of 25 Mtrs.  the depth of concrete  blocks shall be  at least 300 mm below ground and 50  mm  above ground.

2.6.2  CABLES IN INDOOR TRENCHES:

Cables  shall be laid in indoor trenches wherever  specified.    Suitable painted  Ms base plate clamps, saddles, GI nuts/bolts  shall be used  for securing  the  cables in position at an interval  not more than  450  mm.  Spacing   between  the  cables shall not be  less than 15  mm  centre  to    centre.  Wherever specified, trenches  shall be filled with fine sand and covered with steel chequered  trench covers or RCC slabs.

2.6.3  All chases and passage if necessary for the laying of service  cables  at the  entry  or  in premises shall have to be cut and made   good  to  the satisfaction of the Project Manager/Consultants.

2.6.4  All  cables entries into the buildings/cable trenches/ducts, etc.   shall be  suitably  sealed  as   required  by  the  Project   Manager/Consultants without extra cost.

  - END TERMINATIONS:

Each  termination shall be carried out using Electroplated Brass   single compression  glands  and  copper cables  sockets  and  approved  jointing materials  are  to be used.  Hydraulic crimping tool  shall be  used  for  making the end terminations.  cable gland  shall be bounded to the  earth  by using suitable copper/G.I.Wire.   The cable armouring is to be earthed properly so that the earth  continuity is maintained.

2.8    TESTING:

2.8.1  Cables shall be tested at factory as per the regulations of IS:1554 Part

I.  The tests shall incorporate routine tests, type  tests and acceptance

tests.  Copy of such test certificates  shall be furnished to the Owner.

2.8.2  Cables  shall be tested at site after installation and results  shall  be

submitted to Consultants/Engineers.

2.8.3  Pressure test for 15 minutes.

2.8.4  Insulation resistance  between  conductors  and  neutral  and

conductors and earth.

3.0    EARTH ELECTRODES.

  - Earth electrodes shall be designed as per the requirements of IS 3043.

The resistance of earth electrodes shall be as low as   possible, the

maximum allowable value being one Ohm. Earth electrodes shall as  far

as  possible,  be embedded below  permanent moisture  level.  Earth  pits

shall  be  further  treated   with  salt  and  charcoal  to  improve  the

resistivity of soil.

3.2    PLATE ELECTRODE

Plate electrodes shall be made of copper plate of 3.15 mm thick  and  600

x  600  mm size.  The plate shall be buried vertically in   ground  at  a

depth  of  not less than 2.5mtr. to the top of the   plate,  the  plate

being  encased in powdered charcoal to a  thickness of 15cm all round.

Salt  and  river sand shall not be  used.  Earth leads to  the  electrode

shall  be  laid  in a medium  grade GI pipe and connected  to  the  plate

electrode with brass  bolts, nuts and washers.  The GI pipe of 19 mm dia.

shall be  placed vertically over the plate and terminated in a funnel  of

5 cm above the ground. The funnel shall be enclosed in masonry chamber.

The chamber shall be provided with  heavy duty CI/GI   frame  and CI/GI

cover, as per approved sample  The earth  station  shall  also  be

provided  with  a suitable permanent identification label/tag.

3.3    PIPE ELECTRODE

Pipe electrode shall comprise of 50 mm dia. GI pipe with wall   thickness

3.65  mm and not less than 3.0  mtrs long buried  vertically in a pit  of

350 x 350 mm size and filled with  alternate layers of charcoal, salt and

river  sand and connected  at the top to a medium grade GI pipe of 19  mm

dia.   1  mtr long  with a funnel at the other end, clamped to  the  pipe

electrode  with brass bolts, nuts and washers.  GI pipe electrodes  shall

be   cut  tapered  at the bottom and provided with holes of  12  mm  dia.

drilled  not less than 75mm from each other up to 2 mtrs.   length   from

bottom.   The top end shall be provided at 100 mm  from the  top end   to

receive  a 13 mm bolt with double nuts and washers.   The funnel and  the

earth lead connections shall be enclosed in a  masonry chamber/inspection

pit.  The chamber shall be provided  with C.I/GI frame and CI/GI cover,    as per approved sample. A proper permanent identification tag/ label/earth cable marker shall be  provided for each electrode.

4.0    DISTRIBUTION SYSTEM, CONDUITS, WIRING AND ACCESSORIES

4.1    GENERAL

This  Specification  of  Medium Voltage  Distribution  System  shall   be

applicable  for  wiring 3 phase, 4 wire 415 Volts, 50 Hz AC  and   single

phase, 2 wire 230 Volts, 50 Hz, AC supply.

4.2    RIGID STEEL/PVC CONDUITS & ACCESSORIES

4.2.1  MS  conduits shall be of welded and  screwed sheet  steel   construction.

Conduits  shall  be  black  stove enameled  inside   and  outside.   The

conduits  shall  conform  to the requirements  of   relevant  IS  (latest

edition)  in  all  respects.   The  conduits   shall  have  uniform  wall

thickness/cross section throughout.   Conduits shall bear the name, trade

mark  of  the   manufacturer  and size of conduit on  each  length.   The

conduits shall be  delivered to the site in original bundles. Conduits of

less  than   19  mm dia.  shall not be used.  The  minimum  thickness  of

conduits shall be as follows :-

Rigid M.S Conduits  :  a)  19,25 & 32 mm    - 16 guage.

b)  38 mm & above    - 14 guage.

Rigid PVC Conduits  :  2 mm thick.

4.2.2  Conduit  Accessories  :  Conduit accessories such as  bends,   inspection

bends,  inspection tees, elbows, reducers, draw boxes.   junction  boxes,

etc.   shall be of approved makes.  Boxes shall  have internally  trapped

spouts, junction boxes/inspection boxes  shall be internally tapped table

covers.   Necessary  pull  boxes  of adequate  sizes  shall  be  provided

wherever required at no  extra cost.

    - All conduits shall be of ample size for easy 'draw in' and 'draw  out'

of all  the wires in the conduits.  In no case the total  cross  section

of wires  measured over all be more than forty  percent of the area  of

the conduit.

4.2.4  All  the  conduits shall be adequately protected while  stored  on   site

prior to erection and no damaged conduit shall be used.

4.3    PREPARATION OF CONDUIT:

The inside surface and ends of conduits and threads and  fittings   used

shall  be  clean,  smooth,  cut square and free  from  burrs  and   other

defects.  Powdered soap stone, talc or prepared compounds shall be used

as lubricants to facilitate the smooth pulling in  of conductors.

  - ERECTION OF CONDUIT

4.4.1  The  conduit shall be properly and tightly screwed between the    various

lengths  and to the boxes to which it runs and  terminates.  No  part  of

the  conduit  shall  be under mechanical  stress and  the  whole  conduit

system shall be electrically and  mechanically continuous throughout.

4.4.2  For PVC  conduits  socket type bends, collars  shall  be   used   between

various lengths and to the boxes with  PVC  jointing  solution.  No  part

of the  conduit  shall be under  mechanical  stress and the whole conduit

system shall be electrically and  mechanically continuous throughout.

4.4.3  A  suitable drainage hole shall be drilled in the bottom of  the   lowest

conduit box in every 9 Mtrs.  of horizontal length.

4.5    INSTALLATION OF RECESSED CONDUIT SYSTEM

4.5.1  The  conduits  shall be installed in such a manner that running   can  be

carried out from the fittings boxes and switch boxes  only.

4.5.2  Conduits which are to be taken in the ceiling slab shall be laid  on  the

prepared shuttering work of the ceiling  slab before  concrete is poured,

and  tied  to bard at every 500 mm.  The  conduits shall be  made  water-

tight by using bituminous compound  at the screwed ends.  The conduits in

ceiling slab shall be  straight as far as possible.

4.5.3  Conduits  recessed in walls shall be secured rigidly by means  of   steel

hooks/staples  at 0.8 mtrs intervals. Before conduit is concealed in  the

walls,  all chases, grooves  shall be neatly made to proper dimensions to

accommodate the   required number of conduits. The  outlet  boxes,  point

control  boxes,  inspection and draw boxes  shall be  securely  fixed  by

means of counter sunk steel screws  and rawl plugs.  They shall be firmly

grouted  in  position prior  to plastering fixed as and when  conduit  is

being laid.  The  recessing of conduits in walls shall be so arranged  as

to allow at least 12 mm plaster cover on the same.  All grooves,  chases,

etc.  shall be refilled with cement  mortar and finished up to the   wall

surface  before  plastering  of  walls  is  taken  up  by  the    general

contractor.   The top edge  of the conduit shall be at least 25 mm  below

the  finished  surface of wall. Wherever  conduits terminate  into  point

control  boxes,  distribution   boards, etc. conduits  shall  be  rigidly

connected to the boxes,  boards, etc. with check nuts on either  side  of

the entry to  ensure electrical continuity.

4.5.4  After  conduits,  junction boxes, outlet boxes, etc. fixed  in   position

their  outlets shall be properly plugged with PVC  stoppers or  with  any

other  suitable  materials so that water,  mortar, vermin or  any  other

foreign material do not enter into  the conduit system.

4.5.5  To  facilitate easy drawing of wires in circuit necessary GI pull   wires

of  16  SWG  shall  be  inserted  into  the  conduit  immediately   after

shuttering is removed.

4.5.6  The  Electrical  Contractor  shall  be  present  during  the  pouring  of

concrete  to ensure that the conduits and accessories are not   displaced

or blocked.

4.5.7  The  Conduits shall be swabbed out by drawing dry swabs of  rag   through

the conduit to remove all moisture prior to drawing of  wires.

4.5.8  Where  vertical  concealed  conduits pass through floors  or  beams   and

horizontal concealed conduits required to pass through  columns or beams,

these  shall be taken through rigid PVC/GI  pipes to be inserted  in  the

floors/columns/beams,  etc.  during  casting for which no  extra  payment

shall be entertained.

4.5.9  Extension collars of suitable depth shall be used as necessary  to  leave

all boxes absolutely flush with the finished wall or  ceiling surface.

4.5.10 Conduits shall not be buried or plastered etc. unless and until  the work

has been inspected by the Owner/Architects.

4.6    INSTALLATION OF SURFACE CONDUIT SYSTEM

4.6.1  Conduits shall run in square and symmetrical lines.  Before the  conduits

are installed, the exact routes shall be marked at site  and approval  of

the Architect shall be obtained.  Conduits shall  be fixed by heavy gauge

GI  base plates, saddles, secured to  suitable raw plugs, at an interval

of  not more than 1 Mtr.   Conduits shall be joined by means  of  screwed

couplers  and  screwed accessories only.  In long distance straight  runs

of  conduits, inspection type couplers or running type couplers or   pull

boxes shall be provided.

4.6.2  Bends in conduits runs shall be done by bending conduits by pipe  bending

machine.   Bends  which  cannot be negotiated by pipe   bends,  shall  be

accompanied  by introducing inspection boxes or  inspection  bends.   Not

more  than  three equivalent 90 C bends  shall be used in a  conduit  run

from outlet to outlet.

4.6.3  All   the   conduit  openings  shall  be  properly   plugged   with   PVC

stoppers/bushes.   The  conduits shall be adequately  protected   against

rust by applying two coats of approved synthetic enamel  paint after  the

installation is completed.

4.6.4  Wherever  conduits terminate conduits shall be rigidly connected  to  the

box/board with  brass hexagonal check nuts with compression   washers  on

either  side  of the entry to ensure proper electrical    and  mechanical

continuity.

4.6.5  The crossing of surface conduits shall not be generally  permitted and to

avoid    such    crossings,   adapter   boxes   shall   be     used    at

junctions/crossings.

4.6.6  All unused conduit entries shall be blanked off in an approved  and where

conduits terminates in adopter boxes.  All removable  box covers shall be

firmly secured to provide complete  enclosure.

4.7    CONDUITS ABOVE FALSE CEILING

In  the  false ceiling area, the conduits shall be run above  the   false

ceiling  frame work supported by means of M.S. straps  secured and  fixed

to both conduits and structural ceiling,  keeping the outlet box as  near

as  possible to the fittings/fans  for connections.  The  conduit  boxes

for  fittings/fans  are   independently supported by  means  of  separate

fixing arrangement  to the box and structural ceiling so that the box  is

held  rigidly.

  - ENCLOSURE FOR ELECTRICAL ACCESSORIES

4.8.1  Enclosure  for electrical accessories shall conform to IS:5133-  Part  I.

The wall thickness of MS enclosures shall be not less  than 1.6 mm.   The

enclosure  boxes  shall be provided with a  minimum of four  fixing  lugs

located  at  the corners for fixing  the covers.  All fixing  lugs  shall

have tapped holes to take  machined brass screws.

4.8.2  Sufficient  number of knockouts shall be provided for  conduit  entries.

The  enclosures shall be adequately protected against  rust or  corrosion

both  inside  and outside.  The enclosures shall  be provided with  5  mm

thick  overlapped white PVC or Perspex  sheet cover with rounded  corners

and  beveled  edges  for  mounting   switches,  sockets  etc.   wherever

different  phase conductors are  brought into the same  enclosure,  phase

barriers shall be  provided.

4.8.3  Minimum size of the box shall be 75 x 75 x 75 mm.

4.8.4  Draw boxes of ample dimension shall be provided at convenient  points  on

walls/ceiling  to facilitate pulling of long runs of  wire.  These  boxes

will  be  as  few  as possible and located  where   found  necessary  and

approved by Architects at no extra cost.

4.8.5  Where  flush  conduits  are required to  terminate  at  surface   mounted

equipment,  the conduit shall terminate at a flush box  and the  back  of

the equipment should fully cover the flush box  and brass screws shall be

used between the equipment and the box  in addition to any other means of

fixing and ear thing  arrangement.

5.0    WIRING CONDUCTORS

5.1    All wiring conductors shall be PVC insulated, copper conductors  of  1100

V grade, and shall conform to IS:694 Part II (Latest  Edition).

5.2    Wiring  conductors  shall be supplied in Red, Blue,  Yellow,  Black   and

Green  colors  for easy identification of wires.  The  wires   shall  be

supplied   in  sealed  coils  of  100  Mtrs.   length  and  shall    bear

manufacturer's trade mark, name, voltage grade etc.

6.0    INSTALLATION OF WIRING CONDUCTORS/CABLES

6.1    The wiring conductors shall not be drawn into the conduits until  all the

works  of any nature that may cause damage to the wires   are  completed.

The installation and termination of wires shall  be carried out with  due

regard to the following:-

6.2    While  drawing  the  wiring conductors, care shall  be  taken  to   avoid

scratches and kinks which cause breakage of conductors.   There shall  be

no sharp bends in the conduit system.

6.3    All wires connected/terminated shall be with pin type/washer  type  lugs.

Strands of the wires shall not be cut for connecting  to the terminals or

lugs.   The terminals shall have adequate  cross section to take all  the

strands.

6.4    Oxide   inhibition  grease  shall  be  applied  at  all   terminals   and

connections.

6.5    Brass flat washers of large area shall be used for bolted  terminals.

6.6    Bimetallic  connectors should be used wherever aluminum  conductors  are

tapped from copper mains or vise-versa.

6.7    Wiring for power and lighting circuits shall be carried out in   separate

and distinct wiring systems.

6.8    The  wiring system envisaged is generally shown on the  layout   drawings

and  line  diagrams.   However, a brief account of  the   general  wiring

system is given below :

6.8.1  Sub-mains wiring-Wiring from Meter boards/switch boards to the individual

distribution  boards, and shall consist of wires,  conduits, all  conduit

and fixing accessories as required and  specified.  The sizes of conduits

and  number  of wires shall be  as specified in schedule  of  Quantities.

Wires shall be drawn in  conduits as required without being damaged, with

necessary draw  boxes if required.  The wire lengths must be adequate for

terminating at either end and  identifying ferrules shall be  provided at

termination.  The wiring shall be colour coded.  The  rate shall  include

all materials, connections, labour etc. as  specified above.

6.8.2  Circuit  wiring - Wiring from DBs to the first point control   boxes  for

lighting, fans, 5A sockets, call bells, etc.  The  scope of work shall be

same as in sub-main wiring.

6.8.3  Power   wiring:   The   wiring   from    DBs   to    heating    supplies,

15A/16A,3/5pin  socket/switch outlets, etc.  The scope of work  shall  be

same as in sub-main wiring.

6.9    Each sub-main/circuit main/power wiring circuit shall also have  its  own

earth continuity wire as specified.

6.10   All  the  wiring shall be carried out in loop-in-loop  system  only   and

phase  or  line  conductors shall be looped at switch  box  and   neutral

conductor can be looped from light, fan or sockets.

6.11   The  maximum number of various size conductors that could be  drawn  into

various  sizes  of conduits shall be as per table II of   IS:732  (Latest

Edition)>   The wiring shall be colour coded for  easy identification  of

phases and neutral.  The following colour  codes shall be adopted.

Phases   -  Red, Yellow and Blue.

Neutral  -  Black.

Earth    -  Green

Control/piece  wire  -  White or some other colour, as approved  by

the consultants.

6.12   All  sub-mains  and  circuit wiring shall be provided  with  printed   PVC

identification  ferrules  at either end bearing the circuit   number  and

designation.

7.0    SWITCHES, SOCKETS AND ACCESSORIES

7.1    GENERAL  REQUIREMENTS  :  General control switches  shall be  of    5A/6A

rating and shall be of approved make/type suitable  for  flush  mounting.

Switches   shall  have  either  integral   mounting   plates  or   white

PVC/perspex of min.4.5 mm thick.

7.2    All  sockets,  5A and 15A ratings shall be of flush mounting  type   with

combined  control  switches of the same rating as that of  the   sockets.

All socket outlets shall be of 3/5 pin type.

7.3    The  switch,  plug socket or regulator boxes shall be made  of   GI/sheet

steel  of  minimum 16 SWG on all sides except in the   front.   Depth  of

boxes shall not  be  less than 75 mm and suitably   increased  where  fan

regulators  are mounted in flush pattern.   The boxes shall  be  provided

with suitable ear thing studs.   Wherever required switches/fittings shall

be fixed on metal  strip which in turn are welded to the box.

7.4    Fan  regulators  shall be flush type and earthed with  earth   continuity

conductor.  The fan regulator shall be  of electronic  type.

7.5    LAMPHOLDERS, CEILING ROSES, ETC.

7.5.1  Accessories for light outlets such as lamp holders, ceiling  roses,  etc.

shall be in conformity with requirements of  relevant  IS  specification.

Only approved make of accessories  shall be supplied.

7.5.2  Screwed  holder shall be used in brackets and pendants,  light   fittings

shall have brass holders on T.W. round blocks.

8.0    INSTALLATION OF SWITCHES, SOCKETS AND ACCESSORIES

All the switches shall be wired   on phases.  Connections shall  be  made

only after testing the wires for continuity, cross,  phase etc.  with the

help of megger.  Regulators shall be fixed  on adjustable MS flat  straps

inside the enclosure.  The  arrangement of switches and sockets shall  be

neat  and   systematic.  Covers for  enclosures  accommodating  switches,

sockets  etc.  (point  control boxes) shall be of  4.5  mm  thick,   fine

finished PVC/perspex material or laminated hylum sheet and  fixed to  the

enclosure in plumb with counter sunk head, chromium  plated MS screws and

washers.  Outlets shall be terminated into  a flush type fan box for  fan

points.   For  wall  plug  sockets, the   conductors  may  be  terminated

directly into the switches and  sockets.  The outlets point control boxes

etc.   shall be set out  as shown on the drawings.  Before fixing  these,

the  contractors   shall obtain clearance from the  Owner/Architect  with

regard to  their proper locations.  The enclosures of sockets/and 3rd pin

of  the  sockets  shall  be connected to  the  ground  through  an  earth

continuity wire, as specified.

9.0    CAPACITY OF CIRCUITS

9.1    Light  points, 5A socket points, fans and call bell points may be   wired

on a common circuit.  Such of those circuits shall not  have more than 10

nos.   of Light/fan/socket points or a load of  800 W whichever is  less.

Not  more than two numbers of 15A  socket outlets shall be wired  on  the

same circuit.

10.0   POINT WIRING

10.1   Point  wiring  shall  commence from the first  point  control   box/local

control box for the points connected to the same  circuit.  Point  wiring

for lights, ceiling and exhaust fans, 5A  sockets, call bells etc.  shall

be carried out with 1100 V grade  PVC insulated wires.  The point  wiring

shall  be inclusive of  conduits of not less than 19 mm size,   switches,

wiring  along with conduit accessories such as bends, inspection   bends,

reducers,  pull  boxes, junction boxes, switch boxes, fan  boxes,   cover

etc. together with wiring accessories such as ceiling  roses, brass  lamp

holders,  T.W  Blocks,  loose  wires up to 1 Mtr.   long  at  outlet  end

connectors  point control boxes (enclosure for   electrical  accessories)

switches,   etc.  Point wiring shall be  provided with  earth  continuity

wire  as specified for earthing  3rd pin of sockets, luminaries  and  fan

fixtures.  Light control  shall be either single, twin or multiple points

controlled by a  switch, as specified.

The  point  wiring  for Light/Fans/5A sockets etc.   shall  include   the

supply and installation of all materials specified above.   Any item  not

specifically  included but required for satisfactory  completion  of  the

point  wiring shall also be included.  No  separate extra price  will  be

allowed for any item under point  wiring.

A  dependant  socket point shall mean the combination 5A  switch   socket

outlet/point  mounted on the same switchboard as any  other  point/points

and shall include the 5A switch and socket.

The fan point shall be complete with fan hook box flush mounted  in slab,

control switch mounted in switch box and electronic  regulator,  complete

with cover. The measurement will be numbers  of each kind of point and as

specified in Schedule of  quantities.

11.0   FIXTURES/FANS :

11.1   LIGHT FITTINGS:

Unless  otherwise specified, light fittings shall be generally  fixed  as

directed by Owner/Architects.

11.1.1 Fittings such as wall brackets shall be fixed at 2200 mm from  FFL.

11.1.2 Bulk  head  fittings shall be flush with ceiling/wall  as  required   and

shall be at a height as specified or directed.

11.1.3 Pendant fittings shall be suspended to a height of 2400 mm from FFL.

11.1.4 The fluorescent fittings shall be fixed in such a manner that the  wiring

conductors  shall not terminate in a ceiling rose but in a  junction  box

300  mm  away  from the centre of the fitting along  the  length  of  the

fitting so that no exposed wiring is seen from outside.

11.2   FANS

11.2.1 CEILING FANS

Ceiling fans shall be suspended from the special fan hook boxes.  The fan

wiring shall be terminated in porcelain/PVC multi-way connector.

Each fan shall have a separate switch and speed regulator.  The canopy at

the top of the suspension rod shall effectively hide the suspension hook.

The control  switch  and the electronic regulator for the  fan  shall  be

included in the point wiring.

12.0   TESTING OF ELECTRICAL INSTALLATION

12.1   TESTING OF INSTALLATION SHALL BE AS PER IS 732-1982

12.1.1 The insulation resistance shall be measured by applying between earth and

whole system of conductors of any section thereof with all fuses in place

and all switches closed and except in earthed concentric wiring all lamps

in  position  or both poles of the  installation  otherwise  electrically

connected  together,  where a direct current pressure of  not  less  than

twice the working pressure provided that it need not exceed 500 Volts for

medium voltage circuits.  Where the supply is derived from the three wire

(A.C  or  D.C)  or  a poly phase system, the neutral  pole  of  which  is

connected to earth either direct or through added resistance, the working

pressure shall be deemed to be that which is maintained between the outer

or  phase conductor and neutral.

12.1.2 The  insulation  resistance measured as above shall not be less  than  50

mega-ohms divided by the number or points on the circuits provided that the

whole installation  shall be required to have an  insulation  resistance

greater that one mega-ohm.

12.1.3 Control rheostats, heating  and power appliances and electric signs  may,

if  required be disconnected from the circuit during the test but in  the

event of the insulation resistance between the case or frame work and all

live  parts  of  each  rheostat appliances and all  live  parts  of  each

rheostat  and  sign  shall be less than that specified  in  the  relevant

Indian  Standard  Specification or where there is no  such  specification

shall not be less than half a mega-ohm.

12.1.4 The  insulation resistance shall also be measured between all  conductors

connected  to  one  pole or phase conductor of the  supply  and  all  the

conductors  connected to the middle wire or the neutral or to  the  other

pole  or phase conductors of the supply and its value shall not  be  less

than specified in sub-clause 17.1.2.

12.2   TESTING OF EARTH CONTINUITY PATH

The  earth  continuity conductor including metal  conduits  and  metallic

envelopes in all cases shall be tested for electrical continuity and  the

electrical  resistance  of  the same along with  the  earthing  lead  but

excluding any added resistance or earth leakage circuit breaker  measured

from  the connection with the earth electrodes to any point in the  earth

continuity  conductor in the completed installation shall not exceed  one

ohm.   For checking the efficiency of earthing, the earth  resistance  of

each earth electrode shall also be measured.  This test shall  preferably

be done during summer months.

12.3   TESTING OF POLARITY OF NON-LINKED SINGLE POLE SWITCHES

In a two wire installation, a  test shall be made to verify that all non-

linked,  single  pole  switches have been fitted in  the  same  conductor

throughout  and  that such conductor has been connected to  an  outer  or

phase conductor or to the non-earthed conductor of the supply.

12.4   The   contractor  shall  be  responsible  for  providing  the   necessary

instruments  and subsidiary earth for carrying out the tests.  The  earth

coordinating  tests  shall comply with the IS specifications  as  may  be

applicable.   Should  the above tests not comply   with the  limits  laid

down,  the contractors shall do the necessary rectification of the  fault

till the required results are obtained.

13.0   SPECIFICATION  FOR  DUMMY  CONDUITS,  FOR   TELEPHONE/INTERCOM SYSTEM

The conduits for the telephone system as well as Intercom System shall be

same  as  explained and specified elsewhere for the work.   The  minimum

size  of  conduits used for Telephone System/Intercom shall not  be  less

than 25mm dia.

All  distribution boxes shall be flush mounting, flat fronted,  16  Gauge

sheet  steel  enclosed  boxes  flush with  wall  and  properly joined  to

conduits.   The distribution boxes shall incorporate terminal  strips  of

the  combined  soldering screw type/tag blocks as required  with  locking

facility.

The  telephone outlet boxes made of 16 Gauge sheet steel/GI, shall be  of

minimum  75 x 75 x 75 mm.  These shall be flush mounting  type  installed

with an approved cover matching with all other outlets in the  electrical

system  and  consisting  of  a 2 pin  non-reversible  socket  outlet  and

approved by telephone department.

The  telephone/Intercom boxes shall be generally mounted at 450 mm A  FFL

unless otherwise specified/indicated in drawing.

The contractor shall consult and co-operate with the telephone department

when  installing the telephone wiring and conduit system and shall  abide

by their requirements, rules and regulations, shall furnish all work  and

material to secure their approval of the completed installation.

Detailed  drawings  showing  the telephone terminal  and  junction  boxes

fabricated  in accordance with above requirements shall be  submitted  by

the  contractor  for  approval  to  the  telephone  department  and   the

Architects.

Rates shall include a GI fish wire left in the conduit to draw  telephone

wires.  The end of conduit shall be sealed to prevent dirt, dust,  mortar

or any foreign matter  going into telephone conduits.

The  telephone indoor wires shall be 0.5 mm  annealed  copper  conductor,

polythene  insulated,  colour coded, twisted into pairs, laid  up,  jelly

filled  with petroleum jelly compound, wrapped with non-hygroscopic  tape

under  moisture  barrier poly-al-laminated foil tape  and  embedded  with

water proof polythene material.

14.0   SPECIFICATION FOR DUMMY CONDUIT FOR T.V.SYSTEM

The  conduits of the TV system shall be same as explained and already   specified  elsewhere for the other work.  The minimum  size of conduit used for TV Wiring system shall not be less than 25mm dia.

All the materials in the system shall be approved by the Owner/Architects

before Installation.  The  co-axial cable used for the system shall be of

High quality air space cable.  The clarity of picture shall be  98%.

Rate  shall  include a GI fish wire left in the  conduit  to draw TV

co-axial  cable.  The end of  conduit   shall  be sealed  to  prevent

dirt, dust, mortar, vermin or any  foreign  matter going into TV

conduits.

C.3  SPECIFICATIONS   FOR   MEDIUM   VOLTAGE   PANEL.

1.0     SCOPE

This  specification  is  intended  to  cover  the  design,  manufacture,

assembly,   testing   at  manufacturer's  works, properly  packing   for

transportation, supply  & delivery, erection , testing & commissioning ,

complete in all respects with all components , fittings and  accessories

for  efficient and trouble free operation. This specification has  to

be read in conjunction with that of  415V switch boards.

1.1     The   MV  board  shall be  metal  clad, totally  enclosed, rigid   floor            mounting, air insulated, cubicle type for use on 415V,3phase,50Hz system

with a fault level of 35kA RMS symmetrical.

1.2     The  equipment  shall  be  designed  for  operation  in   high   ambient            temperatures   &  high  humidity  tropical  atmospheric  conditions. The

equipment shall be for indoor installation.

2.0     STANDARDS

2.1.0   The  equipment shall be designed to conform to the requirements  of  the

following.

2.1.1   IS  8623  and  IEC 439 - Factory Built Assemblies  of  switch  gear  and

control gear.

2.1.2   IS  4237  -General  requirements for switch gear and  control  gear  for

voltages not exceeding 1000 Volts.

2.1.3   IS  2147 - Degree  of protection provided by enclosures for low  voltage

switch gear and control gear.

2.1.4   IS 375 - Marking and arrangement of bus bars.

2.1.5   IS 4064 (Part II) - 1978 - Air break switches and fuse combination units

for  voltages  not exceeding 1000 Volts (specific requirements  for  the

direct switching of individual motors).

2.1.6   IS  694 (1977) and IS 8130 (1976) - PVC insulated cables  and  aluminium

conductors.

2.1.7   IS 1248 - Direct acting electrical indicating instruments.

2.1.8   IS 2208 : 1962 or IS 9224 : 1979 - Low Voltage fuses.

2.1.9   IS 2516 - Alternating current circuit breakers.

2.1.10  2705 - Current transformers.

2.1.11  IS 3156 - Voltage transformers.

2.1.12  IS 2516 - Circuit breakers.

2.1.13  IS 3231 - Relays for power system protection.

3.0     CONSTRUCTION

3.1     Structure  of  the  M.V board shall be  totally  enclosed,  front,  free

standing assemblies, made up of requisite vertical sections and of  dust

and vermin proof construction.

3.2     The  structure  shall be of rigid welded/bolted  construction  with  hot

rolled  sheet steel of not less than 2 mm thickness. The doors,  covers,

barriers, etc., shall  be  made of  minimum 1.6mm thick sheet steel. All

doors shall be provided with neoprene gaskets.

3.3     The  structure shall contain horizontal bus bars running through out  the

length  of  the  MCC  and be readily  accessible.  Each  vertical  panel

structure  shall  contain a vertical wire/cable way with  provision  for

suitable cable supports. The cable compartment shall have hinged door.

3.4.0   Each  vertical section shall be divided into the following  well-defined

zones by metallic/insulated barriers :

3.4.1   Main bus bar chamber at top.

3.4.2   Unit chamber.

3.4.3   Cabling chamber at the right hand side of unit chamber.

3.4.4   Vertical riser chamber behind unit chamber.

3.4.5   Horizontal wire way at top, in front of main bus bar chamber.

3.5     The  structure  shall be mounted on a rigid base frame of  folded  sheet

steel of minimum 3 mm thickness and 50 mm height. This shall be  painted

black.

3.6     The M.V board shall be designed for single front or double front as  may

be required. The design of the chassis shall not change for single front

or double front design.

3.7     The M.V board shall be provided with a degree of protection of not  less

than IP 51 as per IS 2147.

3.8     Provision  shall  be made for permanently earthing the frame  and  other

metal  parts  of  the  board  through an  aluminium  earth  bar  running

throughout the full length of the board/panel at the bottom. It shall be

possible to earth the board at two independent points with cable lugs.

4.0     METAL TREATMENT AND FINISH :

4.1.0   All steelwork used in the construction of the switch boards should  have

undergone a rigorous metal treatment process as follows :

4.1.1   Effective cleaning by hot alkaline degreasing solution followed by  cold

water rinsing to remove traces of alkaline solution.

4.1.2   Pickling  in  dilute  sulphuric acid to remove  oxide  scales  and  rust

formation,  if any, followed by cold water rinsing to remove  traces  of

acidic solution.

4.1.3   A  recognised phosphating process to facilitate durable coating  of  the

paint on the metal surfaces and also to prevent the spread of rusting in

the  event  of the paint film being mechanically  damaged.  This  again,

shall  be  followed by hot water rinsing to remove traces  of  phosphate

solution.

4.1.4   Passivating in de-oxalite solution to retain and augment the effects  of

phosphating.

4.1.5   Drying with compressed air in a dust free atmosphere.

4.1.6   Primer  coating with two coats of a highly corrosion  resistant  primer,

applied wet on wet and stove dried under strictly controlled  conditions

of temperature and time.

4.1.7   A  finishing  coat of stoving synthetic enamel paint  to  the  specified

shade  of IS 5. The total thickness of paint should not be less than  25

microns.

5.0     THERMAL OVERLOAD RELAYS

5.1     Thermal  overload  relays  shall be of  three  element  positive  acting

ambient temperature compensated type with adjustable setting.

5.2     Thermal overload relays shall be of self/hand reset type as specified in

the detailed requirements.

6.0     INDICATING OVERLOAD RELAYS

6.1     Ammeters  and  Voltmeters  shall be of  Moving  Iron  Spring  controlled

industrial type grade 1.5. The size of the instrument shall be 72 mm sq.

for starter and fuse switch compartments.

6.2     Ammeter  with  suppressed  scale current rating shall  be  provided  for

specific requirements.

7.0     INTERNAL WIRING :

7.1     Internal wiring for control circuits shall be made with 660 V.

7.2     Power  wiring  shall be done either with copper/aluminium  flexible  PVC

insulated   cable  of  660  V  grade  or  with  solid   copper/aluminium

conductors.

7.3     The  minimum  size of control wiring shall be 2.5 Sq.mm  copper  for  CT

circuits and 1.5 Sq.mm copper for other circuits.

7.4     The wiring shall be terminated in the respective terminal with  suitable

crimp type of sockets.

7.5     There shall not be more than two wires connected to a terminal.

  - Horizontal  as well as vertical wire ways shall be provided. At the

top, horizontal wire way shall connect the inter-panel wiring.

8.0     TERMINAL BLOCKS :

8.1     Terminal blocks shall be of 660 V grade with contacts of rating not less

than  10  Amps.  They shall be of the stud type  with  barriers  between

adjacent contacts.

8.2     The wire terminations to the blocks shall be of screw type suitable  for

crimp type socket.

8.3     Suitable provision shall be made to terminate control/power connections

in the respective module.

9.0     POWER CABLE TERMINATIONS:

9.1     Gland plates  of adequate size shall be provided at the  top/bottom  of

cable  chamber  to facilitate cable entry from  top/bottom.  Compression

type gland shall be provided.

9.2     Crimp type sockets made of tinned copper or aluminium shall be  provided

for terminating cables.

9.3     Suitable  shrouds shall be provided to prevent accidental  contact  with

live   outgoing  terminations  of  other  feeders  while  carrying   out

maintenance on one feeder.

9.4     Cable  risers shall be adequately supported to withstand the effects  of

rated short circuit current without damage and without causing secondary

faults.

9.5     For bottom entry cables a cabling space of 646 Sq.cm shall be  provided.

For cables coming from the top a space of 460 Sq.cm shall be provided.

10.0    LABELS

10.1    Labels shall be of anodized aluminium, with white engraving on cable.

11.0    BUS BARS

The bus bars shall be air insulated and made of high conductivity,  high

strength  aluminium alloy complying with the requirements of grade  E91E

of IS 5082 and suitable for 415 Volts, 4 wire 50 Hz system.

The bus bars & connections shall be suitably supported/braced with non-

hygroscopic  DMC/FRP/SMC supports to provide a fault withstand  capacity

as specified.

High  tensile bolts & spring washers shall be provided at  all  bus bar

joints.

The  bus bars shall  be liberally sized and  shall  have  uniform  cross

section  throughout, and shall be capable of carrying the rated  current

at  415V continuously. The bus bars shall be designed  to  withstand  a

temperature rise of 45 deg C above the ambient. A current density of 1.3

Amps/Sqmm  shall  not  be  exceeded  for  Aluminium  busbars.  All   bus

connections, joints and taps shall be short and as straight as possible,

and  applied  with  contact  grease  in  the  mating  surface. The  main

horizontal  bus bars shall be run through the entire length of the panel

and shall be accessible for maintenance from the front as well as  rear.

Bus bar chamber shall have separately screwed covers. All bus bars,

links etc.  shall  be  provided with insulating cover  to  prevent

accidental contacts. The neutral bus bars shall have a continuous rating

of at least 50% of the phase bus bars. Bus bars shall be encased in

colour coded  heat shrunk  PVC sleeves (snug fit type). An aluminium

earth bus of size  not less than 50 X 6 mm shall be run through the

length of switch boards  at top or bottom as required.

TECHNICAL SPECIFICATIONS

[TO BE INCORPORATED AS PER REQUIREMENT OF THE WORK PUT TO TENDER DULY QUOTING THE RELEVANT SPECIFICATION NUMBER OF APSS.  BSI Code No. , MOST, etc. STANDARD SPECIFICATION NO.]

DRAWINGS

- DRAWINGS:

  - The plans enclosed with the tender are liable to the altered during execution of work as per necessity of site conditions.  The premium quoted by the contractor for various items shall hold good for execution of work even with altered plans.

  - One set of drawings, on the basis of which actual execution of the work is to proceed shall be furnished free of cost to the contractor by the Registrar progressively according to the work program submitted by the contractor and accepted by the Registrar.  Drawings for any particular activity shall be issued to the contractor at least 30 days in advance of the scheduled date of the start of the activity.  However, no extra claims by the contractor toward any delay in issue of drawing or issue of any revision / change to the drawings issued earlier shall be admissible.  The Registrar shall intimate the contractor 7 days in advance regarding any delay to issue of drawings, for any particular stage of works.  If work gets affected due to delay to issue of drawings, for any particular stage of work the contractor shall be granted extension of time in terms of condition 14.7 of tender notice.

  - Signed drawings above shall not be deemed to be an order for work unless they entered in the agreement or schedule of drawings under proper alterations of the contractor and Registrar or unless they have been sent of the contractor by the Registrar with a covering letter confirming that the drawing in and authority for work in contract.

- DISCREPANCIES:

  - In case of discrepancies between documents the following order of procedure shall apply:-

    - Between the written description of written dimensions in the drawings and the corresponding one in the specifications, the latter shall apply.

    - Figured dimensions shall supersede scaled dimensions.  The drawings on a larger scale shall take precedence over those on a smaller scale.

    - Drawings issued as construction drawings from time to time shall supersede tender drawings and also the correspondence drawings previously issued.

Note:	The contractor should not execute any component of work without obtaining the working drawings.  Any work done without drawings shall be at the contractor’s responsibility only.    Acceptance for such work will be at the discretion of the Registrar.

- SECRECY CLAUSE

The drawings and specifications made available to the tenderer shall exclusively be used on the work and they are retained from passing on each plan to any unauthorised hand either in parts or in full under the provisions of Section-3 and 5 of the official secrets Act 1923.  Any violation in this regard will entail suitable action under appropriate clause or official secret Act 1923.

BILL OF QUANTITIES AND PRICE BID

Name of work: Renovation of PC Toilets at NALSAR University of Law, Shameerpet, Hyderabad

BILL OF QUANTITIES

### PREAMBLE

- The Bill of Quantities shall be read in conjunction with the instructions to Tenderers, General and Special conditions of Contract Technical Specifications and Drawings.

- The quantities given in the Bill of Quantities are estimated and provisional and are given to provide common basis for tendering. The quantities here given are those upon which the lumpsum tender cost of the work is based but they are subject to alterations, omissions, deductions or additions as provided for in the conditions of this contract and do not necessarily show the actual quantities of work to be done.  The basis of payment will be actual quantities of work ordered and carried out as measured by the Contractor and verified by the Engineer and valued at the estimate rate plus or minus tender percentage quoted in the Bill of Quantities where applicable, and otherwise at such rates and prices as the Engineer-in-Charge may fix within the terms of Contract.

- The estimate rates in the Bill of Quantities shall, except in so-far as it is otherwise provided under the Contract include cost of all constructional material, labour, machinery, transportation, erection, maintenance, profit, taxes and duties together with all general risks, liabilities and obligations set out or implied in the Contract.

- The plans enclosed with the tender are liable to be altered during execution of work as per necessity of site conditions.  The Tender percentage quoted by the tenderer shall hold good for execution of work even with altered plans.

- The whole cost of complying with the provisions of the Contract shall be included in the estimated rates for items provided in the Bill of Quantities and where no items are provided in the Bill of Quantities, their cost shall be deemed to be distributed among the estimate rates entered for the related items of work.

- General directions and descriptions of work and materials are not necessarily repeated nor summarised in the Bill of Quantities.  References to the relevant sections of the Contract documentation shall be made before entering estimate rate against each item in the Bill of Quantities.

- The method of measurements of completed work for payment shall be in accordance with the relevant B.I.S. Codes & A. P. S. Specifications.

- All items of work are to be executed as per the drawings / specifications supplied with the contract documents.

If there is any contradiction between the drawings and the text of the specifications, the later shall prevail.

- The Tenderer should inspect and select the quarries of his choice before he quotes the tender percentage in the Schedule of Bill of Quantities and satisfy himself about the availability of required quantum of materials.

- Diversion drains should be excavated before completion of the embankments and the useful soils should be used in the nearby embankments.

- The actual mix proportion by weight to be adopted during execution will be got designed in the laboratories to suit the grade of concrete and mortar to be used.  It will be the responsibility of the contractor to manufacture concrete and mortar of required strength.

- The quantum of measurement for all items of earthwork involving conveyance manually or by machinery shall be as assessed by level measurement.  The measurements for the embankment will be for the consolidated banks only.

- Wherever bailing out of water is involved either for excavation or for foundations or for constructions, the percentage quoted shall take into account the dewatering charges necessary.  No separate payment will be made for dewatering.

- Wherever embankment work is involved, useful soils approved by the Engineer-in-Charge from the cutting reaches and diversion drains shall be taken and used for forming nearby embankments soils used for constructions will be at free of cost.

- The quoted tender percentage shall also include the work of any kind necessary for the due and satisfactory construction, completion and maintenance of the works according to the drawings and these specifications and further drawings and orders that may be issued by the Engineer-in-Charge from time to time.  The quoted tender percentage shall include compliance by the Contractor with all the general conditions of contract, whether specifically mentioned or not in the various clauses of these specifications, all materials, machinery, plant, equipment, tools, fuel, water, strutting, timbering, transport, offices, stores, workshop staff, labour and the provision of proper and sufficient protective works, diversions, temporary fencing and lighting.  It shall also include safety of workers, first aid equipments suitable accommodation for the staff and workmen, with adequate sanitary arrangements, the effecting and maintenance of all insurances, the payment of all wages, salaries, fees, royalties / Taxes, duties or other charges arising out of the execution of works and the regular clearance of rubbish, reinstatement and clearing-up of the site as may be required on completion of works safety of the public and protection of the works and adjoining land. The work of Building in quality control / assurance shall be deemed to be covered in the quoted percentage.

- The Contractor shall ensure that, the quoted tender percentage shall cover all stages of work such as setting out, selection of materials, selection of construction methods, selection of equipment and plant, deployment of personnel and supervisory staff, quality control testing etc.  The work quality assurance shall be deemed to be covered in the tender percentage.

- a) 	The special attention of the tenderer is drawn to the conditions in the tender notices wherein reference has been made to the Andhra Pradesh Standard Specifications [APSS] and the Standard preliminary specifications containing therein.  These preliminary specifications shall apply to the agreement to be entered into between the contractor and the Government of Andhra Pradesh and shall form an in-separable condition of the contract along with the estimate.  All these documents taken together shall be deemed to form one contract and shall be complimentary to another.

b)	The tenderer shall examine, closely the A.P.S.S / MORT&H and also the standard preliminary specifications contained therein and sign the Registrar office copy of the APSS / MORT&H and its addenda volume in token of such study before submitting his overall tender percentage which shall be for finished work in-situ.  He shall also carefully study the drawings and additional specifications and all the documents, which form part of the agreement to be entered into by the successful tenderer.  The APSS / MORT&H and other documents connected with contract such as estimate plans, specifications, can be seen on all working days in the office of the Registrar, NALSAR University of Law  , Hyderabad.

- The tenderers attention is directed to requirements for materials under the clause ‘materials and workmanship’ in the preliminary specifications of APSS.  Materials conforming to the Bureau of Indian Standards specifications, APSS etc., shall be used on the work and the tenderers shall quote his overall tender percentage accordingly.

- The tenderer has to do his own testing of materials and satisfy himself that they conform to the specifications of respective I.S.I. Codes before tendering.

- The contractor shall himself procure the required construction materials of approved quality including the earth for formation of embankment and water from quarries / sources of his choice.  All such quarries / sources of materials required for the work shall be got approved by the Engineer-in-Charge in writing well before their use of the work.

- The contractor shall himself procure the steel, cement, Bitumen, Blasting materials, sand, metal, soils, etc., and such other materials required for the work well in advance.  The contractor has to bear the cost of materials for conveyance.  The department will not take any responsibility for fluctuations in market in cost of the materials, transportation and for loss of materials etc.

- Inspection of site and quarries by the tenderer:  Every tenderer is expected before quoting his overall tender percentage, to inspect the site of proposed work.  He should also inspect the quarries and satisfy himself about the quality, and availability of materials.  The best class of materials to be obtained from quarries, or other sources shall be used on the work.  In every case the materials must comply with the relevant standard specifications.  Samples of materials as called for in the standard specifications or in this tender notice, or as required by the Registrar, in any case, shall be submitted for the Registrar’s approval before the supply to site of work is begun.

- The tenderer’s particular attention is drawn to the sections and clauses in the A.P. standard specification dealing with

- Test, inspection and rejection of defective materials and work.

- Carriage

- Construction plant

- Water and lighting

- Cleaning up during the progress and for delivery.

- Accidents

- Delays

- Particulars of payments.

The contractor should closely peruse all the specification clauses, which govern the overall tender percentage he is tendering.

- The defect liability period of contract in terms of GO Ms No: 8, T(R&B) Dept. dated: 8.1.2003 is twenty four months.

- The estimate rates for items shown in the Schedule “A” include all construction materials.  No escalation in rates will be paid unless specified in the tender document.  The tenderer has to quote an overall tender percentage considering all the aspects of the tender to complete the finished item of work as per the APSS / MORT&H / B.I.S. specifications, the special specifications appended, Drawings etc.

- If there is any contradiction between APSS / MORT&H and B.I.S. specifications, listed and detailed technical specifications, the latter shall prevail.

- In case of a job for which specifications are not available with the Schedule or in APSS / MORT&H or B.I.S. code and are required to be prescribed, such work shall be carried out in accordance with the written instructions of the Engineer-in-charge.

- The contractor should use the excavated useful soils and stone for construction purpose.  Soils used for construction either for homogeneous section in hearting or in casing zone based on the suitability will be at free of cost and the cost of stone used for construction purpose will be recovered from the contractor’s bill.

The contractor should quote his tender percentage keeping in view of the above aspects.

- Additions and alternations by the Tenderer in the Schedule of quantities will disqualify the tender.

- In the case of discrepancies between the written description of the item in the Schedule “A” and the detailed description in the specification of the same item, the latter shall be adopted.

- The Unit rates noted below are those governing payment of extras or deductions for omissions according to the conditions or the contract as set-forth in the preliminary specifications of the A.P. standard specifications and other conditions of specification of this contract.

- It is to be expressly understood that the measured work is to be taken according to the actual quantities when in place and finished according to the drawings or as may be ordered from time to time by the Registrar and the cost calculated by measurement or weight at their respective rates without any additional charge for any necessary or contingent works connected works connected herewith.  The Percentage Excess or less on ECV quoted are for works in situ and complete in every respect.

- For all items of work in excess of the quantities indicated the rates payable for such excess quantities will be tendered rates i.e., estimate rates plus or minus tender percentage.

- For all items of work, intermediate payment will be made provisionally as per relevant clause.  Full-accepted agreement rates will be paid only after all the items of works are completed.

- The contractor is bound to execute all supplemental works that are found essential incidental and inevitable during execution of main work.

- The payment of rates for supplement items of work will be regulated as under.

Supplemental items directly deductible from similar items in the original agreement.

The rates shall be derived by adding to or subtracting from the agreement rate of such similar item the cost of the difference in the quantity of materials labour between the new items and similar items in the agreement worked out with reference to the schedule of rates adopted in the sanctioned estimate with which the tenders are compared.

- Similar items but the rates of which cannot be directly deducted from the original agreement.

- Purely new items which do not correspond to any item in the agreement.

The rate of all such items shall be estimated rates plus or minus overall tender percentage.

- Entrustment of Additional Items.

- Where ever additional items not contingent on the main work and outside the scope of original agreement are to be entrusted to the original contractor dispensing with tenders and if the value of such items exceeds the limits upto which the officer is empowered to entrust works initially to contractor without calling for tenders approval of next higher authority shall be obtained. Entrustment of all such items on nomination shall be rates not exceeding the estimate rates.

- Entrustment of supplement items contingent on the main work will be authorised by the officers upto the monetary limits upto which they themselves are competent to accept items in the original agreement so long as the total amounts upto which they are competent to accept in an original agreement rates for such items shall be worked in accordance with the procedure prescribed in GO Ms.No.1493 PWD, dated:25.10.1994 and as amended in Govt. Memo number 544 cod 72-22 dt:6.7.1973.

- Entrustment of either the additional supplemental items shall be further subject to the provisions under para 176(b) of APWD Code Viz., the items shall not be ordered by an officer on his own responsibility if the revised estimate or deviation statement providing for the same requires the sanction of higher authority.

Note:	It may be noted that the term estimate rate used above means the rate in the sanctioned estimate with which the tender’s compared or if no such rate is available in the estimate the rate derived will be with reference to the schedule of rates adopted in the sanctioned estimate with which tenders are compared.

BILL OF QUANTITIES

[Part-I ]

Name of work:	Renovation of PC Toilets at NALSAR University of Law, Shameerpet, Hyderabad

| Sl.No | Approximate quantity In figures/ words | Description of work | Specification No / APSS / BIS / MORT&H | Unit In figures / words | Estimate Rate In figures / words | Amount inRs. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Schedule “A” |  |  |  |  |

PRICE BID

Name of work:	Renovation of PC Toilets at NALSAR University of Law, Shameerpet, Hyderabad

Estimated contract value

(in figures & words)	Rs. 13,88,376/-  (Rupees Thirteen Lakh Eighty Eight Thousand Three Hundred and Seventy Six only)

I Sri / Smt./ M/s. ……………………………………………………….. Do hereby express my / our willingness to execute the aforesaid work as per the conditions, standards, specifications, rules, regulations, etc., stipulated in the tender documents.

- At an overall tender percentage of …………………….………………………(In figures) ………………………………………………………………………………….. (In words) excess / less over estimated value.

OR

- At estimate value.

SIGNATURE, NAME OF THE TENDERER / AUTHORISED SIGNATORY